## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-09-18
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-09-17 13:14 | MR2509/0380 |  | 132KV_63 MVA Transformer-I BBL | 132KV_ALIRAJPUR | NON-OCCM-MP | for Post Monsoon Maintenace work | 18-09-2025 10:00:00 | 18-09-2025 18:00:00 | ER Manoj Randa | 942820034 | sub ld
2 | 2025-09-17 13:58 | MR2509/0386 |  | 132KV_132 kV Seoni Amarwara | 132KV_AMARWARA | NON-OCCM-MP | Flash over disc replace & J/c,A/h,V/d tightening | 18-09-2025 13:00:00 | 18-09-2025 16:00:00 | A.M.Shende | 7587951136 | ok
3 | 2025-09-17 15:33 | MR2509/0394 |  | 220KV_220KV Ashta - Bairagarh feeder | 400KV_ASHTA4 | NON-OCCM-MP | CTs tandelta &Cap. mesurment work | 18-09-2025 09:00:00 | 18-09-2025 12:00:00 | Mr. Jitendra Lohana | 9425804978 | ok, through sub ld
4 | 2025-09-17 15:37 | MR2509/0395 |  | 220KV_220/33KV 100MVA BBL transformer | 400KV_ASHTA4 | NON-OCCM-MP | for Tan delta & cap mesurment of CTs | 18-09-2025 13:00:00 | 18-09-2025 16:00:00 | Mr. Jitendra lohana | 9425804978 | ok, through sub ld
5 | 2025-09-17 13:54 | MR2509/0383 |  | 132KV_132 kV MACT-E8 line | 220KV_BHOPAL | NON-OCCM-MP | Emergency tree cutting work | 18-09-2025 10:00:00 | 18-09-2025 17:00:00 | Ankit Mehroliya | 9425804506 | sub ld
6 | 2025-09-17 15:51 | MR2509/0396 |  | 220KV_200 MVA Transformer | 220KV_BHOPAL | NON-OCCM-MP | Post monsoon Maintenance | 18-09-2025 09:30:00 | 18-09-2025 17:00:00 | A K Jain | 9425806899 | ok, through sub ld
7 | 2025-09-15 13:43 | MR2509/0334 | Continuous | 400KV_500 MVA X-MER NO.2 (CGL) | 400KV_BHOPAL4 | NON-OCCM-MP | POSTMONSOON MAINTENENCE | 18-09-2025 09:00:00 | 19-09-2025 18:00:00 | AKRAN KHAN | 9425804695 | ok, through sub ld
8 | 2025-09-17 11:46 | MR2509/0374 |  | 40MVA_132/33KV_BHEL_X'mer | 132KV_BICHHUA | NON-OCCM-MP | POST MANSOON MAINTENANCE | 18-09-2025 09:00:00 | 18-09-2025 17:00:00 | A A QURESHI | 9425804318 | Deffered by site
9 | 2025-09-17 13:35 | MR2509/0382 |  | 132KV_40 MVA NGEF TRANSFORMER | 220KV_BINA | NON-OCCM-MP | POST MONSOON MAINTENANCE AND 33 KV CT REPLACEMENT | 18-09-2025 09:00:00 | 18-09-2025 18:00:00 | ER. LALIT SINGH | 9425806845 | ok, o&m to be informed
10 | 2025-09-14 13:00 | MR2509/0312 | Daily | 132KV_132 kV Shahdol-Birsinghpur Circuit I | 220KV_BIRSINGHPUR | NON-OCCM-MP | For replacement of damaged OPGW | 15-09-2025 08:00:00 | 20-09-2025 18:00:00 | Jitendra Tiwari | 9425805298 | ok
11 | 2025-09-17 12:32 | MR2509/0377 |  | 132KV_40 MVA ABB Transformer | 220KV_CHATARPUR | NON-OCCM-MP | for Post Monsoon Maintenance & Testing | 18-09-2025 10:00:00 | 18-09-2025 17:00:00 | Brajendra Soni | 9131327770 | ok
12 | 2025-09-17 13:55 | MR2509/0384 |  | 132KV_132 kV Chhindwara-Amarwara | 220KV_CHHINDWARA | NON-OCCM-MP | Flash over disc replace & J/c,A/h,V/d tightening | 18-09-2025 09:00:00 | 18-09-2025 12:00:00 | A.M.Shende | 7587951136 | ok
13 | 2025-09-17 13:09 | MR2509/0379 |  | 33KV_33 kV Main Bus | 132KV_CHICHOLI | NON-OCCM-MP | Replacement of defective jumpers & Clamps | 18-09-2025 11:00:00 | 18-09-2025 15:00:00 | Er. Vishal Kumar Malviya | 9425804955 | sub ld
14 | 2025-09-17 13:15 | MR2509/0381 |  | 132KV_63MVA_132/33KV_BBL_Xmer_2 | 132KV_CHICHOLI | NON-OCCM-MP | Alignment of 33 KV main bus isolator of 63MVA Xmer | 18-09-2025 11:00:00 | 18-09-2025 15:00:00 | Er. Vishal Kumar Malviya | 9425804955 | sub ld
15 | 2025-09-17 12:46 | MR2509/0378 |  | 132KV_40 MVA 132/33KV CGL X-MER-1 | 220KV_DAMOH | NON-OCCM-MP | Post monsoon maintenance & Testing work | 18-09-2025 09:00:00 | 18-09-2025 17:00:00 | M.K.Choubey | 9425801424 | ok
16 | 2025-09-14 13:01 | MR2509/0313 | Daily | 132KV_132 kV Shahdol-Dindori Circuit II | 132KV_DINDORI | NON-OCCM-MP | For replacement of damaged OPGW | 15-09-2025 08:00:00 | 20-09-2025 18:00:00 | Jitendra Tiwari | 9425805298 | OK FOR 15.09.2025 DAILY BASIS SD
17 | 2025-09-17 16:10 | MR2509/0401 |  | 132KV_132kV Gwalior(2) - GIS Phoolbag Line | 220KV_GWALIOR-II | NON-OCCM-MP | Line Maintenance work | 18-09-2025 10:00:00 | 18-09-2025 17:00:00 | Pankaj Kumar | 9425805317 | sub ld
18 | 2025-09-17 15:05 | MR2509/0391 |  | 220KV_160 MVA BHEL XMER 220/132 KV | 220KV_HOSHANGABAD | NON-OCCM-MP | POST MANSOON MAINTENANCE & TESTING WORK | 18-09-2025 10:00:00 | 18-09-2025 18:00:00 | V.P.DWIVEDI | 9425804799 | Deffered due to bhopal x-mer s/d
19 | 2025-09-07 13:02 | MR2509/0161 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-2 | 220KV_INDORE NORTH | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | OK LINE TO BE IN SERVICE
20 | 2025-09-07 12:51 | MR2509/0159 | Daily | 132KV_132KV North Zone- Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | sub ld
21 | 2025-09-07 12:45 | MR2509/0158 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-1 | 220KV_INDORE-NZ | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | OK LINE TO BE IN SERVICE
22 | 2025-09-02 18:32 | MR2509/0063 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-1& ckt-2 | 220KV_INDORE-NZ | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 05-09-2025 07:00:00 | 25-09-2025 19:00:00 | A.R.KANEL | 9425805217 | RESCHEDULED FRO 11.09.2025 TO 30.09.2025
23 | 2025-09-17 10:41 | MR2509/0372 | Continuous | 400KV_400/220KV 315MVA ICT-I | 400KV_INDORE4 | NON-OCCM-MP | POST MONSOON MAINTENANCE | 18-09-2025 09:00:00 | 19-09-2025 17:00:00 | ATUL PARADKAR | 9425804929 | ok, through sub ld
24 | 2025-09-17 15:25 | MR2509/0393 | Continuous | 132KV_132 kv Katni- Sleemnabad line ckt 2 | 132KV_KATNI | NON-OCCM-MP | Modification shifting work for NHAI | 18-09-2025 09:00:00 | 19-09-2025 18:00:00 | pankaj yadav | 9406713326 | ok, EI approval required while charging
25 | 2025-09-17 14:02 | MR2509/0387 |  | 400KV_400_KV 100 MVA Transformer No-01 BHEL | 400KV_KIRNAPUR | NON-OCCM-MP | For Post monsoon maintenance of transformer | 18-09-2025 09:00:00 | 18-09-2025 17:00:00 | D. S. Walkey | 9425804578 | ok
26 | 2025-09-17 13:58 | MR2509/0385 |  | 160MVA_220/132KV_EMCO_X'mer | 220KV_MAIHAR | NON-OCCM-MP | For Post monsoon maintenance & testing work. | 18-09-2025 10:00:00 | 18-09-2025 17:00:00 | ARUN KUMAR KOL | 9425802368 | ok, through sub ld
27 | 2025-09-17 15:59 | MR2509/0398 |  | 220KV_200 MVA X-MER MAKE T&R | 220KV_MEHGAON | NON-OCCM-MP | POST MONSOON MAINT | 18-09-2025 10:30:00 | 18-09-2025 17:00:00 | ASHEESH KUMAR | 8319926224 | ok, through sub ld
28 | 2025-09-17 12:11 | MR2509/0375 |  | 160MVA_220/132KV_BHEL_Xmer_2 | 220KV_NEPANAGAR | NON-OCCM-MP | post mansoon maint. | 18-09-2025 11:00:00 | 18-09-2025 17:00:00 | M.K.Pawar | 942580519 | real time
29 | 2025-09-17 16:09 | MR2509/0399 |  | 220KV_220 KV Nipaniya- Mandsaur ckt-2 | 220KV_NIPANIYA | OCCM-MP | Additional DRP Main -2 Relay connecting work at Ni | 18-09-2025 10:00:00 | 18-09-2025 18:00:00 | KAILASH PANWAR | 9907702072 | ok, through sub ld
30 | 2025-09-07 12:39 | MR2509/0157 | Daily | 132KV_132KV North Zone â¿¿ Niranjanpur Line. | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | sub ld
31 | 2025-09-07 12:57 | MR2509/0160 | Daily | 132KV_132KV Niranjanpur - Jaitpura Line | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | sub ld
32 | 2025-09-02 18:36 | MR2509/0064 | Daily | 132KV_132KV North Zone â¿¿ Niranjanpur Line.&132KV Niranjanpur - Jaitpura Line &132KV North Zone- Jaitpura Line | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 05-09-2025 07:00:00 | 25-09-2025 19:00:00 | A.R.KANEL | 9425805217 | sub ld
33 | 2025-09-17 11:34 | MR2509/0373 |  | 220KV_160 MVA-II (CGL) | 220KV_PITHAMPUR (SEC-III) | NON-OCCM-MP | POST MONSOON MAINT WORK | 18-09-2025 10:00:00 | 18-09-2025 17:00:00 | RAJU DAS BAIRAGI | 9425801532 | ok, through sub ld
34 | 2025-09-16 14:12 | MR2509/0363 |  | 400KV_400kV Main bus-II | 400KV_PITHAMPUR4 | NON-OCCM-MP | Tightening Greasing & cleaning work | 18-09-2025 10:00:00 | 18-09-2025 18:00:00 | Sh. Rajudash bairagi | 9425801532 | ok, through sub ld
35 | 2025-09-17 14:23 | MR2509/0389 |  | 132KV_132kV Rajmilan - Janakpur Ckt | 132KV_RAJMILAN | NON-OCCM-MP | Disc Replacement work | 18-09-2025 08:30:00 | 18-09-2025 17:00:00 | G.L Sahu | 9425805102 | ok
36 | 2025-09-17 15:02 | MR2509/0390 |  | 132KV_40MVA BHEL XMER-3 | 132KV_REWA1 | NON-OCCM-MP | Damage jumper replacement work | 18-09-2025 09:00:00 | 18-09-2025 12:00:00 | Kanishka Singh | 9425804656 | ok
37 | 2025-09-17 12:18 | MR2509/0376 |  | 132KV_132KV Sailana - Shivgarh line. | 132KV_SAILANA | NON-OCCM-MP | For Line maintenance work | 18-09-2025 10:00:00 | 18-09-2025 16:00:00 | Gaurav Goyal | 7748045537 | sub ld
38 | 2025-09-17 14:22 | MR2509/0388 |  | 220KV_220kv Bhopal-Shujalpur | 220KV_SHUJALPUR | NON-OCCM-MP | Flash over disc insulator replacement work | 18-09-2025 09:00:00 | 18-09-2025 18:00:00 | Pappu singh Solanki | 9425820041 | ok, through sub ld
39 | 2025-09-16 18:41 | MR2509/0369 | Continuous | 132KV_132 KV ASHTA- SONKACHH | 132KV_SONKATCH | NON-OCCM-MP | in above work of lilo formation of ehv line for co | 18-09-2025 09:00:00 | 20-09-2025 17:00:00 | A.R.KANEL | 9425805217 | sub ld
40 | 2025-09-17 10:18 | MR2509/0371 |  | 220KV_220kV Tikamgarh-Damoh (MPPTCL) Line | 220KV_TIKAMGARH | NON-OCCM-MP | Emergency TC & other line maintenance work | 18-09-2025 10:00:00 | 18-09-2025 18:00:00 | Manoj Kumar Tiwari | 9425804993 | ok
41 | 2025-09-15 17:20 | MR2509/0359 |  | 220KV_220 KV Main Bus | 220KV_UJJAIN | NON-OCCM-MP | To attend Hot point on 220 KV Main bus for PGCIL 2 | 18-09-2025 09:00:00 | 18-09-2025 17:00:00 | B.C JOSHI | 7587951137 | ok, through sub ld, discom to be intimated for any emergency during the s/d period
42 | 2025-09-02 14:10 | MR2509/0043 | Continuous | 220KV_160 MVA NGEF | 220KV_UJJAIN | NON-OCCM-MP | X-MER REPLACEMENT WORK BY NEW 160 MAV XMER | 03-09-2025 09:00:00 | 03-11-2025 18:00:00 | B.C JOSHI | 7587951137 | ok, through sub ld
43 | 2025-09-01 16:04 | MR2509/0027 | Continuous | 132KV_132 KV VINOBA BHAVE TAPE LINE | 132KV_VINOBA BHAVE | NON-OCCM-MP | UPGRADATION OF 132 KV VINOBA BHAVE LINE | 02-09-2025 08:00:00 | 25-09-2025 18:00:00 | RAJESH TIWARI | 7898239595 | CONTINUE
44 |  |  |  | 220KV-ANNUPUR-KOTMIKALA-2 |  | SLDC_CG | Replacement work of old Distance protection relay (Main-I) by new Distance protection relay (Main-I) at 220 KV S/s Kotmikala. | 18-2025-09 | 10-00 | 18-00 |  | All other lines at Annuppur/Kotmikala to be in service with AR enabled. consent from SLDC CG is required. Load to be managed by SLDC MP/CG
45 |  |  |  | 400KV-BHOPAL-MP-BINA-MP-2 |  | MP_SLDC | FOR BAY MAINTENANCE & TESTING WORK AT SUBSTASTION, REPLACEMENT OF DAMAGED CLAMPS/JUMPERS ETC. | 18-2025-09 | 9-00 | 18-00 |  | deffered .400kV BHOPAL-MP -BINA-MP -T1 Sensitivity of 22.40% and All other lines at BHOPAL-MP - 400KV and BINA-MP - 400KV to be in service with A/R Enabled
46 |  |  |  | 400KV-KIRNAPUR-BHILAI-1 |  | MP_SLDC | FOR LINE MAINTENANCE WORK i.e. CLEANING OF DISC INSULATORS DURING LINE PATROLLING , REPLACEMENT OF FLASHOVERED DISC INSULATORS, TREE BRANCH CUTTING ETC AT VARIOUS TOWER LOCATIONS | 18-2025-09 | 9-00 | 18-00 |  | ok., 400 kV Kirnapur seoni to be in service. SLDC CG to be informed.
47 |  |  |  | 220KV-MORENA-MORENA-MP-1 |  | MP_SLDC | FOR LINE MAINTENANCE WORK i.e. CLEANING OF DISC INSULATORS DURING LINE PATROLLING , REPLACEMENT OF FLASHOVERED DISC INSULATORS, TREE BRANCH CUTTING ETC AT VARIOUS TOWER LOCATIONS | 18-2025-09 | 9-00 | 17-00 |  | real time., All other lines at Morena to be in service with AR enabled. No other element shall be effected. Morena (Adani) to be informed. Load to be managed by SLDC MP
48 |  |  |  | 220KV-INDORE-UJJAIN-1 |  | MP_SLDC | DUE TO 220 KV BUS SD (SINGLE BUS ARRANGEMENT) TO ATTEN HOT POINT ON Y BASE BUS SIDE ISOLATOR OF INDORE PG - CKT -2. ALL 220KV ELEMENTS ILL BE OUT | 18-2025-09 | 07-00 | 20-00 |  | through sub ld ., 220KV-INDORE-UJJAIN-1 & 2 outages are planned simultaneously. All other 220KV lines at Ujjain to be in service. WR-2 to be informed, Load to be managed by SLDC MP.
49 |  |  |  | 220KV-INDORE-UJJAIN-2 |  | MP_SLDC | DUE TO 220 KV BUS SD (SINGLE BUS ARRANGEMENT) TO ATTEN HOT POINT ON Y BASE BUS SIDE ISOLATOR OF INDORE PG - CKT -2. ALL 220KV ELEMENTS ILL BE OUT | 18-2025-09 | 07-00 | 20-00 |  | ok through sub ld., 220KV-INDORE-UJJAIN-1 & 2 outages are planned simultaneously. All other 220KV lines at Ujjain to be in service. WR-2 to be informed, Load to be managed by SLDC MP.
50 |  |  |  | 220KV-ANNUPUR-KOTMIKALA-2 |  | MP_SLDC | For Re-sagging work due to Low Ground clearance maintenance work at loc. 464-475. | 18-2025-09 | 7-00 | 20-00 |  | ok., All other lines at Annuppur/Kotmikala to be in service with AR enabled. consent from SLDC CG is required. Load to be managed by SLDC MP/CG
51 |  |  |  | 400KV/220KV SATNA-ICT-1 |  | POWERGRID_WR2 | AMP Works, Dia to be kept open at both sides. | 18-2025-09 | 9-00 | 18-00 |  | ok., SLDC MP consent is required. 29% sensitivity observed on ICT 3. ICT-2,3 to be in service with complete dia. No other element shall be effected. Load to be managed by SLDC MP
52 |  |  |  | 220KV-INDORE-INDORE NORTH ZONE-1 |  | MP_SLDC | PEPLACEMENT OF EXISTING 24FIBRE OPGW WITH48 FIBRE OPGW. DATA IS DIVERTED, ONLINE WORK PERMIT, AUTO TO NON AUTO | 18-2025-09 | 7-00 | 24-00 |  | ok, line to be in service
53 |  |  |  | 220KV-INDORE-INDORE NORTH ZONE-2 |  | MP_SLDC | PEPLACEMENT OF EXISTING 24FIBRE OPGW WITH48 FIBRE OPGW. DATA IS DIVERTED, ONLINE WORK PERMIT, AUTO TO NON AUTO | 18-2025-09 | 7-00 | 20-00 |  | ok, line to be in service