## APPROVED SHUTDOWN
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-08-21
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-08-19 14:49 | MR2508/0250 | Daily | 220KV_220 kV Anuppur- Kotmikala ckt-I | 220KV_ANUPPUR | NON-OCCM-MP | Re sagging work at loc. 418-432 | 20-08-2025 08:00:00 | 21-08-2025 18:00:00 | Jitendra Tiwari | 9425805298 | ok
2 | 2025-08-20 15:33 | MR2508/0259 |  | 220KV_160MVA X-MER NO-1 AREVA | 400KV_ASHTA4 | NON-OCCM-MP | Post monsoon maintenance and measurements of tan d | 21-08-2025 09:00:00 | 21-08-2025 18:00:00 | JITENDRA LOHANA | 9425804978 | ok, through sub ld
3 | 2025-08-20 13:27 | MR2508/0256 |  | 220KV_220KV Barwaha -Hadia Feeder | 220KV_BARWAHA | NON-OCCM-MP | S/D For Distance Protection Relay Testing Work | 21-08-2025 09:00:00 | 21-08-2025 16:00:00 | Er. Imran Beg | 9425805200 | ok, through sub ld
4 | 2025-08-20 15:52 | MR2508/0260 |  | 220KV_220KV BINA I/C -3 LOAD SHIFT BUS TRANSFER | 400KV_BINA4 | NON-OCCM-MP | NEW DTPC WIRING WORK ,220 KV BINA I/C-3 | 21-08-2025 10:00:00 | 21-08-2025 17:00:00 | P.N. NAMDEO | 7587951092 | ok, line to be in service through TBC
5 | 2025-08-20 14:27 | MR2508/0258 |  | 220KV_220 kV Seoni chhindwara Ckt-I | 220KV_CHHINDWARA | OCCM-MP | F/o disc replacement & Slip V/D and J/c tightening | 21-08-2025 09:00:00 | 21-08-2025 17:00:00 | A.M.Shende | 7587951136 | ok
6 | 2025-08-12 17:20 | MR2508/0174 | Daily | 220KV_220KV South Zone (Indore) â¿¿ Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | . Replacement existing of 24 Fibre OPGW by 48 Fibr | 14-08-2025 07:00:00 | 31-08-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
7 | 2025-08-16 12:52 | MR2508/0201 |  | 220KV_220KV Itarsi PGCIL No.-2 | 220KV_ITARSI | OCCM-WR | CT Replacement work | 21-08-2025 07:00:00 | 21-08-2025 19:00:00 | J.D.Khoria | 9425804975 | approved for 22nd
8 | 2025-06-30 15:24 | MR2506/0624 | Continuous | 400KV_400KV KATNI - DAMOH LINE | 400KV_KATNI4 | OCCM-MP | TOWER STRENGTHENING WORK | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | PANKAJ YADAV | 9406713326 | Deffered
9 | 2025-06-30 16:09 | MR2506/0633 | Continuous | 220KV_220KV KATNI - DAMOH LINE | 400KV_KATNI4 | NON-OCCM-MP | TOWER STRENTHENING WORK | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | PANKAJ YADAV | 9406713326 | Deffered
10 | 2025-08-19 14:50 | MR2508/0251 |  | 220KV_220 KV Main Bus-2nd | 400KV_MANDSOUR4 | NON-OCCM-MP | jampar work | 21-08-2025 10:00:00 | 21-08-2025 18:00:00 | J.P. Parmar | 9425806919 | ok, through sub ld
11 | 2025-08-12 17:23 | MR2508/0175 | Daily | 220KV_220KV Mangliya -Jaitpura Line. | 220KV_MANGLIA2 | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 14-08-2025 07:00:00 | 31-08-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
12 | 2025-07-22 16:42 | MR2507/0344 | Daily | 132KV_132 kV Nepa - Pipalpani MPPTCL Line | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work Installation of OPGW | 01-08-2025 07:00:00 | 25-08-2025 19:00:00 | C.H.Namdev | 9425802377 | sub ld
13 | 2025-07-22 16:47 | MR2507/0345 | Daily | 132KV_132 kV Nepa - Dharni (MSPTCL) Line | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work For Installatin of OPGW | 01-08-2025 07:00:00 | 25-08-2025 19:00:00 | C.H.Namdev | 9425802377 | ok, line to be in service
14 | 2025-08-15 21:46 | MR2508/0197 |  | 400KV_400KV Badnawar-Pithampur Ckt-1 | 400KV_PITHAMPUR4 | NON-OCCM-MP | For CT Tan Delta testing and Bay Maintenance work | 21-08-2025 11:00:00 | 21-08-2025 18:00:00 | Rajudas Bairagi | 9425801532 | ok, through sub ld
15 | 2025-08-19 14:34 | MR2508/0247 | Continuous | 132KV_132 kv REWA-MANGWAN CKT-2 | 220KV_REWA | NON-OCCM-MP | FEEDER PANEL SHIFTING WORK | 20-08-2025 10:00:00 | 21-08-2025 18:00:00 | KANISK SINGH | 9425804656 | Continuous
16 | 2025-08-14 18:24 | MR2508/0188 | Continuous | 400KV_400 kv main bus 1 | 400KV_SAGAR | NON-OCCM-MP | FOR EXTENSION OF MAIN BUS 1 | 20-08-2025 08:00:00 | 21-08-2025 17:00:00 | ANIL KUMAR MAHORE | 7747087295 | Deffered
17 | 2025-08-20 12:28 | MR2508/0255 |  | 132KV_132KV SAGAR-GOURJHAMAR 1st Ckt. LINE | 400KV_SAGAR | NON-OCCM-MP | Line maintenance work | 21-08-2025 10:00:00 | 21-08-2025 18:00:00 | J.P. Asati | 9424445533 | ok
18 | 2025-08-19 18:32 | MR2508/0253 |  | 220KV_220 KV Bus-1 | 400KV_SINGHAJI TPS | NON-OCCM-MP | Jamming of Bus isolator 203-89A of 220KV Bus-1 | 21-08-2025 10:00:00 | 21-08-2025 18:00:00 | Yogesh Chouhan | 7999328631 | ok
19 | 2025-08-17 16:26 | MR2508/0215 | Continuous | 400KV_315 MVA, 400KV/220KV, Interconnecting Transformer- 2 | 400KV_SINGHAJI TPS | NON-OCCM-MP | Overhauling work | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | Yogesh Chouhan | 7999328631 | Continuous
20 | 2025-08-20 16:08 | MR2508/0261 |  | 132KV_132 kV Badamalhera-Tikamgarh line | 220KV_TIKAMGARH | NON-OCCM-MP | Demage Armour replacement, Loose AH Tightening | 21-08-2025 10:00:00 | 21-08-2025 18:00:00 | Manoj Kumar Tiwari | 9425804993 | ok
21 | 2025-08-20 14:23 | MR2508/0257 |  | 132KV_132kv tikamgarh-Interconnector 1st line | 220KV_TIKAMGARH | NON-OCCM-MP | Shifted 132kv la and cc | 21-08-2025 10:00:00 | 21-08-2025 17:00:00 | pushpendrasoni. | 9425806398 | ok
22 | 2025-08-20 14:23 |  |  | 40 MVA TRANSFORMER | 220 KV SIRMOUR | NON-OCCM-MP | NEUTRAL STRIP REPLACING WORK | 21-08-2025 11:00:00 | 21-08-2025 17:00:00 |  |  | ok
23 | 2025-08-20 14:23 |  |  | 160 MVA TRANSFORMER ICT -2 | 220 KV BEGUMGANJ | NON-OCCM-MP | ANNUAL MAINTENANCE AND TESTING | 2025-08-21 09:30 | 2025-08-21 19:30 |  |  | ok
24 | 2025-08-20 | 260148 |  | NHPTL-TESTING-@-NHPTL - 400KV at BINA-NHPTL - 400KV | NHPTL | WR | SC TESTING OF TRANSFORMER | 09:00 | 18:00 |  |  | ok, all the actions to be informed to JP BINA and MP BINA
25 | 2025-08-20 | 256990 |  | 220KV-GWALIOR-MALANPUR-1 | MP_SLDC | WR | FOR LINE MAINTENANCE WORK | 09:00 | 17:00 |  |  | real time
26 | 2025-08-20 | 256991 |  | 220KV-SEONI-PG-CHINDWARA-1 | MP_SLDC | WR | FOR LINE MAINTENANCE WORK | 09:00 | 18:00 |  |  | ok
27 | 2025-08-20 | 262185 |  | 220KV-ANNUPUR-KOTMIKALA-1 | MP_SLDC | WR | for resagging work between loc 418-432 | 08:00 | 17:59 |  |  | ok
28 | 2025-08-20 | 259215 |  | 132KV-DHARNI-NEPANAGAR-1 | MP_SLDC | WR | A/R off required for OPGW installation work of 24/48 core OPGW by replacing E/W for implementation of OPGW based reliable communication scheme | 07:00 | 18:59 |  |  | ok

## LOGBOOK FORMAT
| 2025-08-21 |  | Code & Time for Shut Down |  |  | Actual duration of Shutdown |  |  |  | Code & Time for Normalization
| ELEMENT | SUBSTATION | CATEGORY | CODE | TIME | FROM TIME | TO TIME |  | REASON FOR SHUTDOWN | PERMIT CANCEL TIME | CODE | TIME | REMARK | FROM | TO
1 | 220KV_220 kV Anuppur- Kotmikala ckt-I | 220KV_ANUPPUR | NON-OCCM-MP |  |  |  |  | 1 | Re sagging work at loc. 418-432 |  |  |  | ok | 20-08-2025 08:00:00 | 21-08-2025 18:00:00
2 | 220KV_160MVA X-MER NO-1 AREVA | 400KV_ASHTA4 | NON-OCCM-MP |  |  |  |  | 2 | Post monsoon maintenance and measurements of tan d |  |  |  | ok, through sub ld | 21-08-2025 09:00:00 | 21-08-2025 18:00:00
3 | 220KV_220KV Barwaha -Hadia Feeder | 220KV_BARWAHA | NON-OCCM-MP |  |  |  |  | 3 | S/D For Distance Protection Relay Testing Work |  |  |  | ok, through sub ld | 21-08-2025 09:00:00 | 21-08-2025 16:00:00
4 | 220KV_220KV BINA I/C -3 LOAD SHIFT BUS TRANSFER | 400KV_BINA4 | NON-OCCM-MP |  |  |  |  | 4 | NEW DTPC WIRING WORK ,220 KV BINA I/C-3 |  |  |  | ok, line to be in service through TBC | 21-08-2025 10:00:00 | 21-08-2025 17:00:00
5 | 220KV_220 kV Seoni chhindwara Ckt-I | 220KV_CHHINDWARA | OCCM-MP |  |  |  |  | 5 | F/o disc replacement & Slip V/D and J/c tightening |  |  |  | ok | 21-08-2025 09:00:00 | 21-08-2025 17:00:00
6 | 220KV_220KV South Zone (Indore) â¿¿ Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP |  |  |  |  | 6 | . Replacement existing of 24 Fibre OPGW by 48 Fibr |  |  |  | ok, line to be in service | 14-08-2025 07:00:00 | 31-08-2025 19:00:00
7 | 220KV_220KV Itarsi PGCIL No.-2 | 220KV_ITARSI | OCCM-WR |  |  |  |  | 7 | CT Replacement work |  |  |  | approved for 22nd | 21-08-2025 07:00:00 | 21-08-2025 19:00:00
8 | 400KV_400KV KATNI - DAMOH LINE | 400KV_KATNI4 | OCCM-MP |  |  |  |  | 8 | TOWER STRENGTHENING WORK |  |  |  | Deffered | 18-08-2025 09:00:00 | 23-08-2025 18:00:00
9 | 220KV_220KV KATNI - DAMOH LINE | 400KV_KATNI4 | NON-OCCM-MP |  |  |  |  | 9 | TOWER STRENTHENING WORK |  |  |  | Deffered | 18-08-2025 09:00:00 | 23-08-2025 18:00:00
10 | 220KV_220 KV Main Bus-2nd | 400KV_MANDSOUR4 | NON-OCCM-MP |  |  |  |  | 10 | jampar work |  |  |  | ok, through sub ld | 21-08-2025 10:00:00 | 21-08-2025 18:00:00
11 | 220KV_220KV Mangliya -Jaitpura Line. | 220KV_MANGLIA2 | NON-OCCM-MP |  |  |  |  | 11 | Replacement existing of 24 Fibre OPGW by 48 Fibre |  |  |  | ok, line to be in service | 14-08-2025 07:00:00 | 31-08-2025 19:00:00
12 | 132KV_132 kV Nepa - Pipalpani MPPTCL Line | 220KV_NEPANAGAR | NON-OCCM-WR |  |  |  |  | 12 | Hotline Work Installation of OPGW |  |  |  | sub ld | 01-08-2025 07:00:00 | 25-08-2025 19:00:00
13 | 132KV_132 kV Nepa - Dharni (MSPTCL) Line | 220KV_NEPANAGAR | NON-OCCM-WR |  |  |  |  | 13 | Hotline Work For Installatin of OPGW |  |  |  | ok, line to be in service | 01-08-2025 07:00:00 | 25-08-2025 19:00:00
14 | 400KV_400KV Badnawar-Pithampur Ckt-1 | 400KV_PITHAMPUR4 | NON-OCCM-MP |  |  |  |  | 14 | For CT Tan Delta testing and Bay Maintenance work |  |  |  | ok, through sub ld | 21-08-2025 11:00:00 | 21-08-2025 18:00:00
15 | 132KV_132 kv REWA-MANGWAN CKT-2 | 220KV_REWA | NON-OCCM-MP |  |  |  |  | 15 | FEEDER PANEL SHIFTING WORK |  |  |  | Continuous | 20-08-2025 10:00:00 | 21-08-2025 18:00:00
16 | 400KV_400 kv main bus 1 | 400KV_SAGAR | NON-OCCM-MP |  |  |  |  | 16 | FOR EXTENSION OF MAIN BUS 1 |  |  |  | Deffered | 20-08-2025 08:00:00 | 21-08-2025 17:00:00
17 | 132KV_132KV SAGAR-GOURJHAMAR 1st Ckt. LINE | 400KV_SAGAR | NON-OCCM-MP |  |  |  |  | 17 | Line maintenance work |  |  |  | ok | 21-08-2025 10:00:00 | 21-08-2025 18:00:00
18 | 220KV_220 KV Bus-1 | 400KV_SINGHAJI TPS | NON-OCCM-MP |  |  |  |  | 18 | Jamming of Bus isolator 203-89A of 220KV Bus-1 |  |  |  | ok | 21-08-2025 10:00:00 | 21-08-2025 18:00:00
19 | 400KV_315 MVA, 400KV/220KV, Interconnecting Transformer- 2 | 400KV_SINGHAJI TPS | NON-OCCM-MP |  |  |  |  | 19 | Overhauling work |  |  |  | Continuous | 18-08-2025 09:00:00 | 23-08-2025 18:00:00
20 | 132KV_132 kV Badamalhera-Tikamgarh line | 220KV_TIKAMGARH | NON-OCCM-MP |  |  |  |  | 20 | Demage Armour replacement, Loose AH Tightening |  |  |  | ok | 21-08-2025 10:00:00 | 21-08-2025 18:00:00
21 | 132KV_132kv tikamgarh-Interconnector 1st line | 220KV_TIKAMGARH | NON-OCCM-MP |  |  |  |  | 21 | Shifted 132kv la and cc |  |  |  | ok | 21-08-2025 10:00:00 | 21-08-2025 17:00:00
22 | 40 MVA TRANSFORMER | 220 KV SIRMOUR | NON-OCCM-MP |  |  |  |  | 22 | NEUTRAL STRIP REPLACING WORK |  |  |  | ok | 21-08-2025 11:00:00 | 21-08-2025 17:00:00
23 | 160 MVA TRANSFORMER ICT -2 | 220 KV BEGUMGANJ | NON-OCCM-MP |  |  |  |  | 23 | ANNUAL MAINTENANCE AND TESTING |  |  |  | ok | 45890.3958 | 45890.8125
24 | NHPTL-TESTING-@-NHPTL - 400KV at BINA-NHPTL - 400KV | NHPTL | WR |  |  |  |  | 24 | SC TESTING OF TRANSFORMER |  |  |  | ok, all the actions to be informed to JP BINA and MP BINA | 09:00 | 18:00
25 | 220KV-GWALIOR-MALANPUR-1 | MP_SLDC | WR |  |  |  |  | 25 | FOR LINE MAINTENANCE WORK |  |  |  | real time | 09:00 | 17:00
26 | 220KV-SEONI-PG-CHINDWARA-1 | MP_SLDC | WR |  |  |  |  | 26 | FOR LINE MAINTENANCE WORK |  |  |  | ok | 09:00 | 18:00
27 | 220KV-ANNUPUR-KOTMIKALA-1 | MP_SLDC | WR |  |  |  |  | 27 | for resagging work between loc 418-432 |  |  |  | ok | 08:00 | 17:59
28 | 132KV-DHARNI-NEPANAGAR-1 | MP_SLDC | WR |  |  |  |  | 28 | A/R off required for OPGW installation work of 24/48 core OPGW by replacing E/W for implementation of OPGW based reliable communication scheme |  |  |  | ok | 07:00 | 18:59
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0
| 0 | 0 | 0 |  |  |  |  | 0 | 0

## TRIPPING REPORT
TRIPPING DETAILS
2025-04-09 |  |  | 2025-04-09
SUBSTATION/ELEMENT |  |  | TRIPPING/HT |  |  | CHARGING |  |  |  | OUTAGE | INDICATIONS
S.NO. | SUBSTATION | ELEMENT | AREA OF INTERRUPTION | Date | Time | Date | Time | Code | Time | Hrs. | INDICATIONS [AT THIS END] | INDICATIONS [AT OTHER END] | REMARK

## SUBSTATION CONTACT
|  | JABALPUR REGION | [6 empty] | DIVISON | CIRCLE
S.NO | SUBSTATION | VOLTAGE LEVEL | SUBSTATION | JE(S/S) | AE(S/S) | AE(TESTING) | EE(TESTING) | AE(TLM)
1 | AMARKANTAK | 220KV
2 | AMARPATAN | 132KV | 9589492235 | 9425426476 | (8586865656) Sh. AKHILESH SINGH | (9425804656) Sh. KANISHK SINGH,(9425805073)Smt. PRATEEKSHA BAGRI | (9425805076)Sh. ABHAY SAXENA
3 | MAIHAR220KV | 220/132KV | 7587951358 | N/A | (8586865656) Sh. AKHILESH SINGH
4 | SATNA 220KV | 220/132KV | 9425803180 | N/A | (9425805296) Sh. RAVI PANDEY
5 | SATNA IIND 132KV SONOURA | 132KV | 9144995797 | 6268252465 | (9425804656) Sh. KANISHK SINGH
6 | SATNA IST 132KV PATERI | 132KV | 9755407562 | 9479480113 | (9425804656) Sh. KANISHK SINGH
7 | UNCHERA 132KV | 132KV | 8982363852 | 8982133032 | (8586865656) Sh.AKHILESH SINGH
8 | MAJHGAWAN 132KV | 132KV | 9109751102 | 8269439533 | (9425805296) Sh. RAVI PANDEY
9 | NAGOD 132KV | 132KV | 7587951362 | 9425802347 | (9425805296) Sh. RAVI PANDEY
10 | PANNA 132 KV | 132KV | 7587951360 | 9425802349 | (9425802349) Sh.R.N UPADHYAY
11 | PAWAI 132KV | 132KV | 7587951365 | 9179221925 | (9425802349) Sh.R.N UPADHYAY
12 | DEVENDRANAGAR 132KV | 132KV
13 | KOTAR 220KV | 220/132KV | 9425803172/7587951350 |  | 8878152550(ARUN KOL)
14 | TIKAMGARH 220KV |  | 9425804877/7587951390 | NA | (8839503970) Sh.PUSHPENDRA SONI | (8878740098) Sh. GANESH RAI | (9425804966) Sh. RAMESH KANKUNJ
15 | TIKAMGARH 132KV |  | 7805973696 | (7000452680) Sh. DURGESH YADAV | (8839503970) Sh.PUSHPENDRA SONI
16 | PRITHVIPUR 132KV |  | 7582798839 | (7999353371) Sh. GIREESH NAPIT | (8839503970) Sh.PUSHPENDRA SONI
17 | JATARA 132KV | 132KV | 7587951392 | (9713179377) Sh. SANTOSH LODHI | (8839503970) Sh.PUSHPENDRA SONI
18 | DIGODA 132 KV | 132KV | 7587951393 | (8770949309) Sh. SANTOSH KUMAR JAIN | (8839503970) Sh.PUSHPENDRA SONI
19 | BUDHERA 132KV | 132KV | 7587951394 | (7000698221) Sh. NEERAJ PATEL | (8839503970) Sh.PUSHPENDRA SONI
20 | NIWARI 132KV | 132KV |  | (7999353371) Sh. GIREESH NAPIT | (8839503970) Sh.PUSHPENDRA SONI
21 | ORCHA 132KV | 132KV |  | (7999353371) Sh. GIREESH NAPIT | (8839503970) Sh.PUSHPENDRA SONI
22 | CHHATARPUR 220KV | 220KV | 9425804879 |  | (9425806724,9406787671) Sh. C.L MALI
23 | LUV KUSHNAGAR 132KV | 132KV | 8085921051 |  | (9425806724,9406787671) Sh. C.L MALI
24 | NOWGAON 132KV | 132KV | 7587951397 | (9806906921) Sh. RAJESH YADAV | (9425806724,9406787671) Sh. C.L MALI
25 | BADAMALHERA 132KV | 132KV | 9424090853 | (9806040860) Sh. BRIJESH VISHWKARMA | (9425806724,9406787671) Sh. C.L MALI
26 | KHAJURAHO 132KV | 132KV | 7587951396 | (9179169095) Sh. PRAKASH CHANDRA ANURAGI | (9425806724,9406787671) Sh. C.L MALI
27 | BIJAWAR 132 KV | 132 KV | 7587951395 | (9926239898) Sh. KULDEEP VERMA | (9425806724,9406787671) Sh. C.L MALI
28 | DAMOH 220KV | 220/132KV | 9425804876 | N/A | (8959559657) Sh. M.K CHOUBE | (9993828009,9425806832) Sh. ANKIT BERSAIYA/(7879960164,9425804341) Sh. SRAJAN SISODIYA | (9425804984) Sh. KAMALKANT AHIRWAR
29 | DAMOH 132KV | 132KV | 7812223107 | N/A | (9425801433) Sh. B.K SAHU
30 | HATTA 132KV | 132KV | 7587951384 | (9755467929) Sh. D.N AHIRWAR | (9425801433) Sh. B.K SAHU
31 | PATERA 132KV | 132KV |  | N/A | (9425801433) Sh. B.K SAHU
32 | BATIAGARH 132KV | 132KV |  | (9425805177) Sh. P.R MARAVI | (9425801433) Sh. B.K SAHU
33 | SAGAR 400KV | 400/220/132KV | 9425804875(WHATSAPP) | N/A | (9425808329) Sh. P.D GAUTAM
34 | SAGAR 132KV | 132KV | 8349923021 | (9425801421) Sh. SK HAJARI | (9131327770) Sh.BRIJENDRA SONI
35 | GOURJHAMAR 132KV | 132KV | 7587951387 | (9575092715) Sh. SUNEEL SHUKLA | (9425808329) Sh. P.D GAUTAM
36 | BANDA 132KV | 132KV | 7587951389 |  | (9425808329) Sh. P.D GAUTAM
37 | DEORI 132 KV | 132KV | 9752355094 |  | (9425808329) Sh. P.D GAUTAM
38 | REHLI 132KV | 132KV | 8516007068 | () Sh. | (9425808329) Sh. P.D GAUTAM
39 | GARHA KOTA 132KV | 132KV |  |  | 9425804341(SRAJAN SISODIYA)
40 | CHHINDWARA 132 | 132KV | 9425802986 | N/A | 9425804752(ANJU DHURVE) | (9425804690) Sh. VISHAL BALADHARE | (9425805086) Sh. DEEPAK KUMAR
41 | CHHINDWARA 220 | 220KV | 9425803147 | N/A | 9685556803(SHIVKUMAR OKTE)
42 | UMRETH 132KV | 132KV | 7587951353 | 9575281512 | 9425804318
43 | PANDURNA 220KV | 220/132KV | 9425803153 | N/A | 9425804982(MAHENDRA RAJ SAHU)
44 | BOREGAON 132KV | 132KV | 7587951354 | 7566934378(MADAN GHAGRE) | N/A
45 | KHAPASWAMI 132KV | 132KV | 7587951356 | 8319638787(SUSHEEL DEHARIYA) | 9685556803(SHIVKUMAR OKTE)
46 | CHAURAI 132KV | 132KV | 7587951357 |  | 9685556803(SHIVKUMAR OKTE)
47 | AMARWARA 132KV | 132KV | 7587951355 | 7509148945(ASHOK BINJHADE) | 9685556803(SHIVKUMAR OKTE)
48 | 132KV BICHUA | 132KV | 8989854185
49 | 132KV SAORI | 132KV | 9424998542 | 896277785(AADESH KUMAR MASKOLE) | 9425804752(ANJU DHURVE)
50 | SHAHDOL 220KV | 220/132KV | 7587951368/7587951366 | N/A | 9425814035(BIJAY SAHU) | (9425806924) Sh. RAVIRAJ PATEL | (9425805293) Sh. CHANDRABHAN KUSHWAHA |  |  | SHAHDOL DIVISON
51 | BIRSINGHPUR 220KV | 220KV | 9425803176 | N/A | 9752605559(TOSHAN SINGH)
52 | ANNUPPUR 220KV | 220KV | 9425803175 | N/A | 9165708070(VIKASH MISHRA)
53 | GORAKHPUR 132KV | 132KV |  | 9340605414/9009393895(D.P SINGH) | 9165708070(VIKASH MISHRA)
54 | DINDORI 132KV | 132KV | 7587951370 | 8319555199(VIKRAM SINGH) | (9425806924) Sh. RAVIRAJ PATEL
55 | KOTMA 132KV | 132KV | 7587951369 | 9425801257(NARESH SINGH GOUD) | 9165708070(VIKASH MISHRA)
56 | UMARIYA 132KV | 132KV | 7587951367 | 9009784603(MAN SINGH) | 9752605559(TOSHAN SINGH)
57 | BEOHARI 132KV | 132KV | 7587951373 | (8770544002) Sh. Sandeep pathak | (9752644102) Sh. SUNEEL BHALAVI
58 | REWA 220KV | 220/132KV | 9425803188 | N/A | 9425805019(S.N SHARMA) | (9755718326) Sh. MUKESH KUMAR | 9425805077(MAHESH PRASAD PATEL)
59 | SIRMOUR 220KV(REWA) | 220/132KV |  | N/A | 9424734033(I.J SINGH)
60 | REWA II SAGRA | 132KV | 7587951375 | 9630177601(R.K DWIVEDI) | 9425805019(S.N SHARMA)
61 | MAUGANJ 132 KV | 132KV | 7587951377 |  | 9424734033(I.J SINGH)
62 | REWA I 132KV CITY | 132KV | 9425805330 | 8827503975(JITENDRA MISHRA) | 9755718326(MUKESH KUMAR)
63 | KATRA 132 KV | 132KV | 7587951383 | 9685298331(SURENDRA SINGH) | 9424734033(I.J SINGH)
64 | ATRAILA 132 KV | 132KV | 9630417572 | 9685298331(SURENDRA SINGH BAHELIA) | 9424734033(I.J SINGH)
65 | RAMPUR NEIKIN 132KV | 132KV | 6232683551 | 9752814263(BHUPENDRA PATHAK) | 9755718326(MUKESH KUMAR)
66 | RAMPUR BAGHELAN 132KV | 132KV | 7587951363 | 9893124647(K.K PATEL) | 9425805019(S.N SHARMA)
67 | MANGAWAN 132KV | 132KV | 9109747982 |  | 9425805019(S.N SHARMA)
68 | SEONI 132KV | 132KV | 9425802983 | 7587951054 | (9407080930) Sh. Sandeep damahe | (8516924263) Sh. LOKESH PATIL, (9039300466) Sh. DEVENDRA DEHARIYA (AE TESTING KIRNAPUR) | (9425805290) Sh. ARUN KUMAR VAIDYA |  |  | SEONI CIRCLE(SEONI, CHHINDWARA, NARSINGHPUR)
69 | SEONI 220KV | 220/132KV | 9425803143 | N/A | (9407080930) Sh. Sandeep damahe
70 | NAINPUR 132KV | 132KV | 7587951348 |  | (9407080930) Sh. Sandeep damahe
71 | LALBARRA 132KV | 132KV |  |  | (8602109855) Smt. SWATI BISEN
72 | KATANGI 132KV | 132KV | 7587951349/7587951364 |  | (8717944384) Smt Seema Dongre
73 | WARASEONI 132KV | 132KV |  |  | (8602109855) Smt. SWATI BISEN
74 | BALAGAHT 132KV | 132KV | 9425802985 |  | (8602109855) Smt. SWATI BISEN
75 | BAIHAR 132KV | 132KV |  |  | (8602109855) Smt. SWATI BISEN
76 | LAKHNADON 132KV | 132KV |  |  | (8717944384) Smt Seema Dongre
77 | KIRNAPUR 400KV | 400/132KV | 7648862955 |  | (9425804578) Shri Dileep Valky
78 | BHANEGAON 132KV | 132KV |  |  | (8602109855) Smt. SWATI BISEN
79 | SIDHI 132KV | 132KV | 7587951376 | N/A | (9425806914) Sh. SURENDRA PATEL | (9425806914) Sh. SURENDRA PATEL | (9425804930) Sh. BIJAK KUMAR PRIYE
80 | SIDHI 220KV | 220/132KV | 7587951374 | N/A | (9425806914) Sh. SURENDRA PATEL
81 | SIHAWAL 132KV | 132KV | 8602974324 | N/A | (9425806914) Sh. SURENDRA PATEL
82 | MADWAS 132KV | 132KV | 9669419462 | (9425804643) Sh VINOD PANIKA | (9425806914) Sh. SURENDRA PATEL
83 | DEOSAR 132KV | 132KV | 7587951379 | (8109414234) Sh. R.K SAHU | (9425806914) Sh. SURENDRA PATEL
84 | DONGRITAL 132KV | 132KV |  | (8770142169) Sh. Sabhapati Prajapati | (9425806914) Sh. SURENDRA PATEL
85 | RAJMILAN 132KV | 132KV | 8349185300 | (7648817448) Sh. ANUJ PANDEY | (9425806914) Sh. SURENDRA PATEL
86 | WAIDHAN 132KV | 132KV | 9425805331 | (9584321714) Sh.Girjashankar Kahirwar | (9425806914) Sh. SURENDRA PATEL
87 | MORWA 132KV | 132KV | 9425805329 | (7000431053) Sh. S.B SINGH | (9425806914) Sh. SURENDRA PATEL
90 | DHEEMERKHEDA 132KV | 132KV
93 | JABALPUR 220KV | 220KV
97 | MADHOTAL 132KV | 132KV | 7587951371
98 | MANDLA 132 KV | 132KV | 7587951343 | 9977761198(AVINASH DESMUKH) | 9425385281(S.K JAIN) | 9425804991(N.S PATEL)
99 | BICHYA 132KV | 132KV | 8982364546 | 9926645795(RAJESH DONGSARE)
100 | MANERI 132KV | 132KV | 7587951346 | N/A
106 | PANAGAR 220KV | 220/132KV | 9425807099
109 | BINA 220 | 220KV | 9425804878
110 | BINA 400 |  | 9425803011
112 | SHAHPURA 132KV |  | 9425813707/7648818093
113 | SUKHA 220KV |  | 9425803140
114 | VFJ 132KV |  | 9425802980
116 | LATERI 132KV | 132KV | 7587951418
117 | GORABAZAR 220KV | 220/132KV | 9425331665
118 | BANSAGAR 1(TONS 3X105MW)
119 | BARGI HPS
120 | BARHI 132 | 132KV | 9009852391
89 | DEVLOND | 132KV
121
122
123
124
125
126
127
128
129
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
159
160
161
162
163
164
165
166

## Sheet1 (2)
S.NO | NAME | CONTACT NO | SUBSTATION | POST
1 | SHIV KUMAR | 9425806917 | 220KV_BETUL
2 | Akram Khan | 9425804695 | 400KV_BHOPAL4
3 | Sanjay Singh Thakur | 9425806936 | 400KV_BINA4
4 | Sanjay Singh Thakur | 9425806936 | 400KV_BINA4
5 | SATISH KUMAR BHAGAT | 7049297785 | 400KV_BINA4
6 | Sanjay singh thakur | 9425806936 | 400KV_BINA4
7 | Sanjay singh thakur | 9425806936 | 400KV_BINA4
8 | SATISH KUMAR BHAGAT AE TLM PICHHORE | 9425806916 | 400KV_BINA4
9 | Jitendra Tiwari | 9425805298 | 220KV_GORABAZAR
10 | Sh. Sanjay Patel | 9575074321 | 400KV_INDIRASAGAR
11 | Jitendra TIwari | 9425805298 | 220KV_JABALPUR
12 | Pankaj Yadav | 9406713326 | 400KV_KATNI4
13 | Pankaj Yadav | 9406713326 | 400KV_KATNI4
14 | S.K.Nadekar | 9425806848 | 400KV_KIRNAPUR
15 | Mr. Rakesh Suman | 9713958042 | 132KV_KOTHIYA
16 | ARVIND PATIDAR | 9425806852 | 220KV_NAGDA
17 | Pankaj Sharma | 7898703187 | 220KV_OMKARESHWAR
18 | PANKAJ SHARMA | 7898703187 | 220KV_OMKARESHWAR
19 | Pankaj Sharma | 7898703187 | 220KV_OMKARESHWAR
20 | PANKAJ SHARMA | 7898703187 | 220KV_OMKARESHWAR
21 | SHIV KUMAR | 9425806917 | 220KV_PANDHURNA
22 | M.M. Baig | 9425805067 | 220KV_SATNA
23 | M. M. Baig | 9425805067 | 220KV_SATNA
24 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
25 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
26 | JAGDISH PRASAD ASATI | 9424445533 | 220KV_TIKAMGARH
27 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
28 | kumar sachindra | 9425805295 | 220KV_UJJAIN
29 | Kumar sachindra | 9425805295 | 220KV_UJJAIN
30 | Gaurav Goyal | 9425805120 | 220KV_BADNAGAR
31 | Gaurav Goyal | 9425805120 | 220KV_BADNAGAR
32 | Poshkar kushwaha | 9425813990 | 220KV_BADNAGAR
33 | SHIV KUMAR | 9425806917 | 220KV_BETUL
34 | SHIV KUMAR | 9425806917 | 220KV_BETUL
35 | Akram Khan | 9425804695 | 400KV_BHOPAL4
36 | Sanjay Singh Thakur | 9425806936 | 400KV_BINA4
37 | Sanjay Singh Thakur | 9425806936 | 400KV_BINA4
38 | SATISH KUMAR BHAGAT | 7049297785 | 400KV_BINA4
39 | Sanjay singh thakur | 9425806936 | 400KV_BINA4
40 | Sanjay singh thakur | 9425806936 | 400KV_BINA4
41 | SATISH KUMAR BHAGAT AE TLM PICHHORE | 9425806916 | 400KV_BINA4
42 | Shri Ganesh Mansare | 9425802441 | 400KV_CHHEGAON4
43 | Sunita Rathore | 9425805223 | 220KV_DHAR
44 | Sunita Rathore | 9425805223 | 220KV_DHAR
45 | Jitendra Tiwari | 9425805298 | 220KV_GORABAZAR
46 | J.D. Khoria | 9425804975 | 220KV_HANDIYA
47 | Sh. Sanjay Patel | 9575074321 | 400KV_INDIRASAGAR
48 | R.N.PARTE | 9425804701 | 220KV_ITARSI
49 | Jitendra TIwari | 9425805298 | 220KV_JABALPUR
50 | Pankaj Yadav | 9406713326 | 400KV_KATNI4
51 | Pankaj Yadav | 9406713326 | 400KV_KATNI4
52 | Pankaj yaday | 9406713326 | 400KV_KATNI4
53 | S.K.Nadekar | 9425806848 | 400KV_KIRNAPUR
54 | Mr. Rakesh Suman | 9713958042 | 132KV_KOTHIYA
55 | MANOJ RANDA | 9425820034 | 132KV_MANAWAR
56 | CHETAN YADAV | 9425805282 | 132KV_MANERI
57 | Asheesh Kumar | 8319926224 | 220KV_MEHGAON
58 | ARVIND PATIDAR | 9425806852 | 220KV_NAGDA
59 | Sunil Bamniya | 9425803006 | 400KV_NAGDA4
60 | Pankaj Sharma | 7898703187 | 220KV_OMKARESHWAR
61 | PANKAJ SHARMA | 7898703187 | 220KV_OMKARESHWAR
62 | Pankaj Sharma | 7898703187 | 220KV_OMKARESHWAR
63 | PANKAJ SHARMA | 7898703187 | 220KV_OMKARESHWAR
64 | SHIV KUMAR | 9425806917 | 220KV_PANDHURNA
65 | NARESH PANDRE | 9425806905 | 400KV_PITHAMPUR4
66 | TLM Shujalpur | 9425820041 | 220KV_RAJGARH (BIAORA)
67 | NIKHIL DUNGE | 9425801487 | 220KV_RATLAM
68 | M. M. Baig | 9425805067 | 220KV_SATNA
69 | M.M. Baig | 9425805067 | 220KV_SATNA
70 | M. M. Baig | 9425805067 | 220KV_SATNA
71 | Ashish Kumar | 9425805935 | 132KV_SHAHPURA
72 | KAMAL SOLANKI | 9425805262 | 132KV_SONKATCH
73 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
74 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
75 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
76 | kumar sachindra | 9425805295 | 220KV_UJJAIN
77 | Kumar sachindra | 9425805295 | 220KV_UJJAIN
78 | SHIV KUMAR | 9425806917 | 220KV_BETUL
79 | Akram Khan | 9425804695 | 400KV_BHOPAL4
80 | Sanjay Singh Thakur | 9425806936 | 400KV_BINA4
81 | Sanjay Singh Thakur | 9425806936 | 400KV_BINA4
82 | SATISH KUMAR BHAGAT | 7049297785 | 400KV_BINA4
83 | Sanjay singh thakur | 9425806936 | 400KV_BINA4
84 | Sanjay singh thakur | 9425806936 | 400KV_BINA4
85 | SATISH KUMAR BHAGAT AE TLM PICHHORE | 9425806916 | 400KV_BINA4
86 | KAMAL SOLANKI | 9425805262 | 220KV_CHAPDA
87 | KAMAL SOLANKI | 9425805262 | 220KV_DEWAS
88 | KAMAL SOLANKI | 9425805262 | 220KV_DEWAS
89 | Jitendra Tiwari | 9425805298 | 220KV_GORABAZAR
90 | Sh. Sanjay Patel | 9575074321 | 400KV_INDIRASAGAR
91 | Jitendra TIwari | 9425805298 | 220KV_JABALPUR
92 | Pankaj Yadav | 9406713326 | 400KV_KATNI4
93 | Pankaj Yadav | 9406713326 | 400KV_KATNI4
94 | Pankaj Sharma | 7898703187 | 220KV_OMKARESHWAR
95 | SHIV KUMAR | 9425806917 | 220KV_PANDHURNA
96 | M. M. Baig | 9425805067 | 132KV_RAMPUR BAGHELAN
97 | M.M. Baig | 9425805067 | 220KV_SATNA
98 | M. M. Baig | 9425805067 | 220KV_SATNA
99 | M. M. Baig | 9425805067 | 220KV_SATNA
100 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
101 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
102 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
103 | kumar sachindra | 9425805295 | 220KV_UJJAIN
104 | Kumar sachindra | 9425805295 | 220KV_UJJAIN
105 | J.P. Parmar | 9425806919 | 132KV_ALOT
106 | JITENDRA LOHANA | 9425804978 | 400KV_ASHTA4
107 | Ravindra Kumar Marskole | 9425814080 | 220KV_BADOD
108 | NARESH PANDRE | 9425806905 | 220KV_BARWAHA
109 | SHIV KUMAR | 9425806917 | 220KV_BETUL
110 | Akram Khan | 9425804695 | 400KV_BHOPAL4
111 | Er Yasin khan | 8319544020 | 132KV_BILPANK
112 | Sanjay Singh Thakur | 9425806936 | 400KV_BINA4
113 | Sanjay Singh Thakur | 9425806936 | 400KV_BINA4
114 | SATISH KUMAR BHAGAT | 7049297785 | 400KV_BINA4
115 | Sanjay singh thakur | 9425806936 | 400KV_BINA4
116 | Sanjay singh thakur | 9425806936 | 400KV_BINA4
117 | SATISH KUMAR BHAGAT AE TLM PICHHORE | 9425806916 | 400KV_BINA4
118 | SHRI SPS TOMAR | 8982804799 | 220KV_BUDHNI
119 | SK Sharma | 9981154955 | 220KV_CHAPDA
120 | M.K.Choubey | 9425801424 | 220KV_DAMOH
121 | P D Goutam | 9425808329 | 132KV_DEORI
122 | Jitendra Tiwari | 9425805298 | 220KV_GORABAZAR
123 | Sh. Sanjay Patel | 9575074321 | 400KV_INDIRASAGAR
124 | ATUL PARADKAR | 9425804929 | 400KV_INDORE4
125 | Jitendra TIwari | 9425805298 | 220KV_JABALPUR
126 | RAKESH BADGOTYA | 7587951143 | 220KV_JAORA
127 | Pankaj Yadav | 9406713326 | 400KV_KATNI4
128 | JAGDISH PRASAD ASATI | 9424445533 | 400KV_KATNI4
129 | pankaj yadav | 9406713326 | 400KV_KATNI4
130 | S.K.OKTE | 7587951132 | 132KV_KHAPASWAMI
131 | Mr. Rakesh Suman | 9713958042 | 132KV_KOTHIYA
132 | Ee Manoj randa | 9425820034 | 220KV_KUKSHI
133 | Akhilesh Singh | 8586865656 | 220KV_MAIHAR
134 | Asheesh kumar | 8319926224 | 220KV_MEHGAON
135 | ARVIND PATIDAR | 9425806852 | 220KV_NAGDA
136 | DINESH KUMAR KUSHWAHA | 9425801319 | 220KV_NARSINGHPUR
137 | PANKAJ SHARMA | 9425993027 | 220KV_OMKARESHWAR
138 | SHIV KUMAR | 9425806917 | 220KV_PANDHURNA
139 | M. M. Baig | 9425805067 | 132KV_RAMPUR BAGHELAN
140 | NIKHIL DUNGE | 9425801487 | 220KV_RATLAM
141 | SHIV KUMAR | 9425806917 | 220KV_SARNI
142 | M.M. Baig | 9425805067 | 220KV_SATNA
143 | M. M. Baig | 9425805067 | 220KV_SATNA
144 | M. M. Baig | 9425805067 | 220KV_SATNA
145 | Er.v VIJAY OJHA | 9755836908 | 220KV_SHEOPUR KALAN2
146 | Er.VIJAY OJHA | 9755836908 | 220KV_SHEOPUR KALAN2
147 | SHRI S.K. PATEL | 9425806914 | 220KV_SIDHI
148 | RAMBABU NAGAR | 9425802879 | 220KV_SUWASRA2
149 | RAM BABU NAGAR | 9425802879 | 220KV_SUWASRA2
150 | RAM BABU NAGAR | 9425802879 | 220KV_SUWASRA2
151 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH
152 | Manoj Kumar Tiwari | 9425804993 | 220KV_TIKAMGARH

## CODES
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80
81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100
101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120
121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140
141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160
161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180
181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200
201 | 202 | 203 | 204 | 205 | 206 | 207 | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 | 216 | 217 | 218 | 219 | 220
221 | 222 | 223 | 224 | 225 | 226 | 227 | 228 | 229 | 230 | 231 | 232 | 233 | 234 | 235 | 236 | 237 | 238 | 239 | 240
241 | 242 | 243 | 244 | 245 | 246 | 247 | 248 | 249 | 250 | 251 | 252 | 253 | 254 | 255 | 256 | 257 | 258 | 259 | 260
261 | 262 | 263 | 264 | 265 | 266 | 267 | 268 | 269 | 270 | 271 | 272 | 273 | 274 | 275 | 276 | 277 | 278 | 279 | 280
281 | 282 | 283 | 284 | 285 | 286 | 287 | 288 | 289 | 290 | 291 | 292 | 293 | 294 | 295 | 296 | 297 | 298 | 299 | 300
301 | 302 | 303 | 304 | 305 | 306 | 307 | 308 | 309 | 310 | 311 | 312 | 313 | 314 | 315 | 316 | 317 | 318 | 319 | 320
321 | 322 | 323 | 324 | 325 | 326 | 327 | 328 | 329 | 330 | 331 | 332 | 333 | 334 | 335 | 336 | 337 | 338 | 339 | 340
341 | 342 | 343 | 344 | 345 | 346 | 347 | 348 | 349 | 350 | 351 | 352 | 353 | 354 | 355 | 356 | 357 | 358 | 359 | 360
361 | 362 | 363 | 364 | 365 | 366 | 367 | 368 | 369 | 370 | 371 | 372 | 373 | 374 | 375 | 376 | 377 | 378 | 379 | 380
381 | 382 | 383 | 384 | 385 | 386 | 387 | 388 | 389 | 390 | 391 | 392 | 393 | 394 | 395 | 396 | 397 | 398 | 399 | 400
401 | 402 | 403 | 404 | 405 | 406 | 407 | 408 | 409 | 410 | 411 | 412 | 413 | 414 | 415 | 416 | 417 | 418 | 419 | 420
421 | 422 | 423 | 424 | 425 | 426 | 427 | 428 | 429 | 430 | 431 | 432 | 433 | 434 | 435 | 436 | 437 | 438 | 439 | 440
441 | 442 | 443 | 444 | 445 | 446 | 447 | 448 | 449 | 450 | 451 | 452 | 453 | 454 | 455 | 456 | 457 | 458 | 459 | 460
461 | 462 | 463 | 464 | 465 | 466 | 467 | 468 | 469 | 470 | 471 | 472 | 473 | 474 | 475 | 476 | 477 | 478 | 479 | 480
481 | 482 | 483 | 484 | 485 | 486 | 487 | 488 | 489 | 490 | 491 | 492 | 493 | 494 | 495 | 496 | 497 | 498 | 499 | 500
501 | 502 | 503 | 504 | 505 | 506 | 507 | 508 | 509 | 510 | 511 | 512 | 513 | 514 | 515 | 516 | 517 | 518 | 519 | 520
521 | 522 | 523 | 524 | 525 | 526 | 527 | 528 | 529 | 530 | 531 | 532 | 533 | 534 | 535 | 536 | 537 | 538 | 539 | 540
541 | 542 | 543 | 544 | 545 | 546 | 547 | 548 | 549 | 550 | 551 | 552 | 553 | 554 | 555 | 556 | 557 | 558 | 559 | 560
561 | 562 | 563 | 564 | 565 | 566 | 567 | 568 | 569 | 570 | 571 | 572 | 573 | 574 | 575 | 576 | 577 | 578 | 579 | 580
581 | 582 | 583 | 584 | 585 | 586 | 587 | 588 | 589 | 590 | 591 | 592 | 593 | 594 | 595 | 596 | 597 | 598 | 599 | 600
601 | 602 | 603 | 604 | 605 | 606 | 607 | 608 | 609 | 610 | 611 | 612 | 613 | 614 | 615 | 616 | 617 | 618 | 619 | 620
621 | 622 | 623 | 624 | 625 | 626 | 627 | 628 | 629 | 630 | 631 | 632 | 633 | 634 | 635 | 636 | 637 | 638 | 639 | 640
641 | 642 | 643 | 644 | 645 | 646 | 647 | 648 | 649 | 650 | 651 | 652 | 653 | 654 | 655 | 656 | 657 | 658 | 659 | 660
661 | 662 | 663 | 664 | 665 | 666 | 667 | 668 | 669 | 670 | 671 | 672 | 673 | 674 | 675 | 676 | 677 | 678 | 679 | 680
681 | 682 | 683 | 684 | 685 | 686 | 687 | 688 | 689 | 690 | 691 | 692 | 693 | 694 | 695 | 696 | 697 | 698 | 699 | 700
701 | 702 | 703 | 704 | 705 | 706 | 707 | 708 | 709 | 710 | 711 | 712 | 713 | 714 | 715 | 716 | 717 | 718 | 719 | 720
721 | 722 | 723 | 724 | 725 | 726 | 727 | 728 | 729 | 730 | 731 | 732 | 733 | 734 | 735 | 736 | 737 | 738 | 739 | 740
741 | 742 | 743 | 744 | 745 | 746 | 747 | 748 | 749 | 750 | 751 | 752 | 753 | 754 | 755 | 756 | 757 | 758 | 759 | 760
761 | 762 | 763 | 764 | 765 | 766 | 767 | 768 | 769 | 770 | 771 | 772 | 773 | 774 | 775 | 776 | 777 | 778 | 779 | 780
781 | 782 | 783 | 784 | 785 | 786 | 787 | 788 | 789 | 790 | 791 | 792 | 793 | 794 | 795 | 796 | 797 | 798 | 799 | 800
801 | 802 | 803 | 804 | 805 | 806 | 807 | 808 | 809 | 810 | 811 | 812 | 813 | 814 | 815 | 816 | 817 | 818 | 819 | 820
821 | 822 | 823 | 824 | 825 | 826 | 827 | 828 | 829 | 830 | 831 | 832 | 833 | 834 | 835 | 836 | 837 | 838 | 839 | 840
841 | 842 | 843 | 844 | 845 | 846 | 847 | 848 | 849 | 850 | 851 | 852 | 853 | 854 | 855 | 856 | 857 | 858 | 859 | 860
861 | 862 | 863 | 864 | 865 | 866 | 867 | 868 | 869 | 870 | 871 | 872 | 873 | 874 | 875 | 876 | 877 | 878 | 879 | 880
881 | 882 | 883 | 884 | 885 | 886 | 887 | 888 | 889 | 890 | 891 | 892 | 893 | 894 | 895 | 896 | 897 | 898 | 899 | 900
901 | 902 | 903 | 904 | 905 | 906 | 907 | 908 | 909 | 910 | 911 | 912 | 913 | 914 | 915 | 916 | 917 | 918 | 919 | 920
921 | 922 | 923 | 924 | 925 | 926 | 927 | 928 | 929 | 930 | 931 | 932 | 933 | 934 | 935 | 936 | 937 | 938 | 939 | 940
941 | 942 | 943 | 944 | 945 | 946 | 947 | 948 | 949 | 950 | 951 | 952 | 953 | 954 | 955 | 956 | 957 | 958 | 959 | 960
961 | 962 | 963 | 964 | 965 | 966 | 967 | 968 | 969 | 970 | 971 | 972 | 973 | 974 | 975 | 976 | 977 | 978 | 979 | 980
981 | 982 | 983 | 984 | 985 | 986 | 987 | 988 | 989 | 990 | 991 | 992 | 993 | 994 | 995 | 996 | 997 | 998 | 999 | 1000
1001 | 1002 | 1003 | 1004 | 1005 | 1006 | 1007 | 1008 | 1009 | 1010 | 1011 | 1012 | 1013 | 1014 | 1015 | 1016 | 1017 | 1018 | 1019 | 1020
1021 | 1022 | 1023 | 1024 | 1025 | 1026 | 1027 | 1028 | 1029 | 1030 | 1031 | 1032 | 1033 | 1034 | 1035 | 1036 | 1037 | 1038 | 1039 | 1040
1041 | 1042 | 1043 | 1044 | 1045 | 1046 | 1047 | 1048 | 1049 | 1050 | 1051 | 1052 | 1053 | 1054 | 1055 | 1056 | 1057 | 1058 | 1059 | 1060
1061 | 1062 | 1063 | 1064 | 1065 | 1066 | 1067 | 1068 | 1069 | 1070 | 1071 | 1072 | 1073 | 1074 | 1075 | 1076 | 1077 | 1078 | 1079 | 1080
1081 | 1082 | 1083 | 1084 | 1085 | 1086 | 1087 | 1088 | 1089 | 1090 | 1091 | 1092 | 1093 | 1094 | 1095 | 1096 | 1097 | 1098 | 1099 | 1100
1101 | 1102 | 1103 | 1104 | 1105 | 1106 | 1107 | 1108 | 1109 | 1110 | 1111 | 1112 | 1113 | 1114 | 1115 | 1116 | 1117 | 1118 | 1119 | 1120
1121 | 1122 | 1123 | 1124 | 1125 | 1126 | 1127 | 1128 | 1129 | 1130 | 1131 | 1132 | 1133 | 1134 | 1135 | 1136 | 1137 | 1138 | 1139 | 1140
1141 | 1142 | 1143 | 1144 | 1145 | 1146 | 1147 | 1148 | 1149 | 1150 | 1151 | 1152 | 1153 | 1154 | 1155 | 1156 | 1157 | 1158 | 1159 | 1160
1161 | 1162 | 1163 | 1164 | 1165 | 1166 | 1167 | 1168 | 1169 | 1170 | 1171 | 1172 | 1173 | 1174 | 1175 | 1176 | 1177 | 1178 | 1179 | 1180
1181 | 1182 | 1183 | 1184 | 1185 | 1186 | 1187 | 1188 | 1189 | 1190 | 1191 | 1192 | 1193 | 1194 | 1195 | 1196 | 1197 | 1198 | 1199 | 1200
1201 | 1202 | 1203 | 1204 | 1205 | 1206 | 1207 | 1208 | 1209 | 1210 | 1211 | 1212 | 1213 | 1214 | 1215 | 1216 | 1217 | 1218 | 1219 | 1220
1221 | 1222 | 1223 | 1224 | 1225 | 1226 | 1227 | 1228 | 1229 | 1230 | 1231 | 1232 | 1233 | 1234 | 1235 | 1236 | 1237 | 1238 | 1239 | 1240
1241 | 1242 | 1243 | 1244 | 1245 | 1246 | 1247 | 1248 | 1249 | 1250 | 1251 | 1252 | 1253 | 1254 | 1255 | 1256 | 1257 | 1258 | 1259 | 1260
1261 | 1262 | 1263 | 1264 | 1265 | 1266 | 1267 | 1268 | 1269 | 1270 | 1271 | 1272 | 1273 | 1274 | 1275 | 1276 | 1277 | 1278 | 1279 | 1280
1281 | 1282 | 1283 | 1284 | 1285 | 1286 | 1287 | 1288 | 1289 | 1290 | 1291 | 1292 | 1293 | 1294 | 1295 | 1296 | 1297 | 1298 | 1299 | 1300
1301 | 1302 | 1303 | 1304 | 1305 | 1306 | 1307 | 1308 | 1309 | 1310 | 1311 | 1312 | 1313 | 1314 | 1315 | 1316 | 1317 | 1318 | 1319 | 1320
1321 | 1322 | 1323 | 1324 | 1325 | 1326 | 1327 | 1328 | 1329 | 1330 | 1331 | 1332 | 1333 | 1334 | 1335 | 1336 | 1337 | 1338 | 1339 | 1340
1341 | 1342 | 1343 | 1344 | 1345 | 1346 | 1347 | 1348 | 1349 | 1350 | 1351 | 1352 | 1353 | 1354 | 1355 | 1356 | 1357 | 1358 | 1359 | 1360
1361 | 1362 | 1363 | 1364 | 1365 | 1366 | 1367 | 1368 | 1369 | 1370 | 1371 | 1372 | 1373 | 1374 | 1375 | 1376 | 1377 | 1378 | 1379 | 1380
1381 | 1382 | 1383 | 1384 | 1385 | 1386 | 1387 | 1388 | 1389 | 1390 | 1391 | 1392 | 1393 | 1394 | 1395 | 1396 | 1397 | 1398 | 1399 | 1400
1401 | 1402 | 1403 | 1404 | 1405 | 1406 | 1407 | 1408 | 1409 | 1410 | 1411 | 1412 | 1413 | 1414 | 1415 | 1416 | 1417 | 1418 | 1419 | 1420
1421 | 1422 | 1423 | 1424 | 1425 | 1426 | 1427 | 1428 | 1429 | 1430 | 1431 | 1432 | 1433 | 1434 | 1435 | 1436 | 1437 | 1438 | 1439 | 1440
1441 | 1442 | 1443 | 1444 | 1445 | 1446 | 1447 | 1448 | 1449 | 1450 | 1451 | 1452 | 1453 | 1454 | 1455 | 1456 | 1457 | 1458 | 1459 | 1460
1461 | 1462 | 1463 | 1464 | 1465 | 1466 | 1467 | 1468 | 1469 | 1470 | 1471 | 1472 | 1473 | 1474 | 1475 | 1476 | 1477 | 1478 | 1479 | 1480
1481 | 1482 | 1483 | 1484 | 1485 | 1486 | 1487 | 1488 | 1489 | 1490 | 1491 | 1492 | 1493 | 1494 | 1495 | 1496 | 1497 | 1498 | 1499 | 1500
1501 | 1502 | 1503 | 1504 | 1505 | 1506 | 1507 | 1508 | 1509 | 1510 | 1511 | 1512 | 1513 | 1514 | 1515 | 1516 | 1517 | 1518 | 1519 | 1520
1521 | 1522 | 1523 | 1524 | 1525 | 1526 | 1527 | 1528 | 1529 | 1530 | 1531 | 1532 | 1533 | 1534 | 1535 | 1536 | 1537 | 1538 | 1539 | 1540
1541 | 1542 | 1543 | 1544 | 1545 | 1546 | 1547 | 1548 | 1549 | 1550 | 1551 | 1552 | 1553 | 1554 | 1555 | 1556 | 1557 | 1558 | 1559 | 1560
1561 | 1562 | 1563 | 1564 | 1565 | 1566 | 1567 | 1568 | 1569 | 1570 | 1571 | 1572 | 1573 | 1574 | 1575 | 1576 | 1577 | 1578 | 1579 | 1580
1581 | 1582 | 1583 | 1584 | 1585 | 1586 | 1587 | 1588 | 1589 | 1590 | 1591 | 1592 | 1593 | 1594 | 1595 | 1596 | 1597 | 1598 | 1599 | 1600
1601 | 1602 | 1603 | 1604 | 1605 | 1606 | 1607 | 1608 | 1609 | 1610 | 1611 | 1612 | 1613 | 1614 | 1615 | 1616 | 1617 | 1618 | 1619 | 1620
1621 | 1622 | 1623 | 1624 | 1625 | 1626 | 1627 | 1628 | 1629 | 1630 | 1631 | 1632 | 1633 | 1634 | 1635 | 1636 | 1637 | 1638 | 1639 | 1640
1641 | 1642 | 1643 | 1644 | 1645 | 1646 | 1647 | 1648 | 1649 | 1650 | 1651 | 1652 | 1653 | 1654 | 1655 | 1656 | 1657 | 1658 | 1659 | 1660
1661 | 1662 | 1663 | 1664 | 1665 | 1666 | 1667 | 1668 | 1669 | 1670 | 1671 | 1672 | 1673 | 1674 | 1675 | 1676 | 1677 | 1678 | 1679 | 1680
1681 | 1682 | 1683 | 1684 | 1685 | 1686 | 1687 | 1688 | 1689 | 1690 | 1691 | 1692 | 1693 | 1694 | 1695 | 1696 | 1697 | 1698 | 1699 | 1700
1701 | 1702 | 1703 | 1704 | 1705 | 1706 | 1707 | 1708 | 1709 | 1710 | 1711 | 1712 | 1713 | 1714 | 1715 | 1716 | 1717 | 1718 | 1719 | 1720
1721 | 1722 | 1723 | 1724 | 1725 | 1726 | 1727 | 1728 | 1729 | 1730 | 1731 | 1732 | 1733 | 1734 | 1735 | 1736 | 1737 | 1738 | 1739 | 1740
1741 | 1742 | 1743 | 1744 | 1745 | 1746 | 1747 | 1748 | 1749 | 1750 | 1751 | 1752 | 1753 | 1754 | 1755 | 1756 | 1757 | 1758 | 1759 | 1760
1761 | 1762 | 1763 | 1764 | 1765 | 1766 | 1767 | 1768 | 1769 | 1770 | 1771 | 1772 | 1773 | 1774 | 1775 | 1776 | 1777 | 1778 | 1779 | 1780
1781 | 1782 | 1783 | 1784 | 1785 | 1786 | 1787 | 1788 | 1789 | 1790 | 1791 | 1792 | 1793 | 1794 | 1795 | 1796 | 1797 | 1798 | 1799 | 1800
1801 | 1802 | 1803 | 1804 | 1805 | 1806 | 1807 | 1808 | 1809 | 1810 | 1811 | 1812 | 1813 | 1814 | 1815 | 1816 | 1817 | 1818 | 1819 | 1820
1821 | 1822 | 1823 | 1824 | 1825 | 1826 | 1827 | 1828 | 1829 | 1830 | 1831 | 1832 | 1833 | 1834 | 1835 | 1836 | 1837 | 1838 | 1839 | 1840
1841 | 1842 | 1843 | 1844 | 1845 | 1846 | 1847 | 1848 | 1849 | 1850 | 1851 | 1852 | 1853 | 1854 | 1855 | 1856 | 1857 | 1858 | 1859 | 1860
1861 | 1862 | 1863 | 1864 | 1865 | 1866 | 1867 | 1868 | 1869 | 1870 | 1871 | 1872 | 1873 | 1874 | 1875 | 1876 | 1877 | 1878 | 1879 | 1880
1881 | 1882 | 1883 | 1884 | 1885 | 1886 | 1887 | 1888 | 1889 | 1890 | 1891 | 1892 | 1893 | 1894 | 1895 | 1896 | 1897 | 1898 | 1899 | 1900
1901 | 1902 | 1903 | 1904 | 1905 | 1906 | 1907 | 1908 | 1909 | 1910 | 1911 | 1912 | 1913 | 1914 | 1915 | 1916 | 1917 | 1918 | 1919 | 1920
1921 | 1922 | 1923 | 1924 | 1925 | 1926 | 1927 | 1928 | 1929 | 1930 | 1931 | 1932 | 1933 | 1934 | 1935 | 1936 | 1937 | 1938 | 1939 | 1940
1941 | 1942 | 1943 | 1944 | 1945 | 1946 | 1947 | 1948 | 1949 | 1950 | 1951 | 1952 | 1953 | 1954 | 1955 | 1956 | 1957 | 1958 | 1959 | 1960
1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980
1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000
2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020

## DATA_SUBSTATION
ZONE | JABALPUR | BHOPAL | INDORE | ANNUPPUR_220KV | AMARKANTAK_220KV | SHAHDOL_220KV | BIRSINGHPUR_220KV | MANPUR_220KV | JABALPUR_220KV | GORABAZAR_220KV | SUKHA_220KV | PANAGAR_220KV | SIDHI_220KV | REWA_220KV | SIRMOUR_220KV | BANSAGAR 1(TONS)_220KV | KOTAR _220KV | SATNA_220KV | MAIHAR_220KV | KATNI_400KV | CHHATARPUR _220KV | TIKAMGARH_220KV | DAMOH_220KV | NARSINGHPUR_220KV | CHICHLI_220KV | UDAIPURA_220KV | SEONI_220KV | PANDURNA_220KV | CHHINDWARA_22OKV | BINA_400KV | BINA_220KV | SAGAR_400KV | KOTMA_132KV | DONGRITAL_132KV | RAJMILAN_132KV | WAIDHAN_132KV | MORWA_132KV | DINDORI_132KV | GORAKHPUR_132KV | MANDLA_132KV | BICHYA_132KV | UMARIYA_132KV | MANERI_132KV | SEONI_132KV | NAINPUR_132KV | GHANSAUR_132KV | LAKHNADOUN_132KV | LALBARRA_132KV
JABALPUR | ANNUPPUR_220KV |  |  | 220 KV ANNUPPUR KOTMIKALA CIRCUIT 1 | 220 KV AMARKANTAK ANNUPPUR CIRCUIT 1 | 220 KV SHAHDOL AMARKANTAK | 220 KV BIRSINGHPUR SGTPS I/C 1 | 220 KV MANPUR SGTPS CIRCUIT | 220 KV JABALPUR AMARKANTAK CIRCUIT | 220 KV GORABAZAR JABALPUR CIRCUIT | 220 KV SUKHA NARSINGHPUR CIRCUIT 1 | 220 KV PANAGAR SGTPS CIRCUIT | 220 KV SIDHI BARGAWAN CIRCUIT 1 | 220 KV REWA RUMS CIRCUIT 1 | 220 KV SIRMOUR TONS(BANSAGAR I ) CIRCUIT | 220 KV BANSAGAR 1(TONS) SIRMOUR CIRCUIT | 220 KV KOTAR SATNA CIRCUIT | 220 KV SATNA AJAYGARH CIRCUIT | 220 KV MAIHAR SATNA PGCIL CIRCUIT | 400 KV KATNI SGTPS CIRCUIT 1 | 220 KV CHHATARPUR AJAYGARH 1(SATNA MP OLD) CIRCUIT | 220 KV TIKAMGARH CHHATARPUR CIRCUIT | 220 KV DAMOH(MPPTCL) DAMOH(PGCIL) CIRCUIT 1 | 220 KV NARSINGHPUR SUKHA CIRCUIT 1 | 220 KV CHICHLI NARSINGHPUR CIRCUIT | 220 KV UDAIPURA CHICHLI CIRCUIT 1 | 220 KV SEONI(MPPTCL) SEONI(PGCIL) CIRCUIT 1 | 220 KV PANDURNA KALMESHWAR(INTERSTATE) CIRCUIT | 220 KV CHHINDWARA SEONI(PGCIL) CIRCUIT 1 | 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 1 | 220 KV BINA(MPPTCL 220 KV ) BINA(MPPTCL 400 KV) INCOMMER CIRCUIT 1 | 400 KV SAGAR(MPPTCL) BINA(PGCIL) CIRCUIT | 132 KV KOTMA ANNUPPUR (220KV) CIRCUIT 1 | 132 KV DONGRITAL ANNUPPUR (220KV) CIRCUIT | 132 KV RAJMILAN ANNUPPUR (220KV) CIRCUIT | 132 KV WAIDHAN VSTPS 2 CIRCUIT | 132 KV MORWA VSTPS 1 CIRCUIT VIA WAIDHAN 132 KV | 132 KV DINDORI SHAHDOL CIRCUIT 1 | 132 KV GORAKHPUR DINDORI CIRCUIT | 132 KV MANDLA DINDORI CIRCUIT | 132 KV BICHYA MANDLA CIRCUIT | 132 KV UMARIYA BIRSINGHPUR(220KV) CIRCUIT 1 | 132 KV MANERI MANDLA CIRCUIT | 132 KV SEONI(132 KV ) SEONI (220 KV ) INTERCONNECTOR 1 | 132 KV NAINPUR SEONI(220 KV ) CIRCUIT | 132 KV GHANSAUR NAINPUR CIRCUIT | 132 KV LAKHNADOUN SEONI(220KV) CIRCUIT | 132 KV LALBARRA SEONI(132KV) CIRCUIT
BHOPAL | AMARKANTAK_220KV |  |  | 220 KV ANNUPPUR KOTMIKALA CIRCUIT 2 | 220 KV AMARKANTAK ANNUPPUR CIRCUIT 2 | 220 KV SHAHDOL SGTPS CIRCUIT | 220 KV BIRSINGHPUR SGTPS I/C 2 | 220 KV MANPUR SATNA CIRCUIT | 220 KV JABALPUR GORABAZAR CIRCUIT | 220 KV GORABAZAR AMARKANTAK CIRCUIT | 220 KV SUKHA NARSINGHPUR CIRCUIT 2 | 220 KV PANAGAR AMARKANTAK CIRCUIT | 220 KV SIDHI BARGAWAN CIRCUIT 2 | 220 KV REWA RUMS CIRCUIT 2 | 220 KV SIRMOUR REWA CIRCUIT | 220 KV BANSAGAR 1(TONS) REWA CIRCUIT | 220 KV KOTAR SATNA PGCIL CIRCUIT | 220 KV SATNA KOTAR CIRCUIT | 220 KV MAIHAR KATNI CIRCUIT | 400 KV KATNI SGTPS CIRCUIT 2 | 220 KV CHHATARPUR AJAYGARH 2(SATNA PG OLD) CIRCUIT | 220 KV TIKAMGARH DAMOH(MPPTCL) CIRCUIT | 220 KV DAMOH(MPPTCL) DAMOH(PGCIL) CIRCUIT 2 | 220 KV NARSINGHPUR SUKHA CIRCUIT 2 | 220 KV CHICHLI NARSINGHPUR CIRCUIT | 220 KV UDAIPURA CHICHLI CIRCUIT 1 | 220 KV SEONI(MPPTCL) SEONI(PGCIL) CIRCUIT 2 | 220 KV PANDURNA CHHINDWARA CIRCUIT | 220 KV CHHINDWARA SEONI(PGCIL) CIRCUIT 2 | 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 2 | 220 KV BINA(MPPTCL 220 KV ) BINA(MPPTCL 400 KV) INCOMMER CIRCUIT 2 | 400 KV SAGAR(MPPTCL) SATNA(PGCIL) CIRCUIT | 132 KV KOTMA ANNUPPUR (220KV) CIRCUIT 2 | 132 KV DONGRITAL RAJMILAN CIRCUIT | 132 KV RAJMILAN DONGRITAL CIRCUIT | 132 KV WAIDHAN VSTPS 1 (GOES TO MORWA VIA TRANSFER BUS)CIRCUIT | 132 KV MORWA ANPARA UP | 132 KV DINDORI SHAHDOL CIRCUIT 2 | 132 KV/33 KV 50 MVA TRANSFORMER | 132 KV MANDLA BICHYA(RADIAL) CIRCUIT | 132 KV/33 KV 40 MVA TRANSFORMER | 132 KV UMARIYA BIRSINGHPUR(220KV) CIRCUIT 2 | 132 KV MANERI GORABAZAAR CIRCUIT | 132 KV SEONI(132 KV ) SEONI (220 KV ) INTERCONNECTOR 2 | 132 KV NAINPUR SEONI(132KV) CIRCUIT | 132 KV /33 KV 40 MVA TRANSFORMER | 132 KV LAKHNADOUN BARGI HPS CIRCUIT | 132 KV LALBARRA BALAGHAT CIRCUIT
INDORE | SHAHDOL_220KV |  |  | 220 KV ANNUPPUR AMARKANTAK CIRCUIT 1 | 220 KV AMARKANTAK SHAHDOL CIRCUIT | 220 KV/132 KV 160 MVA TRANSFORMER 1 | 220 KV BIRSINGHPUR SGTPS I/C 3 |  | 220 KV JABALPUR BIRSINGHPUR CIRCUIT 1 | 220 KV/132 KV 160 MVA TRANSFORMER 1 | 220 KV SUKHA JABALPUR CIRCUIT 1 | 220 KV PANAGAR SUKHA CIRCUIT 1 | 220 KV SIDHI RUMS CIRCUIT 1 | 220 KV REWA SIRMORE CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 1 AT SIRMOUR | 220 KV BANSAGAR 1(TONS) KOTAR CIRCUIT 1 | 220 KV KOTAR BANSAGAR 1(TONS) CIRCUIT 1 | 220 KV SATNA SATNA PGCIL CIRCUIT 1 | 220 KV /132 KV 160 MVA TRANSFORMER 1 AT MAIHAR | 400 KV KATNI DAMOH CIRCUIT | 220 KV CHHATARPUR TIKAMGARH CIRCUIT | 220 KV TIKAMGARH DAMOH(PGCIL) CIRCUIT | 220 KV DAMOH(MPPTCL) DAMOH(PGCIL) CIRCUIT 3 | 220 KV NARSINGHPUR JABALPUR CIRCUIT 1 | 220 KV CHICHLI UDAIPURA CIRCUIT 1 | 220 KV BUS COUPLER AT UDAIPURA | 220 KV BUS COUPLER AT SEONI | 220 KV PANDURNA BETUL(PGCIL) CIRCUIT | 220 KV CHHINDWARA BETUL CIRCUIT | 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 3 | 220 KV BINA(MPPTCL 220 KV ) BINA(MPPTCL 400 KV) INCOMMER CIRCUIT 3 | 400 KV BUS COUPLER AT SAGAR | 132 KV KOTMA AARYA ENERGY CIRCUIT | 132 KV DONGRITAL RTS CIRCUIT | 132 KV RAJMILAN MORWA CIRCUIT | 132 KV WAIDHAN RAJMILAN CIRCUIT | 132 KV MORWA BINA UP | 132 KV DINDORI GORAKHPUR (RADIAL) CIRCUIT |  | 132 KV MANDLA MANERI CIRCUIT |  | 132 KV/33 KV 40 MVA TRANSFORMER 1 | 132 KV MANERI JABALPUR(220KV) TAP GORABAZAAR(220KV) CIRCUIT | 132 KV SEONI(132 KV ) SEONI (220 KV ) INTERCONNECTOR 3 | 132 KV NAINPUR GHANSOUR(RADIAL) CIRCUIT |  | 132 KV /33 KV 40 MVA TRANSFORMER 1 | 132 KV LALBARRA RTS(SAMNAPUR) CIRCUIT
| BIRSINGHPUR_220KV |  |  | 220 KV ANNUPPUR AMARKANTAK CIRCUIT 2 | 220 KV AMARKANTAK SGTPS CIRCUIT | 132 KV SHAHDOL DINDORI CIRCUIT 1 | 220 KV BIRSINGHPUR SGTPS I/C 4 |  | 220 KV JABALPUR BIRSINGHPUR CIRCUIT 2 | 132 KV GORABAZAR MANERI CIRCUIT | 220 KV SUKHA JABALPUR CIRCUIT 2 | 220 KV PANAGAR SUKHA CIRCUIT 2 | 220 KV SIDHI RUMS CIRCUIT 2 | 220 KV REWA BANSAGAR 1(TONS) CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 2 AT SIRMOUR | 220 KV BANSAGAR 1(TONS) KOTAR CIRCUIT 2 | 220 KV KOTAR BANSAGAR 1(TONS) CIRCUIT 2 | 220 KV SATNA SATNA PGCIL CIRCUIT 2 | 220 KV /132 KV 160 MVA TRANSFORMER 2 AT MAIHAR | 400 KV 125 MVAR BUS REACTOR | 220 KV /132 KV 160 MVA TRANSFORMER 1 AREVA | 220 KV BUS COUPLER AT 220 KV TIKAMGARH | 220 KV DAMOH(MPPTCL) TIKAMGARH CIRCUIT | 220 KV NARSINGHPUR JABALPUR CIRCUIT 2 | 220 KV CHICHLI UDAIPURA CIRCUIT 2 | 220 KV/132 KV TRANSFORMER 160 MVA TRF | 220 KV /132 KV 160 MVA TRANSFORMER 1 | 220 KV /132 KV 160 MVA TRANSFORMER 1 | 220 KV CHHINDWARA PANDURNA CIRCUIT | 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 4 | 220 KV BINA VIDISHA CIRCUIT | 400KV/220 KV 315 MVA TRANSFORMER 1 | 132 KV /33 KV 40 MVA TRANSFORMER 1 | 132 KV /33 KV 50 MVA TRANSFORMER 1 | 132 KV RAJMILAN WAIDHAN CIRCUIT | 132 KV WAIDHAN NCL 1 CIRCUIT | 132 KV MORWA RAJMILAN CIRCUIT | 132 KV DINDORI MANDLA CIRCUIT |  | 132 KV MANDLA BAIHAR CIRCUIT |  | 132 KV/33 KV 40 MVA TRANSFORMER 2 | 132 KV /33 KV TRANSFORMER 1 | 132 KV SEONI NAINPUR CIRCUIT | 132 KV NAINPUR BAIHAR CIRCUIT |  |  | 132 KV /33 KV 40 MVA TRANSFORMER
| MANPUR_220KV |  |  | 220 KV ANNUPPUR 160 MVA TRANSFORMER 1 | 220 KV AMARKANTAK GORABAZAR CIRCUIT | 132 KV SHAHDOL ANNUPPUR CIRCUIT | 220 KV BIRSINGHPUR HYDEL CIRCUIT |  | 220 KV JABALPUR SUKHA CIRCUIT 1 | 132 KV JABALPUR MANERI TAP GORABAZAAR | 220 KV SUKHA PANAGAR CIRCUIT 1 | 220 KV BUS COUPLER AT PANAGAR | 220 KV SIDHI REWA CIRCUIT | 220 KV REWA SATNA CIRCUIT | 132 KV SIRMOUR KATRA CIRCUIT 1 |  | 220 KV BUS COUPLER AT KOTAR | 220 KV SATNA SATNA PGCIL CIRCUIT 3 | 132 KV MAIHAR MAIHAR CEMENT CIRCUIT | 400 KV BUS TIE AT 400 KV KATNI | 220 KV /132 KV 160 MVA TRANSFORMER 2 IMF | 220 KV /132 KV 160 MVA TRANSFORMER 1 | 220 KV DAMOH(MPPTCL) KATNI(400KV) 220KV SIDE | 220 KV NARSINGHPUR CHICHLI CIRCUIT | 220 KV BUS COUPLER AT 220KV CHICHLI | 132 KV UDAIPURA BARELI CIRCUIT 1 | 220 KV /132 KV 160 MVA TRANSFORMER 2 | 220 KV /132 KV 160 MVA TRANSFORMER 2 | 220 KV BUS COUPLER AT CHHINDWARA | 400 KV BINA(MPPTCL) GUNA(PGCIL TBCB) CIRCUIT 1 | 220 KV /132 KV 200 MVA TRANSFORMER 1 | 400KV/220 KV 315 MVA TRANSFORMER 2 | 132 KV /33 KV 40 MVA TRANSFORMER 2 | 132 KV /33 KV TRANSFORMER 2 | 132 KV /33 KV TRANSFORMER AT RAJMILAN | 132 KV WAIDHAN NCL 2 CIRCUIT | 132 KV MORWA RTS CIRCUIT 1 | 132 KV /33 KV 50 MVA TRANSFORMER 1 |  | 132 KV /33 KV 50 MVA TRANSFORMER 1 |  |  | 132 KV /33 KV TRANSFORMER 2 | 132 KV SEONI GOPALGANJ(TBCB ADANI )CIRCUIT | 132 KV NAINPUR KEOLARI(TBCB ADANI) CIRCUIT
| JABALPUR_220KV |  |  | 220 KV ANNUPPUR 160 MVA TRANSFORMER 1 | 220 KV AMARKANTAK JABALPUR CIRCUIT | 132 KV SHAHDOL RELIANCE CIRCUIT | 220 KV BIRSINGHPUR JABALPUR CIRCUIT 1 |  | 220 KV JABALPUR SUKHA CIRCUIT 2 |  | 220 KV SUKHA PANAGAR CIRCUIT 2 | 220 KV /132 KV 160 MVA TRANSFORMER 1 | 220 KV SIDHI AMARKANTAK CIRCUIT | 220 KV REWA SIDHI CIRCUIT | 132 KV SIRMOUR KATRA CIRCUIT 1 |  | 220 KV / 132 KV 160 MVA TRANSFORMER 1 BHEL AT KOTAR | 220 KV SATNA REWA CIRCUIT | 132 KV MAIHAR SATNA II(SONOURA) CIRCUIT | 400 KV/220KV 315 MVA TELK TRANSFORMER 2 | 132 KV CHHATARPUR KHAJURAHO TAP LAVKUSHNAGAR (LOUDI) CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 2 | 220 KV DAMOH(MPPTCL) RTS CIRCUIT 1 | 220 KV NARSINGHPUR PIPARIYA CIRCUIT | 220 KV /132 KV TRANSFORMER 1 | 132 KV UDAIPURA BARELI CIRCUIT 2 | 220 KV /132 KV 200 MVA TRANSFORMER | 132 KV PANDURNA MULTAI CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 1 | 400 KV BINA(MPPTCL) GUNA(PGCIL TBCB) CIRCUIT 2 | 220 KV /132 KV 160 MVA TRANSFORMER 2 | 220 KV SAGAR BINA(MPPTCL) CIRCUIT 1 | 132 KV /33 KV 20 MVA TRANSFORMER |  |  | 132 KV /33 KV 20 MVA CGL TRANSFORMER | 132 KV MORWA RTS CIRCUIT 2 | 132 KV /33 KV 50 MVA TRANSFORMER 2 |  | 132 KV /33KV 40 MVA TRANSFORMER 2 |  |  | 132 KV /33 KV TRANSFORMER 3 | 132 KV SEONI PENCH HPS CIRCUIT | 132 KV /33 KV TRANSFORMER 1
| GORABAZAR_220KV |  |  | 132 KV ANNUPPUR DONGRITAL CIRCUIT | 220 KV AMARKANTAK PANAGAR CIRCUIT | 132 KV SHAHDOL DINDORI CIRCUIT 2 | 220 KV BIRSINGHPUR JABALPUR CIRCUIT 2 |  | 220 KV JABALPUR NARSINGHPUR CIRCUIT 1 |  | 220 KV/400 KV ICT 1 AT 400 KV JABALPUR PG | 220 KV /132 KV 160 MVA TRANSFORMER 2 | 220 KV BUS COUPLER AT SIDHI | 220 KV /132 KV 160 MVA TRANSFORMER REWA | 132 KV SIRMOUR ATRAILA CIRCUIT 1 |  | 220 KV / 132 KV 160 MVA TRANSFORMER 1 BHEL AT KOTAR | 220 KV SATNA MANPUR CIRCUIT | 132 KV MAIHAR KYMORE CIRCUIT 1 | 400 KV/220KV 315 MVA TELK TRANSFORMER 1 | 132 KV CHHATARPUR KHAJURAHO 2 CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 3 | 220 KV DAMOH(MPPTCL) RTS CIRCUIT 2 | 220 KV BUS COUPLER AT 220 KV NARSINGHPUR | 220 KV /132 KV TRANSFORMER 2 | 132 KV UDAIPURA SILWANI CIRCUIT 1 | 132 KV SEONI CHOURAI CIRCUIT | 132 KV PANDURNA BOREGAON CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 2 | 400 KV BINA(MPPTCL) JP BINA (GENERATION) CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 3 | 220 KV SAGAR BINA(MPPTCL) CIRCUIT 2 |  |  |  | 132 KV /33 KV 20 MVA GEC TRANSFORMER | 132 KV/33 KV 10 MVA TRANSFORMER | [6 empty] | 132 KV SEONI LALBARRA CIRCUIT | 132 KV /33 KV TRANSFORMER 2
| SUKHA_220KV |  |  | 132 KV ANNUPPUR RAJMILAN CIRCUIT 1 | 220 KV AMARKANTAK TRACTION CIRCUIT 1 | 132 KV SHAHDOL BIRSINGHPUR CIRCUIT 1 | 132 KV BIRSINGHPUR UMARIYA CIRCUIT 1 |  | 220 KV JABALPUR NARSINGHPUR CIRCUIT 2 |  | 220 KV/400 KV ICT 2 AT 400 KV JABALPUR PG | 132 KV PANAGAR JABALPUR CIRCUIT | 220 KV / 132 KV 160 MVA TRANSFORMER 1 BHEL | 220 KV / 132 KV 200 MVA TRANSFORMER 1 BHEL | 132 KV SIRMOUR TRACTION CIRCUIT 1 |  | 132 KV KOTAR PRISM CEMENT CIRCUIT | 220 KV BUS COUPLER AT SATNA | 132 KV MAIHAR KYMORE CIRCUIT 2 | 220 KV KATNI DAMOH CIRCUIT | 132 KV CHHATARPUR BIJAWAR CIRCUIT | 132 KV TIKAMGARH PRITHVIPUR CIRCUIT | 220 KV BUS COUPLER AT DAMOH(MPPTCL) | 220 KV /132 KV TRANSFORMER 160 MVA BHEL OLD | 132 KV CHICHLI GADARWARA CIRCUIT | 132 KV UDAIPURA TENDUKHEDA(RADIAL) CIRCUIT | 132 KV SEONI AMARWARA CIRCUIT | 132 KV CHHINDWARA RTS CIRCUIT 1 | 132 KV CHHINDWARA (220KV) CHHINDWARA (132 KV ) INTERCONNECTOT 1 | MAIN BAY 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 1 | 132 KV BINA CHANDERI CIRCUIT | 220 KV SAGAR DAMOH(PGCIL) CIRCUIT 1 |  |  |  | 132 KV /33 KV 40 MVA BBL TRANSFORMER | 132 KV/33 KV 50 MVA TRANSFORMER | [6 empty] | 132 KV SEONI KATANGI CIRCUIT
| PANAGAR_220KV |  |  | 132 KV ANNUPPUR ORIENT PAPER CIRCUIT | 220 KV AMARKANTAK TRACTION CIRCUIT 2 | 132 KV SHAHDOL BIRSINGHPUR CIRCUIT 2 | 132 KV BIRSINGHPUR UMARIYA CIRCUIT 2 |  | 220 KV BUS COUPLER AT JABALPUR |  | 220 KV/400 KV ICT 3 AT 400 KV JABALPUR PG | 132 KV PANAGAR KATNI CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 2 IMP | 132 KV REWA RAMPUR NAIKIN CIRCUIT |  |  | 132 KV KOTAR JP CEMENT CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 1 AT 220 KV KV SATNA | 132 KV MAIHAR AMARPATAN CIRCUIT 1 | 220 KV KATNI MAIHER CIRCUIT | 132 KV CHHATARPUR NOWGAON(RADIAL) CIRCUIT | 132 KV TIKAMGARH DIGODA(RADIAL) CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 1 BHEL | 220 KV /132 KV TRANSFORMER 160 MVA BHEL NEW | 132 KV CHICHLI BARMAN CIRCUIT | 132 KV /33 KV 40MVA TRANSFORMER IMP | 132 KV SEONI(220KV) SEONI(132KV) INTERCONNECTOR CIRCUIT 1 | 132 KV CHHINDWARA RTS CIRCUIT 2 | 132 KV CHHINDWARA (220KV) CHHINDWARA (132 KV ) INTERCONNECTOT 2 | TIE BAY 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 1 | 132 KV BINA RTS CIRCUIT 1 | 220 KV SAGAR DAMOH(PGCIL) CIRCUIT 2 |  |  |  |  | 132 KV /33 KV 20 MVA TRANSFORMER | [6 empty] | 132 KV /33 KV 63 MVA TRANSFORMER 1
| SIDHI_220KV |  |  | 132 KV ANNUPPUR KOTMA CIRCUIT 1 | 220 KV AMARKANTAK STATION TRANSFORMER 5A |  | 132 KV BIRSINGHPUR SHAHDOL CIRCUIT 1 |  | 220 KV /132 KV 160 MVA TRANSFORMER 1 BBL |  | 220 KV/33 KV 50 MVA TRANSFORMER 1 AT 220 KV SUKHA | 132 KV PANAGAR MANSHAKRA CIRCUIT | 132 KV SIDHI INTERCONNECTOR SIDHI CIRCUIT 1 | 132 KV REWA ZINNA BANSAGAR 1V CIRCUIT |  |  | 132 KV KOTAR RAMPUR BAGHELAN CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 2 AT 220 KV KV SATNA | 132 KV MAIHAR AMARPATAN CIRCUIT 2 | 220 KV KATNI SATNA CIRCUIT | 132 KV /33 KV 63 MVA TRANSFORMER TRF | 132 KV TIKAMGARH BADAMALHARA CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 2 AREVA | 220 KV /132 KV TRANSFORMER 160 MVA CGL | 132 KV CHICHLI KARAPGAON CIRCUIT | 132 KV /33 KV 50 MVA TRANSFORMER | 132 KV SEONI(220KV) SEONI(132KV) INTERCONNECTOR CIRCUIT 2 | 132 KV /33 KV 63 MVA TRANSFORMER | 132 KV CHHINDWARA (220KV) CHHINDWARA (132 KV ) INTERCONNECTOT 3 | MAIN BAY 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 2 | 132 KV BINA RTS CIRCUIT 2 | 220 KV SAGAT RTS CIRCUIT 1 | [11 empty] | 132 KV /33 KV 50 MVA TRANSFORMER 1
| REWA_220KV |  |  | 132 KV ANNUPPUR KOTMA CIRCUIT 2 | 220 KV AMARKANTAK STATION TRANSFORMER 5B |  | 132 KV BIRSINGHPUR SHAHDOL CIRCUIT 2 |  | 220 KV /132 KV 160 MVA TRANSFORMER 2 BBL |  | 220 KV/33 KV 50 MVA TRANSFORMER 2 AT 220 KV JSUKHA | 132 KV PANAGAR MADHOTAL CIRCUIT | 132 KV SIDHI INTERCONNECTOR SIDHI CIRCUIT 2 | 132 KV REWA SAGRA(REWA II) CIRCUIT |  |  | 132 KV KOTAR RTS CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 3 AT 220 KV KV SATNA | 132 KV MAIHAR KJS CEMENT CIRCUIT | 220 KV KATNI RTS CIRCUIT 1 | 132 KV /33 KV 40 MVA TRANSFORMER TRF | 132 KV TIKAMGARH BUDHERA CIRCUIT 1 | 220 KV /132 KV 160 MVA TRANSFORMER 3 P & R | 132 KV NARSINGHPUR BARMAN CIRCUIT 1 | 132 KV CHICHLI PALOHA BADA CIRCUIT |  | 132 KV SEONI(220KV) SEONI(132KV) INTERCONNECTOR CIRCUIT 3 | 132 KV /33 KV 40 MVA TRANSFORMER | 132 KV CHHINDWARA BOREGAON CIRCUIT | TIE BAY 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 2 | 132 KV BINA RAJGHAT CIRCUIT 1 | 220 KV SAGAT RTS CIRCUIT 2
| SIRMOUR_220KV |  |  | 132 KV ANNUPPUR SHAHDOL CIRCUIT |  |  | 220 KV/132 KV 160 MVA TRANSFORMER 1 |  | 220 KV /132 KV 160 MVA TRANSFORMER 3 GEC |  | 220 KV BUS COUPLER AT SUKHA | 132 KV PANAGAR KATANGI CIRCUIT | 132 KV SIDHI MOUGANJ CIRCUIT 1 | 132 KV REWA REWA 1(PAHARIA) INTERCONNECTOR 1 CIRCUIT |  |  |  | 220 KV SATNA KATNI CIRCUIT | 132 KV MAIHAR RELIANCE CMENT CIRCUIT | 220 KV KATNI RTS CIRCUIT 1 |  | 132 KV TIKAMGARH BUDHERA CIRCUIT 2 | 132 KV DAMOH(220KV) DAMOH(132KV) INTERCONNECTOR 1 | 132 KV NARSINGHPUR BARMAN CIRCUIT 2 | 132 KV /33 KV 40 MVA Transformer 1 |  | 132 KV SEONI LAKHNADOUN CIRCUIT |  | 132 KV CHHINDWARA CHOURAI CIRCUIT | MAIN BAY 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 3 | 132 KV BINA KHURAI CIRCUIT | 220 KV SAGAR BEGAMGANJ(TBCB ADANI) CIRCUIT 1
| BANSAGAR 1(TONS)_220KV | [5 empty] | 220 KV BIRSINGHPUR TRACTION CIRCUIT 1 |  | 220 KV /132 KV 160 MVA TRANSFORMER 1 BHEL |  |  | 132 KV PANAGAR PATAN CIRCUIT | 132 KV SIDHI DEOSAR CIRCUIT 1 | 132 KV REWA MANGAWAN CIRCUIT 1 |  |  |  | 132 KV SATNA UNCHERA CIRCUIT | 132 KV MAIHAR RTS CIRCUIT 1 | 220 KV BUS COUPLER AT 220 KV SIDE KATNI |  | 132 KV TIKAMGARH(220KV) TIKAMGARH(132KV) INTERCONNECTOR 1 | 132 KV DAMOH(220KV) DAMOH(132KV) INTERCONNECTOR 2 | 132 KV NARSINGHPUR(220KV) NARSINGHPUR(132KV) INTERCONNECTOR CIRCUIT 1 | 132 KV /33 KV 40 MVA Transformer 2 |  | 132 KV SEONI KEOLARI(TBCB) ADANI CIRCUIT |  | 132 KV CHHINDWARA AMARWARA CIRCUIT | TIE BAY 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 3 | 132 KV BINA ASHOK NAGAR CIRCUIT | 220 KV SAGAR BEGAMGANJ(TBCB ADANI) CIRCUIT 2
| KOTAR _220KV | [5 empty] | 220 KV BIRSINGHPUR TRACTION CIRCUIT 2 |  | 132 KV JABALPUR SHAHPURA CIRCUIT |  |  | 132 KV PANAGAR DHEMERKHEDA CIRCUIT | 132 KV SIDHI DEOSAR CIRCUIT 2 | 132 KV REWA MANGAWAN CIRCUIT 2 |  |  |  | 132 KV SATNA SATNA 132 KV (PATERI) INTERCONNECTOR CIRCUIT 1 | 132 KV MAIHAR RTS CIRCUIT 2 | 220 KV /132 KV 160 MVA TRANSFORMER 1 TELK |  | 132 KV TIKAMGARH(220KV) TIKAMGARH(132KV) INTERCONNECTOR 2 | 132 KV DAMOH PATERA CIRCUIT 1 | 132 KV NARSINGHPUR(220KV) NARSINGHPUR(132KV) INTERCONNECTOR CIRCUIT 2 |  |  | 132 KV SEONI NAINPUR CIRCUIT |  | 132 KV CHHINDWARA SALIWAHAN CIRCUIT | MAIN BAY 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 4 | 132 KV BINA SIRONJ CIRCUIT | 220 KV BUS COUPLER AT 400 KV SAGAR(220 KV KV SIDE)
| SATNA_220KV | [17 empty] | 132 KV /33 KV 40MVA TRANSFORMER 1 | 220 KV /132 KV 160 MVA TRANSFORMER 2 CGL |  | 132 KV TIKAMGARH JATARA CIRCUIT | 132 KV DAMOH BATIAGARH CIRCUIT 1 | 132 KV NARSINGHPUR KARAKBEL CIRCUIT 1 |  |  | 132 KV SEONI RTS BHOMA CIRCUIT |  | 132 KV CHHINDWARA SABRI CIRCUIT | TIE BAY 400 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT 4 | 132 KV BINA BORL CIRCUIT 1 | 220 KV /132 KV 160 MVA TRANSFORMER 1
| MAIHAR_220KV | [17 empty] | 132 KV/33 KV 50 MVA TRANSFORMER 2 | 220 KV /132 KV 160 MVA TRANSFORMER 1 BHEL |  | 132 KV /33 KV 50 MVA TRANSFORMER 1 | 132 KV DAMOH GARHAKOTA CIRCUIT 1 | 132 KV NARSINGHPUR KARAKBEL CIRCUIT 2 |  |  | 132 KV /33 KV 50 MVA TRANSFORMER 2 |  | 132 KV CHHINDWARA BICHUUA CIRCUIT | MAIN BAY 400 KV BINA(MPPTCL) GUNA(PGCIL TBCB) CIRCUIT 1 | 132 KV BINA BORL CIRCUIT 2 | 220 KV /132 KV 160 MVA TRANSFORMER 2
| KATNI_400KV | [18 empty] | 132 KV KATNI KYMORE CIRCUIT 1 |  | 132 KV /33 KV 40 MVA TRANSFORMER 2 | 132 KV DAMOH TEJGARH CIRCUIT 1 | 132 KV NARSINGHPUR TRACTION CIRCUIT 1 |  |  | 132 KV /33 KV 40 MVA TRANSFORMER 1 |  | 132 KV CHHINDWARA RTTS CIRCUIT | TIE BAY 400 KV BINA(MPPTCL) GUNA(PGCIL TBCB) CIRCUIT 1 | 132 KV BINA KHURAI CIRCUIT | 220 KV /132 KV 160 MVA TRANSFORMER 3
| CHHATARPUR _220KV | [18 empty] | 132 KV KATNI KYMORE CIRCUIT 2 |  |  | 132 KV DAMOH NARSINGHGARH CIRCUIT | 132 KV NARSINGHPUR DEVNAGAR CIRCUIT |  |  |  |  | 132 KV CHHINDWARA CHAND(ADANI TBCB) CIRCUIT | MAIN BAY 400 KV BINA(MPPTCL) GUNA(PGCIL TBCB) CIRCUIT 2 | 132 KV BINA MUGWALI CIRCUIT 1 | 132 KV SAGAR(400KV) SAGAR(132KV) INTERCONNECTOR 1
| TIKAMGARH_220KV | [18 empty] | 132 KV KATNI(400KV) KATNI(132 KV ) INTERCONNECTOR 1 |  |  | 132 KV DAMOH IMLAI CIRCUIT | 132 KV BUS COUPLER AT NARSINGHPUR |  |  |  |  | 132 KV /33 KV 40 MVA TRANSFORMER 2 | TIE BAY 400 KV BINA(MPPTCL) GUNA(PGCIL TBCB) CIRCUIT 2 | 132 KV BINA MUGWALI CIRCUIT 2 | 132 KV SAGAR(400KV) SAGAR(132KV) INTERCONNECTOR 2
| DAMOH_220KV | [18 empty] | 132 KV KATNI(400KV) KATNI(132 KV ) INTERCONNECTOR 2 |  |  | 132 KV /33 KV TRANSFORMER 40 MVA ABB | 132 KV /33 KV TRANSFORMER 63 MVA TRANSFORMER 1 |  |  |  |  | 132 KV /33 KV 40 MVA TRANSFORMER 1 | LINE REACTOR AT BINA(MPPTCL) GUNA(TBCB PGCIL) CIRCUIT 2 | 132 KV /33 KV 40 MVA TRANSFORMER 1 | 132 KV SAGAR(400KV) SAGAR(132KV) INTERCONNECTOR 3
| NARSINGHPUR_220KV | [18 empty] | 132 KV KATNI SALEEMNABAD CIRCUIT |  |  | 132 KV /33 KV TRANSFORMER 40 MVA CGL 1 | 132 KV /33 KV TRANSFORMER 63 MVA TRANSFORMER 2 | [5 empty] | LINE REACTOR AT BINA(MPPTCL) GUNA(TBCB PGCIL) CIRCUIT 2 | 132 KV /33 KV 40 MVA TRANSFORMER 2 | 132 KV SAGAR GAURJHAMAR CIRCUIT 1
| CHICHLI_220KV | [18 empty] | 132 KV KATNI RTS(PATWARA) CIRCUIT |  |  | 132 KV /33 KV TRANSFORMER 40 MVA CGL 2 | [6 empty] | MAIN BAY OF 400 KV BINA JP BINA (GEN) CIRCUIT | 132 KV /33 KV 40 MVA TRANSFORMER 3 | 132 KV SAGAR GAURJHAMAR CIRCUIT 2
| UDAIPURA_220KV | [18 empty] | 132 KV /33 KV 40 MVA TRANSFORMER 1 |  |  | 132 KV /33 KV TRANSFORMER 20 MVA BHEL | [6 empty] | TIE BAY OF 400 KV BINA JP BINA (GEN) CIRCUIT |  | 132 KV SAGAR GARHAKOTA CIRCUIT
| SEONI_220KV | [18 empty] | 132 KV /33 KV 50 MVA TRANSFORMER 1 | [9 empty] | MAIN BAY OF 400 KV BINA BHOPAL CIRCUIT 1 |  | 132 KV SAGAR RAHATGARH CIRCUIT 1
| PANDURNA_220KV | [18 empty] | 132 KV BUS COUPLER AT KATNI | [9 empty] | TIE BAY OF 400 KV BINA BHOPAL CIRCUIT 1 |  | 132 KV SAGAR BANDA (RADIAL) CIRCUIT 1
| CHHINDWARA_22OKV | [28 empty] | MAIN BAY OF 400 KV BINA BHOPAL CIRCUIT 2 |  | 132 KV SAGAR REHLI CIRCUIT
| BINA_400KV | [28 empty] | TIE BAY OF 400 KV BINA BHOPAL CIRCUIT 2
| BINA_220KV | [28 empty] | 400 KV/220 KV TRANSFORMER 1 315 MVA
| SAGAR_400KV | [28 empty] | 400 KV/220 KV TRANSFORMER 2 315 MVA
| KOTMA_132KV | [28 empty] | 400 KV/220 KV TRANSFORMER 3 315 MVA
| DONGRITAL_132KV | [28 empty] | MAIN BAY OF 400 KV/220 KV TRANSFORMER 1
| RAJMILAN_132KV | [28 empty] | TIE BAY OF 400 KV/220 KV TRANSFORMER 1
| WAIDHAN_132KV | [28 empty] | MAIN BAY OF 400 KV/220 KV TRANSFORMER 2
| MORWA_132KV | [28 empty] | TIE BAY OF 400 KV/220 KV TRANSFORMER 2
| DINDORI_132KV | [28 empty] | MAIN BAY OF 400 KV/220 KV TRANSFORMER 3
| GORAKHPUR_132KV | [28 empty] | TIE BAY OF 400 KV/220 KV TRANSFORMER 3
| MANDLA_132KV | [28 empty] | 400 KV BINA(MPPTCL) BHOPAL(MPPTCL) CIRCUIT 1
| BICHYA_132KV | [28 empty] | 400 KV BINA(MPPTCL) BHOPAL(MPPTCL) CIRCUIT 2
| UMARIYA_132KV | [28 empty] | 220 KV BINA SHIVPURI CIRCUIT
| MANERI_132KV | [28 empty] | 220 KV BINA PICHOR CIRCUIT
| SEONI_132KV | [28 empty] | 220 KV BINA DATIA CIRCUIT
| NAINPUR_132KV | [28 empty] | 220 KV BINA(MPPTCL) BINA(PGCIL) CIRCUIT
220 KV BINA(MPPTCL) BINA(MPPTCL 220 KV ) CIRCUIT 1
220 KV BINA(MPPTCL) BINA(MPPTCL 220 KV ) CIRCUIT 2
220 KV BINA(MPPTCL) BINA(MPPTCL 220 KV ) CIRCUIT 3
220 KV BINA ASHOKNAGAR CIRCUIT
220 KV BINA BORL 1 CIRCUIT
220 KV BINA BORL 1 CIRCUIT
220 KV BINA SAGAR(MPPTCL 400 KV) CIRCUIT 1
220 KV BINA SAGAR(MPPTCL 400 KV) CIRCUIT 2
220 KV BINA GANJBASODA CIRCUIT