## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-09-13 |  | APPROVED OUTAGE LIST FOR DATED 13.09.2025
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | LINE END (IN CASE OF LINE) | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Status | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-08-25 15:12 | MR2508/0327 | Daily | 220KV_220KV Anuppur Kotmikala ckt-I | 220KV_ANUPPUR | NON-OCCM-MP | Low Ground clearance maintenance work at loc. 371- |  | 09-09-2025 08:00:00 | 17-09-2025 18:00:00 | Accepted | Jitendra Tiwari | 9425805298 | OK
2 | 2025-09-12 15:52 | MR2509/0292 |  | 220KV_220 KV ASHTA-JETPURA CKT NO.2ND | 400KV_ASHTA4 | NON-OCCM-MP | TAN DELTA MEASUREMENTS OF CT |  | 13-09-2025 13:00:00 | 13-09-2025 16:00:00 | Accepted | JITENDRA LOHANA | 9425804978 | OK, THROUGH SUB LD
3 | 2025-09-12 15:49 | MR2509/0291 |  | 220KV_220 KV ASHTA-JETPURA CKT.NO.1ST | 400KV_ASHTA4 | NON-OCCM-MP | TAN DELTA MEASUREMENT OF CT |  | 13-09-2025 09:00:00 | 13-09-2025 12:00:00 | Accepted | JITENDRA LOHANA | 9425804978 | OK, THROUGH SUB LD
4 | 2025-09-12 11:09 | MR2509/0280 |  | 132KV_132kV Balaghat Baihar Line | 132KV_BALAGHAT | NON-OCCM-MP | PID defective Disc Replacement Work |  | 13-09-2025 10:00:00 | 13-09-2025 18:00:00 | Accepted | S.K. BHALADHARE | 9425807264 | OK, 132KV BAIHAR-MANDLA CKT
5 | 2025-09-06 15:08 | MR2509/0153 | Daily | 132KV_132 kV Shahdol-Birsingpur Circuit I | 220KV_BIRSINGHPUR | NON-OCCM-MP | Replacement of damaged OPGW |  | 07-09-2025 09:00:00 | 13-09-2025 18:00:00 | Accepted | Jitendra Tiwari | 9425805298 | OK, DATA COMMUNICATION SHALL NOT BE INTERRUPTED
6 | 2025-09-12 13:31 | MR2509/0284 |  | 220KV_160 MVA IMP Transformer | 220KV_CHATARPUR | NON-OCCM-MP | for Post Monsoon Maintenance & Testing |  | 13-09-2025 10:00:00 | 13-09-2025 18:00:00 | Accepted | Brajendra Soni | 9131327770 | OK, IF REQUIRED 132KV LAVKUSHNAGAR LOAD TO BE SHIFTED ON AJAYGARH
7 | 2025-08-31 14:58 | MR2508/0437 | Continuous | 132KV_132 KV Chhatarpur-khajuraho Tap Lavkushnagar | 220KV_CHATARPUR | NON-OCCM-MP | for CT Tan delta measurement work |  | 01-09-2025 14:00:00 | 30-09-2025 17:30:00 | Rejected | Brajendra Soni | 9131327770 | DEFERRED
8 | 2025-09-06 15:08 | MR2509/0154 | Daily | 132KV_132 kV Shahdol-Dindori Circuit II | 132KV_DINDORI | NON-OCCM-MP | Replacement of damaged OPGW |  | 07-09-2025 09:00:00 | 13-09-2025 18:00:00 | Accepted | Jitendra Tiwari | 9425805298 | OK, DATA COMMUNICATION SHALL NOT BE INTERRUPTED
9 | 2025-09-12 12:51 | MR2509/0282 |  | 220KV_160 mva x-mer IInd make EMCO | 220KV_GUNA | NON-OCCM-MP | post monsoon maintenance |  | 13-09-2025 10:00:00 | 13-09-2025 18:00:00 | Accepted | Sagar Singh Dhakad | 9425809506 | OK THROUGH SUB LD
10 | 2025-09-07 13:02 | MR2509/0161 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-2 | 220KV_INDORE NORTH | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre |  | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Accepted | A.R.KANEL | 9425805217 | OK LINE TO BE IN SERVICE
11 | 2025-09-07 12:51 | MR2509/0159 | Daily | 132KV_132KV North Zone- Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre |  | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Waiting | A.R.KANEL | 9425805217 | SUB LD
12 | 2025-09-07 12:45 | MR2509/0158 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-1 | 220KV_INDORE-NZ | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre |  | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Accepted | A.R.KANEL | 9425805217 | OK LINE TO BE IN SERVICE
13 | 2025-09-02 18:32 | MR2509/0063 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-1& ckt-2 | 220KV_INDORE-NZ | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre |  | 05-09-2025 07:00:00 | 25-09-2025 19:00:00 | Accepted | A.R.KANEL | 9425805217 | RESCHEDULED FRO 11.09.2025 TO 30.09.2025
14 | 2025-06-30 16:18 | MR2506/0637 | Continuous | 220KV_220KV KATNI - DAMOH LINE | 400KV_KATNI4 | NON-OCCM-MP | TOWER STRENTHENING WORK |  | 08-09-2025 09:00:00 | 13-09-2025 18:00:00 | Rejected | PANKAJ YADAV | 9406713326 | DEFERRED FROM SITE AS WORK COMPLETED EARLIER
15 | 2025-06-30 15:35 | MR2506/0627 | Continuous | 400KV_400KV KATNI - DAMOH LINE | 400KV_KATNI4 | OCCM-MP | TOWER STRENGTHENING WORK |  | 08-09-2025 09:00:00 | 13-09-2025 08:00:00 | Rejected | PANKAJ YADAV | 9406713326 | DEFERRED FROM SITE AS WORK COMPLETED EARLIER
16 | 2025-09-12 14:44 | MR2509/0288 |  | 132KV_132 KV Khurai-Sagar Ckt | 132KV_KHURAI | NON-OCCM-MP | For line maintenance work. |  | 13-09-2025 09:00:00 | 13-09-2025 18:00:00 | Accepted | Sanjay Singh Thakur | 9425806936 | OK
17 | 2025-09-07 12:39 | MR2509/0157 | Daily | 132KV_132KV North Zone â¿¿ Niranjanpur Line. | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre |  | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Waiting | A.R.KANEL | 9425805217 | SUB LD
18 | 2025-09-07 12:57 | MR2509/0160 | Daily | 132KV_132KV Niranjanpur - Jaitpura Line | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre |  | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Waiting | A.R.KANEL | 9425805217 | SUB LD
19 | 2025-09-02 18:36 | MR2509/0064 | Daily | 132KV_132KV North Zone â¿¿ Niranjanpur Line.&132KV Niranjanpur - Jaitpura Line &132KV North Zone- Jaitpura Line | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre |  | 05-09-2025 07:00:00 | 25-09-2025 19:00:00 | Waiting | A.R.KANEL | 9425805217 | SUB LD
20 | 2025-09-12 13:27 | MR2509/0283 |  | 132KV_40 MVA X-MER 1st (IMP) | 132KV_RATLAM1 | NON-OCCM-MP | For post monsoon maintenance & testing work |  | 13-09-2025 09:00:00 | 13-09-2025 18:00:00 | Waiting | NIKHIL DUNGE | 9425801487 | SUB LD
21 | 2025-09-12 14:47 | MR2509/0289 |  | 220KV_160 MVA transformer-I make BHEL | 220KV_SAILANA2 | NON-OCCM-MP | Post monsoon maintenance work |  | 13-09-2025 09:00:00 | 13-09-2025 18:00:00 | Accepted | Er. Rakesh Badgotiya | 8305447051 | OK THROUGH SUB LD
22 | 2025-09-12 13:45 | MR2509/0285 |  | 132KV_132kV Sidhi - Mauganj Ckt - I | 220KV_SIDHI | NON-OCCM-MP | F/o Disc Replacement |  | 13-09-2025 08:30:00 | 13-09-2025 17:00:00 | Accepted | G.L Sahu | 9425805102 | OK
23 | 2025-09-02 14:10 | MR2509/0042 | Continuous | 220KV_160 MVA NGEF | 220KV_UJJAIN | NON-OCCM-MP | X-MER REPLACEMENT WORK BY NEW 160 MAV XMER |  | 03-09-2025 09:00:00 | 03-11-2025 18:00:00 | Accepted | B.C JOSHI | 7587951137 | OK, FTC TO BE SUBMITTED
24 | 2025-09-02 14:10 | MR2509/0043 | Continuous | 220KV_160 MVA NGEF | 220KV_UJJAIN | NON-OCCM-MP | X-MER REPLACEMENT WORK BY NEW 160 MAV XMER |  | 03-09-2025 09:00:00 | 03-11-2025 18:00:00 | Rejected | B.C JOSHI | 7587951137 | REPEAT
25 | 2025-09-01 16:04 | MR2509/0027 | Continuous | 132KV_132 KV VINOBA BHAVE TAPE LINE | 132KV_VINOBA BHAVE | NON-OCCM-MP | UPGRADATION OF 132 KV VINOBA BHAVE LINE |  | 02-09-2025 08:00:00 | 25-09-2025 18:00:00 | Accepted | RAJESH TIWARI | 7898239595 | CONTINUE
26 |  |  |  | 400KV-INDORE-UJJAIN-2 | MADHYA PRADESH |  | FOR BAY MAINTENANCE & TESTING WORK AT UJJAIN SUBSTASTION, REPLACEMENT OF DAMAGED CLAMPS/JUMPERS ETC. |  | 13-Sep-2025 | 09:00 | 13-Sep-2025 | 18:00 |  | OK THROUGH SUB LD
27 |  |  |  | 220KV-ANNUPUR-KOTMIKALA-1 | MADHYA PRADESH,CHATTISGARH |  | For Re-sagging work due to Low Ground clearance at loc. 371-379 & 464- 475 |  | 13-Sep-2025 | 08:00 | 13-Sep-2025 | 17:59 |  | OK
28 |  |  |  | 220KV-ANNUPUR-KOTMIKALA-2 | MADHYA PRADESH,CHATTISGARH |  | Replacement work of old Distance protection relay Main-I by new Distance protection relay Main-I at 220 KV S/s Kotmikala. |  | 12-Sep-2025 | 10:00 | 13-Sep-2025 | 18:00 |  | OK
29 |  |  |  | 220KV-INDORE-INDORE NORTH ZONE-1 | MADHYA PRADESH |  | PEPLACEMENT OF EXISTING 24FIBRE OPGW WITH48 FIBRE OPGW. DATA IS DIVERTED, ONLINE WORK PERMIT, AUTO TO NON AUTO |  | 13-Sep-2025 | 07:00 | 13-Sep-2025 | 23:59 |  | OK LINE TO BE IN SERVICE
30 |  |  |  | 220KV-INDORE-INDORE NORTH ZONE-2 | MADHYA PRADESH |  | PEPLACEMENT OF EXISTING 24FIBRE OPGW WITH48 FIBRE OPGW. DATA IS DIVERTED, ONLINE WORK PERMIT, AUTO TO NON AUTO |  | 13-Sep-2025 | 07:00 | 13-Sep-2025 | 19:59 |  | OK LINE TO BE IN SERVICE
S/I SLDC JABALPUR