## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-07-16 |  |  | APPROVED OUTAGE LIST FOR DTD.16.07.2025
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-06-30 16:24 | MR2506/0639 | Daily | 220KV_220 KV MUGALIYACHAP ASHTA | 400KV_ASHTA4 | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
2 | 2025-06-30 16:26 | MR2506/0640 | Daily | 220KV_220 KV BAIRAGARH-ASHTA | 220KV_BAIRAGARH | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
3 | 2025-06-30 16:13 | MR2506/0635 | Daily | 220KV_220 BHOPAL-BAIRAGARH CKT-3 | 220KV_BAIRAGARH | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
4 | 2025-07-02 18:54 | MR2507/0044 | Daily | 132KV_132kV Rewa - Bansagar Lilo Beohari -Lilo Jhinna | 132KV_BEOHARI | NON-OCCM-MP | OPGW Hot Line | 03-07-2025 07:00:00 | 30-07-2025 19:00:00 | G.L Sahu | 9425805102 | ok, line to be in service
5 | 2025-07-14 18:13 | MR2507/0185 | Continuous | 132KV_20MVA_GEC_X-mer | 220KV_BETUL | NON-OCCM-MP | shifting from existing foundation to wooden sleepe | 15-07-2025 10:00:00 | 18-07-2025 17:00:00 | Vishal Kumar Malviya | 9425804955 | sub ld
6 | 2025-07-15 14:00 | MR2507/0193 |  | 220KV_220 kV Birsinghpur TPS-Birsinghpur IC I | 220KV_BIRSINGHPUR | NON-OCCM-MP | F/o disc stringing replacement & other line maint. | 16-07-2025 10:00:00 | 16-07-2025 17:00:00 | Jitendra Tiwari | 9425805298 | ok
7 | 2025-07-15 15:53 | MR2507/0198 |  | 220KV_CHHEGAON4-SINGHAJI TPS_Ckt_2 | 400KV_CHHEGAON4 | NON-OCCM-MP | CVT WIRING WORK | 16-07-2025 10:00:00 | 16-07-2025 18:00:00 | Shri Ganesh Mansare | 9425802441 | Deffered due to s/d 400 kV SSTPS-Pithampur Ckt-IV
8 | 2025-07-15 16:32 | MR2507/0201 |  | 220KV_220 KV CHICHLI NARSINGHPUR BAY | 220KV_CHICHLI | NON-OCCM-MP | LOAD TRANSFER ON BUSCOUPLER FOR RELAY TESTING WORK | 16-07-2025 11:00:00 | 16-07-2025 13:00:00 | RAJESH CHATURVEDI | 9425805203 | ok, line to be in service through TBC
9 | 2025-07-15 16:34 | MR2507/0202 |  | 220KV_220 KV CHICHLI PIPARIYA BAY | 220KV_CHICHLI | NON-OCCM-MP | LOAD TRANSFER ON BUSCOUPLER FOR RELAY TESTING WORK | 16-07-2025 14:00:00 | 16-07-2025 16:00:00 | RAJESH CHATURVEDI | 9425805203 | ok, line to be in service through TBC
10 | 2025-07-15 13:26 | MR2507/0188 |  | 50MVA_132/33KV_BHEL_X'mer_2 | 132KV_CHOURAI | NON-OCCM-MP | for providing supporting Jumper at HV bushing | 16-07-2025 11:00:00 | 16-07-2025 17:00:00 | Er.SK. Okte | 7587951132 | ok
11 | 2025-07-12 13:24 | MR2507/0165 | Daily | 400KV_125 MVAr SHUNT REACTOR | 400KV_INDIRASAGAR | NON-OCCM-WR | ANNUAL MAINTENANCE | 15-07-2025 10:00:00 | 17-07-2025 17:00:00 | SHRI VINAI MISHRA | 9575074321 | Deffered due to high voltage period
12 | 2024-11-20 16:49 | MR2411/0436 | Continuous | 400KV_400 KV KATNI-DAMOH LINE | 400KV_KATNI4 | NON-OCCM-WR | TOWER STRENGTHENING WORK | 14-07-2025 09:00:00 | 19-07-2025 18:00:00 | MANOJ KUMAR TIWARI | 9425804993 | Continuous
13 | 2024-11-20 16:54 | MR2411/0437 | Continuous | 220KV_220 KV KATNI-DAMOH LINE | 400KV_KATNI4 | NON-OCCM-MP | TOWER STRENGTHENING WORK | 14-07-2025 09:00:00 | 19-07-2025 18:00:00 | MANOJ KUMAR TIWARI | 9425804993 | Continuous
14 | 2025-07-15 13:49 | MR2507/0192 |  | 132KV_132 kv katni sleemnabad line | 400KV_KATNI4 | NON-OCCM-MP | For F/O Replaced and other maintenance work . | 16-07-2025 10:00:00 | 16-07-2025 18:00:00 | pankaj yadav | 9406713326 | ok
15 | 2025-07-12 10:50 | MR2507/0161 | Continuous | 132KV_132 KV Khurai-Sagar Ckt | 132KV_KHURAI | NON-OCCM-MP | Extension of continous Sd for Modification work | 12-07-2025 07:00:00 | 18-07-2025 18:00:00 | Sanjay Singh Thakur | 9425806936 | Continuous
16 | 2025-06-30 16:20 | MR2506/0638 | Daily | 220KV_220 KV BHOPAL-MUGALIYACHAP | 220KV_MUGALIYACHAAP | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
17 | 2025-07-15 15:28 | MR2507/0197 |  | 132KV_132/33KV 40MVA X-mer-2 Make -BBL | 132KV_NAINPUR | NON-OCCM-MP | Oil leakage attending work | 16-07-2025 11:00:00 | 16-07-2025 17:00:00 | Mitthanlal kulesh | 9424316542 | ok
18 | 2025-07-15 15:02 | MR2507/0195 |  | 220KV_220KV Neemuch Mandsaur circuit IInd | 220KV_NEEMUCH | NON-OCCM-MP | For Line Maintenance work | 16-07-2025 10:00:00 | 16-07-2025 18:00:00 | Gaurav Goyal | 9425805120 | ok, through sub ld
19 | 2025-07-05 17:07 | MR2507/0079 | Daily | 132KV_132 kV Nepa - Pipalpani MPPTCL Line | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work Insatallation of OPGW | 11-07-2025 08:00:00 | 30-07-2025 18:00:00 | C.H.Namdev | 9425802377 | sub ld
20 | 2025-07-15 12:08 | MR2507/0187 |  | 220KV_220Kv Khandwa (PGCIL) â¿¿ Nepa Line | 220KV_NEPANAGAR | OCCM-MP | For Line Maintenance Work | 16-07-2025 10:00:00 | 16-07-2025 18:00:00 | C.H.Namdev | 9425802377 | ok, through sub ld
21 | 2025-07-05 16:59 | MR2507/0078 | Daily | 132KV_132 kV Nepa - Dharni (MSPTCL) LIne | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work For Installation of OPGW | 11-07-2025 08:00:00 | 30-07-2025 18:00:00 | C.H.Namdev | 9425802377 | ok, line to be in service
22 | 2025-07-11 16:34 | MR2507/0155 | Daily | 220KV_Main BUSâ¿¿A and Bus Coupler | 220KV_OMKARESHWAR | NON-OCCM-MP | Annual Maintenance | 15-07-2025 09:00:00 | 16-07-2025 18:00:00 | PANKAJ SHARMA | 7898703187 | Deffered due to high OSP generation
23 | 2025-07-11 16:30 | MR2507/0154 | Daily | 220KV_Omkareshwar-Nimrani Line#1(Tap Barwaha) | 220KV_OMKARESHWAR | NON-OCCM-MP | Annual Maintenance | 14-07-2025 09:00:00 | 17-07-2025 18:00:00 | PANKAJ SHARMA | 7898703187 | Deffered due to high OSP generation
24 | 2025-07-15 14:30 | MR2507/0194 |  | 400KV_400 kV SSTPS Ckt-IV | 400KV_PITHAMPUR4 | NON-OCCM-MP | Relay testing work | 16-07-2025 11:00:00 | 16-07-2025 18:00:00 | Sh Ankit Prajapati | 9131296643 | ok, through sub ld
25 | 2025-07-15 13:49 | MR2507/0191 |  | 132KV_132KV Sagar-Interconnector 1st Ckt. Line | 400KV_SAGAR | NON-OCCM-MP | Work installation of OPGW. | 16-07-2025 10:00:00 | 16-07-2025 17:00:00 | Pankaj yadav | 9406713326 | o&m consent required
26 | 2025-07-15 13:42 | MR2507/0190 |  | 132KV_132KV Sagar-Interconnector 3rd Ckt. Line | 400KV_SAGAR | NON-OCCM-MP | Work installation of OPGW | 16-07-2025 10:00:00 | 16-07-2025 17:00:00 | pankaj yadav | 9406713326 | o&m consent required
27 | 2025-07-15 13:42 |  |  | 220KV-KHANDWA-NEPANAGAR-1 |  | OCCM-WR | FOR LINE MAINTENANCE WORK | 16-Jul-2025 | 08:00 | 16-Jul-2025 | 18:00 | ok, through sub ld
28 | 2025-07-15 13:42 |  |  | 220KV-SEONI-PG-CHINDWARA-2 |  | OCCM-WR | FOR LINE MAINTENANCE WORK | 16-Jul-2025 | 09:00 | 16-Jul-2025 | 18:00 | real time
29 | 2025-07-15 13:42 |  |  | 400KV-KIRNAPUR-BHILAI-1 |  | OCCM-WR | FOR LINE MAINTENANCE WORK | 16-Jul-2025 | 09:00 | 16-Jul-2025 | 18:00 | real time
30 | 2025-07-15 13:42 |  |  | 220KV-MEHGAON-AURIYA-1 |  | OCCM-WR | FOR LINE MAINTENANCE WORK | 16-Jul-2025 | 09:00 | 16-Jul-2025 | 17:00 | real time
31 | 2025-07-15 13:42 |  |  | 220KV-INDORE-INDORE NORTH ZONE-2 |  | OCCM-WR | LINE MAINTENANCE WORK | 16-Jul-2025 | 08:00 | 16-Jul-2025 | 18:00 | real time
S/I ,SLDC MPPTCL JABALPUR