## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-07-04
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-06-30 16:24 | MR2506/0639 | Daily | 220KV_220 KV MUGALIYACHAP ASHTA | 400KV_ASHTA4 | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
2 | 2025-06-30 16:26 | MR2506/0640 | Daily | 220KV_220 KV BAIRAGARH-ASHTA | 220KV_BAIRAGARH | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
3 | 2025-06-30 16:13 | MR2506/0635 | Daily | 220KV_220 BHOPAL-BAIRAGARH CKT-3 | 220KV_BAIRAGARH | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
4 | 2025-07-02 18:54 | MR2507/0044 | Daily | 132KV_132kV Rewa - Bansagar Lilo Beohari -Lilo Jhinna | 132KV_BEOHARI | NON-OCCM-MP | OPGW Hot Line | 03-07-2025 07:00:00 | 30-07-2025 19:00:00 | G.L Sahu | 9425805102 | ok, line to be in service
5 | 2025-06-25 14:54 | MR2506/0536 | Continuous | 400KV_400kV Bhopal-Itarsi Ckt. 1&2 | 400KV_BHOPAL4 | NON-OCCM-WR | For Tan Delta Measurement & Other bay Maint. Work | 03-07-2025 09:00:00 | 04-07-2025 18:00:00 | Akram Khan | 9425804695 | not in WR list
6 | 2025-06-26 14:17 | MR2506/0554 | Daily | 220KV_220 KV Bina-Guna Ckt & 220 KV Bina-Ashoknagar Ckt | 400KV_BINA4 | NON-OCCM-MP | Hot line PTW for OPGW resagging work BY M/s ZTT | 26-06-2025 07:00:00 | 10-07-2025 19:00:00 | Sanjay singh thakur | 9425806936 | ok, line to be in service
7 | 2025-06-30 15:05 | MR2506/0620 | Continuous | 132KV_132KV Budha Mandsaur | 132KV_BUDHA | NON-OCCM-MP | in OPGW OTDR Testing and OPGW Splicing | 01-07-2025 08:30:00 | 08-07-2025 18:00:00 | Gaurav Goyal | 9425805120 | sub ld
8 | 2025-05-07 15:18 | MR2505/0133 | Continuous | 160MVA_220/132KV_BHEL_X'mer_1 | 220KV_HANDIYA | NON-OCCM-MP | for Replacement of Transformer | 08-05-2025 10:00:00 | 08-07-2025 17:00:00 | J.D.Khoria | 9425804975 | Continuous
9 | 2025-07-03 15:54 | MR2507/0060 |  | 220KV_220KV INDORE EAST(BICHOLI)- DEWAS LINE | 220KV_INDORE EAST (BICHOLI) | NON-OCCM-MP | HOTLINE PTW FOR OPGW RE-SAGGING WORK | 04-07-2025 10:00:00 | 04-07-2025 18:00:00 | RAJENDRA KANOJE | 9425801348 | Deffered, ensure telemetry availability through alternate path
10 | 2025-06-23 17:09 | MR2506/0482 | Daily | 220KV_220 KV South Zone - Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | Existing 24 Fibre OPGW Wire by 48 Fibre OPGW work | 24-06-2025 07:00:00 | 15-07-2025 19:00:00 | A.R. KANEL | 9425805217 | ok, line to be in service
11 | 2025-07-03 15:46 | MR2507/0059 |  | 220KV_220KV INDORE-DEWAS LINE | 400KV_INDORE4 | NON-OCCM-MP | HOTLINE FOR OPGW RE-SAGGING WORK | 04-07-2025 10:00:00 | 04-07-2025 18:00:00 | RAJENDRA KANOJE | 9425801348 | Deffered, ensure telemetry availability through alternate path
12 | 2025-06-23 17:04 | MR2506/0481 | Daily | 220KV_220KV Indore (400KV) - Mangliya line | 400KV_INDORE4 | NON-OCCM-MP | Existing 24 Fibre OPGW Wire by 48 Fibre OPGW work | 24-06-2025 07:00:00 | 15-07-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
13 | 2025-07-03 16:28 | MR2507/0061 |  | 220KV_220 KV INTER CONNECTOR-I (Julwaniya 400-julwaniya 220 ) | 220KV_JULWANIYA | NON-OCCM-MP | Line diff. relay connection & testing work | 04-07-2025 00:00:00 | 04-07-2025 17:00:00 | Vijay saiyam | 8839485953 | ok, through sub ld
14 | 2024-11-20 16:41 | MR2411/0432 | Continuous | 400KV_400 KV KATNI-DAMOH LINE | 400KV_KATNI4 | NON-OCCM-WR | TOWER STRENGTHENING WORK | 30-06-2025 09:00:00 | 05-07-2025 18:00:00 | MANOJ KUMAR TIWARI | 9425804993 | Continuous
15 | 2024-11-20 16:43 | MR2411/0433 | Continuous | 220KV_220 KV KATNI-DAMOH LINE | 400KV_KATNI4 | NON-OCCM-MP | TOWER STRENGTHENING WORK | 30-06-2025 09:00:00 | 05-07-2025 18:00:00 | MANOJ KUMAR TIWARI | 9425804993 | Continuous
16 | 2025-06-30 13:59 | MR2506/0611 | Continuous | 132KV_132 KV KATNI SLEEMNABAD LINE | 400KV_KATNI4 | NON-OCCM-MP | Work for OPG stringigng work | 01-07-2025 08:00:00 | 05-07-2025 18:00:00 | PANKAJ YADAV | 9406713326 | ensure availability of telemetry before permit
17 | 2025-07-03 13:32 | MR2507/0049 | Daily | 132KV_132 KV KATNI KYMORE CKT 1 ST | 400KV_KATNI4 | NON-OCCM-MP | for line maintenance work. | 04-07-2025 09:00:00 | 05-07-2025 18:00:00 | PANKAJ YADAV | 9406713326 | ensure availability of telemetry before permit
18 | 2025-07-03 13:41 | MR2507/0051 | Daily | 132KV_132 kv katni sleemnabad line | 400KV_KATNI4 | NON-OCCM-MP | for line maintenance work. | 04-07-2025 09:00:00 | 05-07-2025 18:00:00 | pankaj yadav | 9406713326 | ensure availability of telemetry before permit
19 | 2025-07-02 12:03 | MR2507/0030 |  | 132KV_132 KV KATNI KYMORE LINE CKT 1ST | 400KV_KATNI4 | NON-OCCM-MP | FOR OPG STRING WORK | 04-07-2025 10:00:00 | 04-07-2025 18:00:00 | PANKAJ YADAV | 9406713326 | ensure availability of telemetry before permit
20 | 2025-07-02 12:21 | MR2507/0033 |  | 132KV_132 KV KATNI SLEEMNABAD LINE | 400KV_KATNI4 | NON-OCCM-MP | FOR OPG STRING WORK | 04-07-2025 10:00:00 | 04-07-2025 18:00:00 | PANKAJ YADAV | 9406713326 | ensure availability of telemetry before permit
21 | 2025-07-02 12:50 | MR2507/0035 | Daily | 132KV_132 KV KATNI KYMORE CKT 1 | 400KV_KATNI4 | NON-OCCM-MP | Work for OPG stringigng work | 03-07-2025 08:00:00 | 05-07-2025 18:00:00 | pankaj yadav | 9406713326 | ensure availability of telemetry before permit
22 | 2025-07-01 15:42 | MR2507/0010 | Continuous | 132KV_132 KV Khurai-Sagar | 132KV_KHURAI | NON-OCCM-MP | Modification/Shifting of 132 KV Khurai-Sagar | 02-07-2025 07:00:00 | 12-07-2025 18:00:00 | Sanjay Singh Thakur | 9425806936 | Continuous
23 | 2025-07-03 15:05 | MR2507/0054 |  | 220KV_220KV KUKSHI-JULWANIYA-IInd LINE | 220KV_KUKSHI | NON-OCCM-MP | 220KV MAIN BUS MAINTENANCE WORK | 04-07-2025 09:30:00 | 04-07-2025 12:30:00 | MANOJ RANDA | 9425820034 | ok, through sub ld
24 | 2025-07-03 15:09 | MR2507/0056 |  | 220KV_160MVA TRANSFORMER-IInd (BBL) | 220KV_KUKSHI | NON-OCCM-MP | 220KV MAIN BUS MAINTENANCE WORK | 04-07-2025 09:30:00 | 04-07-2025 12:30:00 | MANOJ RANDA | 9425820034 | ok, through sub ld
25 | 2025-07-03 15:04 | MR2507/0053 |  | 220KV_220KV KUKSHI-JULWANIYA-Ist LINE | 220KV_KUKSHI | NON-OCCM-MP | 220kV MAIN BUS MAINTENANCE WORK | 04-07-2025 09:30:00 | 04-07-2025 12:30:00 | MANOJ RANDA | 9425820034 | ok, through sub ld
26 | 2025-07-03 15:07 | MR2507/0055 |  | 220KV_160MVA TRANSFORMER-Ist (BBL) | 220KV_KUKSHI | NON-OCCM-MP | 220KV MAIN BUS MAINTENACE WORK | 04-07-2025 09:30:00 | 04-07-2025 12:30:00 | MANOJ RANDA | 9425820034 | ok, through sub ld
27 | 2025-07-03 15:12 | MR2507/0057 |  | 220KV_220KV MAIN BUS | 220KV_KUKSHI | NON-OCCM-MP | 220KV MAIN BUS MAINTENANCE WORK | 04-07-2025 09:30:00 | 04-07-2025 12:30:00 | MANOJ RANDA | 9425820034 | ok, through sub ld
28 | 2025-06-30 16:20 | MR2506/0638 | Daily | 220KV_220 KV BHOPAL-MUGALIYACHAP | 220KV_MUGALIYACHAAP | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
29 | 2025-06-26 14:57 | MR2506/0557 | Daily | 132KV_132 kV Nepa - Dharni (MSPTCL) Line | 220KV_NEPANAGAR | OCCM-WR | Hotline work For Installation OPGW by replace E/W | 26-06-2025 08:00:00 | 10-07-2025 18:00:00 | C.H.Namdev | 9425802377 | ok, line to be in service
30 | 2025-06-26 15:04 | MR2506/0558 | Daily | 132KV_132 kV Nepa - Pipalpani | 220KV_NEPANAGAR | NON-OCCM-MP | Hotline work Installation OPGW Replaced by E/W | 26-06-2025 08:00:00 | 10-07-2025 18:00:00 | C.H.Namdev | 9425802377 | sub ld
31 | 2025-06-30 14:20 | MR2506/0616 | Daily | 132KV_132kv sagar-sagar ic ic 1st ckt. | 400KV_SAGAR | NON-OCCM-MP | OPGW stringing work ( hot Line permit) | 01-07-2025 07:00:00 | 08-07-2025 19:00:00 | Er. Pankaj Yadav. | 9406713326 | ok, line to be in service
32 | 2025-06-30 14:13 | MR2506/0612 | Daily | 132KV_132kv Sagar-sagar ic 3rd ckt. | 400KV_SAGAR | NON-OCCM-MP | opgw stringing Work (hot line permit) | 01-07-2025 07:00:00 | 08-07-2025 19:00:00 | Er. pankaj yadav | 9406713326 | ok, line to be in service
33 | 2025-05-03 11:32 | MR2505/0054 | Continuous | 220KV_100 MVA X-mer Make CGL | 220KV_SARNI | NON-OCCM-MP | X-mer Augmentation work by 160 MVA X-mer AREVA | 05-05-2025 10:00:00 | 10-07-2025 17:00:00 | Er K.K. Choure | 9425801357 | Continuous
34 | 2025-07-03 11:28 | MR2507/0046 |  | 400KV_SARNI INDIRASAGAR | 400KV_SATPURA TPS | NON-OCCM-WR | Installation of Fire Wedge connector | 04-07-2025 09:00:00 | 04-07-2025 17:00:00 | SHIV KUMAR | 9425806917 | ok
35 | 2025-07-03 12:37 | MR2507/0047 |  | 132KV_132kV Sidhi - Mauganj Ckt - I | 220KV_SIDHI | NON-OCCM-MP | Disc Flash Over | 04-07-2025 10:30:00 | 04-07-2025 16:00:00 | G.L Sahu | 9425805102 | ok
36 | 2025-07-03 14:35 | MR2507/0052 |  | 132KV_132 kV Tikamgarh - Prithvipur line | 220KV_TIKAMGARH | NON-OCCM-MP | F/o disc replacement and other Line maint. Work | 04-07-2025 10:00:00 | 04-07-2025 18:00:00 | Manoj Kumar Tiwari | 9425804993 | ok
37 | 2025-07-03 13:39 | MR2507/0050 |  | 220KV_220 KV NAGDA NAGRA CKT 1 ST LINE | 220KV_UJJAIN | OCCM-WR | CONDUCTOR RAPAIRING OF WORK | 04-07-2025 10:00:00 | 04-07-2025 17:30:00 | KUMAR SACHINDRA SHARMA | 7415651054 | ok, through sub ld
38 | 2025-07-03 15:24 | MR2507/0058 |  | 132KV_50 MVA X-MER TAL | 132KV_UNCHEHRA | NON-OCCM-MP | MEASURMENT OF MAGNITIZINE CURRENT | 04-07-2025 10:00:00 | 04-07-2025 13:00:00 | VIKASH GUPTA | 8982133032 | ok
39 | 03.07.2025 |  |  | 50 MVA ATLANTA MAKE X-MER | 132 KV SS NOWGONG |  | HOT POINT OF HV SIDE LINE ISOLATORS R PHASE ZAW | 2025-07-04 11:00 | 2025-07-04 13:00 |  |  | OK
40 |  | 254082 |  | 400KV-SSP-RAJGARH-2 | 400 | NCA | to carry out the DISTANCE PROTECTION SCHEME of MAIN-1 & MAIN-2 relay testing work. | 03-Jul-2025 | 08:00 | 04-Jul-2025 | 18:00 | ok
41 |  | 253701 |  | 132KV-DHARNI-NEPANAGAR-1 | 132 | MP_SLDC | A/R off required for OPGW installation work of 24/48 core OPGW by replacing E/W for implementation of OPGW based reliable communication scheme | 04-Jul-2025 | 08:00 | 04-Jul-2025 | 17:59 | ok