## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-09-30 |  | APPROVED OUTAGE LIST FOR DATED 30.09.2025
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Status | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-09-29 14:15 | MR2509/0771 |  | 132KV_132 KV Bansagar (Jhinna) | 132KV_AMARPATAN | NON-OCCM-MP | for aatend hot point in isolator clamp | 30-09-2025 10:00:00 | 30-09-2025 12:00:00 | Waiting | Arun Kumar | 9131207339 | ok
2 | 2025-09-29 15:31 | MR2509/0777 |  | 220KV_220KV Badnawar-Badnagar 2nd feeder | 400KV_BADNAWAR | NON-OCCM-MP | Installation of 2nd DPR | 30-09-2025 10:00:00 | 30-09-2025 17:00:00 | Waiting | Er. Abhishek verma | 9340855901 | ok, through sub ld
3 | 2025-09-25 10:17 | MR2509/0670 | Daily | 132KV_132kV Balaghat Baihar Line | 132KV_BALAGHAT | NON-OCCM-MP | Hand Trip due To load Manage | 27-09-2025 08:00:00 | 30-09-2025 17:00:00 | Waiting | S.K. BHALADHARE | 9425807264 | ok
4 | 2025-09-20 18:35 | MR2509/0513 | Daily | 220KV_220KV DAMOH - DAMOH IC IIIRD CKT | 220KV_DAMOH | OCCM-MP | FOR OPGW INSTALLATION WORK | 23-09-2025 07:00:00 | 30-09-2025 19:00:00 | Rejected | M.M. BAIG | 9425805067 | Deffered, not in WR list
5 | 2025-09-29 13:17 | MR2509/0765 |  | 132KV_40 MVA bhel -make transformer | 132KV_DIGODA | NON-OCCM-MP | Post mansoon maintenance | 30-09-2025 09:00:00 | 30-09-2025 13:00:00 | Waiting | Pushpendra Kumar soni | 9425806398 | ok
6 | 2025-09-29 14:33 | MR2509/0775 |  | 220KV_220 PGCIL CKT I st | 220KV_GUNA | NON-OCCM-MP | AMP OF TRANSMISSION LINE AND ASSOCIATED LINE BAY | 30-09-2025 09:00:00 | 30-09-2025 18:00:00 | Waiting | POWER GRID BHIND GUNA TRANSMISSION LTD | 8058823505 | ok, through sub ld
7 | 2025-09-29 14:14 | MR2509/0770 |  | 132KV_132KV HATTA - BIJAWAR LINE | 132KV_HATTA | NON-OCCM-MP | For Loose AH tightness and other line maintenance | 30-09-2025 11:00:00 | 30-09-2025 18:00:00 | Waiting | MANOJ KUMAR TIWARI | 9425804993 | ok
8 | 2025-09-29 15:23 | MR2509/0776 |  | 220KV_Indore Bicholi(east)- Dewas Line | 220KV_INDORE EAST (BICHOLI) | NON-OCCM-MP | FIRE WEDGE CONNECTOR INSTALLATION WORK | 30-09-2025 10:00:00 | 30-09-2025 17:00:00 | Waiting | MAHESH AGARWAL | 9425801285 | ok, through sub ld
9 | 2025-09-07 13:02 | MR2509/0161 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-2 | 220KV_INDORE NORTH | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Accepted | A.R.KANEL | 9425805217 | OK LINE TO BE IN SERVICE
10 | 2025-09-07 12:51 | MR2509/0159 | Daily | 132KV_132KV North Zone- Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Waiting | A.R.KANEL | 9425805217 | sub ld
11 | 2025-09-07 12:45 | MR2509/0158 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-1 | 220KV_INDORE-NZ | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Accepted | A.R.KANEL | 9425805217 | OK LINE TO BE IN SERVICE
12 | 2025-09-29 12:56 | MR2509/0761 |  | 132KV_132 kV Jabalpur - Maneri Tap Gorabazar | 220KV_JABALPUR | NON-OCCM-MP | Emergency Bamboo Cutting at loc. 33-34 | 30-09-2025 10:00:00 | 30-09-2025 17:00:00 | Waiting | Jitendra Tiwari | 9425805298 | ok
13 | 2025-09-29 13:29 | MR2509/0767 |  | 220KV_220 kv katni satna line | 400KV_KATNI4 | NON-OCCM-MP | maintinance work | 30-09-2025 10:00:00 | 30-09-2025 18:00:00 | Waiting | pankaj yadav | 9406713326 | ok
14 | 2025-09-26 11:48 | MR2509/0709 | Daily | 132KV_132kV Balaghat Kirnapur Ckt-IInd | 400KV_KIRNAPUR | NON-OCCM-MP | Re-sagging of section Loc 465 to 478 & 529 to 547 | 28-09-2025 08:00:00 | 02-10-2025 17:00:00 | Waiting | Shridhar Kumar Bhaladhare | 9425448642 | ok, 132kV Balaghat Baihar Line to be opened for load management
15 | 2025-09-29 13:53 | MR2509/0769 |  | 132KV_132kV Lalbarra Samnapur | 132KV_LALBARRA | NON-OCCM-MP | Maintenance work at 132kV Samnapur RTS end | 30-09-2025 11:00:00 | 30-09-2025 16:00:00 | Waiting | S. K. Nadekar | 9425806848 | ok
16 | 2025-09-07 12:39 | MR2509/0157 | Daily | 132KV_132KV North Zone â¿¿ Niranjanpur Line. | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Waiting | A.R.KANEL | 9425805217 | sub ld
17 | 2025-09-07 12:57 | MR2509/0160 | Daily | 132KV_132KV Niranjanpur - Jaitpura Line | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | Accepted | A.R.KANEL | 9425805217 | sub ld
18 | 2025-09-09 16:49 | MR2509/0219 | Continuous | 132KV_PENCH-MANSAR_Ckt | 132KV_PENCH | NON-OCCM-WR | Overhauling of CB & replacement of one faulty CVT | 29-09-2025 09:00:00 | 30-09-2025 16:00:00 | Waiting | Arun Mungole | 8329756200 | ok
19 | 2025-09-29 16:16 | MR2509/0778 |  | 220KV_160 MVA X-mer -III Make â¿¿BBL | 220KV_RAJGARH DHAR | NON-OCCM-MP | for post monsoon maintenance work. | 30-09-2025 10:00:00 | 30-09-2025 17:00:00 | Waiting | Er. Manoj Randha | 9425820034 | ok, through sub ld
20 | 2025-09-20 18:32 | MR2509/0512 | Daily | 220KV_220KV DAMOH - SAGAR PGCIL IIND CKT. | 400KV_SAGAR | OCCM-MP | FOR OPGW INSTALLATION WORK | 23-09-2025 07:00:00 | 30-09-2025 19:00:00 | Rejected | M.M. BAIG | 9425805067 | Deffered, not in WR list
21 | 2025-09-29 13:13 | MR2509/0763 |  | 132KV_132/33KV 63 MVA X-mer-1 Make_BBL | 132KV_SEONI1 | NON-OCCM-MP | Post Monsoon Maintenance Work | 30-09-2025 09:00:00 | 30-09-2025 17:00:00 | Waiting | Ramkumar Meshram | 7587951054 | ok
22 | 2025-09-29 16:45 | MR2509/0779 | Daily | 132KV_132kV Seoni Nainpur Line | 132KV_SEONI1 | NON-OCCM-MP | Hand Trip Due to Load Manage | 30-09-2025 08:00:00 | 01-10-2025 07:00:00 | Waiting | S.K. BHALADHARE | 9425807264 | real time, only if required for load management
23 | 2025-09-29 13:01 | MR2509/0762 |  | 220KV_160 MVA XMER-II BHEL | 220KV_SHAJAPUR | NON-OCCM-MP | POST MONSOON MAIN. | 30-09-2025 09:00:00 | 30-09-2025 17:00:00 | Waiting | Er. VIJAY OJHA | 9755836908 | ok, through sub ld
24 | 2025-09-29 13:50 | MR2509/0768 |  | 220KV_220 KV SHAJAPUR INOX 1 | 220KV_SHAJAPUR | NON-OCCM-WR | BAY MAINTENANCE WORK | 30-09-2025 10:00:00 | 30-09-2025 18:00:00 | Waiting | KUMAR SACHINDRA | 7415651054 | ok, through sub ld
25 | 2025-09-29 13:16 | MR2509/0764 |  | 400KV_400KV Chhegaon-II for commissioning of PMU | 400KV_SINGHAJI TPS | NON-OCCM-MP | PMU commissioning work in SSTPP Phase-I | 30-09-2025 10:00:00 | 30-09-2025 18:00:00 | Waiting | Deepak Sharma | 8005696855 | ok, through sub ld
26 | 2025-09-02 14:10 | MR2509/0043 | Continuous | 220KV_160 MVA NGEF | 220KV_UJJAIN | NON-OCCM-MP | X-MER REPLACEMENT WORK BY NEW 160 MAV XMER | 03-09-2025 09:00:00 | 03-11-2025 18:00:00 | Rejected | B.C JOSHI | 7587951137 | Continuous
27 |  |  |  | 220KV-REWA-REWA-MP-2 |  |  | FOR LINE MAINTENANCE WORK i.e. CLEANING OF DISC INSULATORS DURING LINE PATROLLING , REPLACEMENT OF FLASHOVERED DISC INSULATORS, TREE BRANCH CUTTING ETC AT VARIOUS TOWER LOCATIONS | 30-Sep-2025 | 10:00 | 30-Sep-2025 | 17:00 |  | real time
28 |  |  |  | 132KV-PENCH-MANSAR-1 |  |  | Overhauling of SF6 CB WITH REPLACEENT OF FAULTY CVT & CT | 29-Sep-2025 | 07:00 | 30-Sep-2025 | 19:59 |  | ok
29 |  |  |  | 220KV-INDORE-INDORE NORTH ZONE-1 |  |  | PEPLACEMENT OF EXISTING 24FIBRE OPGW WITH48 FIBRE OPGW. DATA IS DIVERTED, ONLINE WORK PERMIT, AUTO TO NON AUTO | 30-Sep-2025 | 07:00 | 30-Sep-2025 | 23:59 |  | ok
30 |  |  |  | 220KV-INDORE-INDORE NORTH ZONE-2 |  |  | PEPLACEMENT OF EXISTING 24FIBRE OPGW WITH48 FIBRE OPGW. DATA IS DIVERTED, ONLINE WORK PERMIT, AUTO TO NON AUTO | 30-Sep-2025 | 07:00 | 30-Sep-2025 | 19:59 |  | ok
S/I SLDC JABALPUR