## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-09-28
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-09-27 16:20 | MR2509/0735 |  | 132KV_132 KV Main Bus | 132KV_AMARPATAN | NON-OCCM-MP | tree cutting purpose | 28-09-2025 10:00:00 | 28-09-2025 10:20:00 | Arun kumar | 9131207339 | ok
2 | 2025-09-25 10:17 | MR2509/0670 | Daily | 132KV_132kV Balaghat Baihar Line | 132KV_BALAGHAT | NON-OCCM-MP | Hand Trip due To load Manage | 27-09-2025 08:00:00 | 30-09-2025 17:00:00 | S.K. BHALADHARE | 9425807264 | ok
3 | 2025-09-20 18:35 | MR2509/0513 | Daily | 220KV_220KV DAMOH - DAMOH IC IIIRD CKT | 220KV_DAMOH | OCCM-MP | FOR OPGW INSTALLATION WORK | 23-09-2025 07:00:00 | 30-09-2025 19:00:00 | M.M. BAIG | 9425805067 | Deffered, not in WR list
4 | 2025-09-27 15:18 | MR2509/0731 |  | 220KV_220 KV BICHOLI INDORE LINE | 220KV_INDORE EAST (BICHOLI) | NON-OCCM-MP | FIRE WEDGE CONNECTOR INSTALLATION WORK | 28-09-2025 09:00:00 | 28-09-2025 13:00:00 | MAHESH AGARWAL | 9425801285 | ok, through sub ld
5 | 2025-09-07 13:02 | MR2509/0161 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-2 | 220KV_INDORE NORTH | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | OK LINE TO BE IN SERVICE
6 | 2025-09-07 12:51 | MR2509/0159 | Daily | 132KV_132KV North Zone- Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | sub ld
7 | 2025-09-07 12:45 | MR2509/0158 | Daily | 220KV_220KV North Zone- Hatuniya(PGCIL) Ckt.-1 | 220KV_INDORE-NZ | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | OK LINE TO BE IN SERVICE
8 | 2025-09-27 12:18 | MR2509/0729 |  | 132KV_40 MVA ECE XMER | 132KV_KHAJURAHO | NON-OCCM-MP | POST MANSOON TESTING | 28-09-2025 14:00:00 | 28-09-2025 18:00:00 | BRAJENDRA SONI | 9131327770 | ok
9 | 2025-09-27 12:14 | MR2509/0728 |  | 132KV_63 MVA BBL XMER | 132KV_KHAJURAHO | NON-OCCM-MP | POSTMANSOON TESTING | 28-09-2025 09:00:00 | 28-09-2025 13:00:00 | BRAJENDRA SONI | 9131327770 | ok
10 | 2025-09-26 11:48 | MR2509/0709 | Daily | 132KV_132kV Balaghat Kirnapur Ckt-IInd | 400KV_KIRNAPUR | NON-OCCM-MP | Re-sagging of section Loc 465 to 478 & 529 to 547 | 28-09-2025 08:00:00 | 02-10-2025 17:00:00 | Shridhar Kumar Bhaladhare | 9425448642 | ok, 132kV Balaghat Baihar Line to be opened for load management
11 | 2025-09-27 12:21 | MR2509/0730 |  | 220KV_100MVA XMER T&R MAKE | 220KV_MANDIDEEP | NON-OCCM-MP | Post -monsoon maintance & Testing work | 28-09-2025 09:00:00 | 28-09-2025 17:00:00 | A.K. VERMA | 9425801324 | ok, through sub ld, o&m shall be informed
12 | 2025-09-07 12:39 | MR2509/0157 | Daily | 132KV_132KV North Zone â¿¿ Niranjanpur Line. | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | sub ld
13 | 2025-09-07 12:57 | MR2509/0160 | Daily | 132KV_132KV Niranjanpur - Jaitpura Line | 132KV_NIRANJANPUR | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 11-09-2025 07:00:00 | 30-09-2025 19:00:00 | A.R.KANEL | 9425805217 | sub ld
14 | 2025-09-27 16:22 | MR2509/0736 |  | 220KV_200MVA X-mer CG Power | 220KV_PANDHURNA | NON-OCCM-MP | Air Release work | 28-09-2025 12:00:00 | 28-09-2025 15:00:00 | Sanjay Shende | 9425811447 | ok
15 | 2025-09-27 16:34 | MR2509/0737 |  | 132KV_132kv RAjmilan- dongarital line | 132KV_RAJMILAN | NON-OCCM-MP | line maintenance | 28-09-2025 09:30:00 | 28-09-2025 17:00:00 | G.L. Sahu | 9425805102 | ok
16 | 2025-09-20 18:32 | MR2509/0512 | Daily | 220KV_220KV DAMOH - SAGAR PGCIL IIND CKT. | 400KV_SAGAR | OCCM-MP | FOR OPGW INSTALLATION WORK | 23-09-2025 07:00:00 | 30-09-2025 19:00:00 | M.M. BAIG | 9425805067 | Deffered, not in WR list
17 | 2025-09-02 14:10 | MR2509/0043 | Continuous | 220KV_160 MVA NGEF | 220KV_UJJAIN | NON-OCCM-MP | X-MER REPLACEMENT WORK BY NEW 160 MAV XMER | 03-09-2025 09:00:00 | 03-11-2025 18:00:00 | B.C JOSHI | 7587951137 | Continuous
18 |  | 265838 | Daily | 220KV-INDORE-INDORE NORTH ZONE-1 |  | OCCM-WR | PEPLACEMENT OF EXISTING 24FIBRE OPGW WITH48 FIBRE OPGW. DATA IS DIVERTED, ONLINE WORK PERMIT, AUTO TO NON AUTO | 28-09-2025 07:00:00 | 28-09-2025 23:59:00 |  |  | A/R in N/A. Line to be in service.
19 |  | 265858 | Daily | 220KV-INDORE-INDORE NORTH ZONE-2 |  | OCCM-WR | PEPLACEMENT OF EXISTING 24FIBRE OPGW WITH48 FIBRE OPGW. DATA IS DIVERTED, ONLINE WORK PERMIT, AUTO TO NON AUTO | 28-09-2025 07:00:00 | 28-09-2025 19:59:00 |  |  | A/R in N/A. Line to be in service.