## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-08-19 |  |  | APPROVED OUTAGE LIST FOR DTD.19.08.2025
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-08-11 17:24 | MR2508/0154 | Daily | 220KV_220 kV Anuppur- Kotmikala ckt-I | 220KV_ANUPPUR | NON-OCCM-MP | For Re-sagging work at loc. 424-425 | 16-08-2025 08:00:00 | 19-08-2025 18:00:00 | Jitendra Tiwari | 9425805298 | ok
2 | 2025-08-18 16:25 | MR2508/0237 |  | 132KV_132kv Banmore - Ambah Shakti Line | 132KV_BANMORE | NON-OCCM-MP | Annual meter testing work MPMKVVCL Morena | 19-08-2025 11:00:00 | 19-08-2025 13:00:00 | Pankaj Kumar | 9425805317 | sub ld
3 | 2025-08-18 13:28 | MR2508/0224 |  | 220KV_220 KV Main Bus-1st | 220KV_BETUL | NON-OCCM-MP | 220 KV Main Bus-1st maintenance work. | 19-08-2025 10:00:00 | 19-08-2025 16:00:00 | Vishal Kumar Malviya | 9425804955 | ok, through sub ld
4 | 2025-08-18 13:31 | MR2508/0225 |  | 220KV_160 MVA AREVA X-mer-1st | 220KV_BETUL | NON-OCCM-MP | R-Phase Conductor replacement work | 19-08-2025 13:00:00 | 19-08-2025 16:00:00 | Vishal Kumar Malviya | 9425804955 | ok, through sub ld
5 | 2025-08-18 14:39 | MR2508/0234 |  | 132KV_132 kV Bijawar-Badamalhera line | 220KV_CHATARPUR | NON-OCCM-MP | cross arm replacement and other line maint. work | 19-08-2025 10:00:00 | 19-08-2025 18:00:00 | Manoj Kumar Tiwari | 9425804993 | ok
6 | 2025-08-18 12:28 | MR2508/0223 |  | 132KV_132 kV Chhindwara-Saori Ckt-I | 220KV_CHHINDWARA | NON-OCCM-MP | F/o disc replace & J/c,A/h,V/d tightening | 19-08-2025 10:00:00 | 19-08-2025 17:00:00 | A.M.Shende | 7587951136 | ok
7 | 2025-08-18 14:38 | MR2508/0233 |  | 63MVA_132/33KV_EMCO_X'mer_3 | 132KV_CHHINDWARA1 | NON-OCCM-MP | LV Side R-Phase CT Clamp Hot Point Attending Work | 19-08-2025 09:00:00 | 19-08-2025 12:00:00 | Er. Anju Dhurve | 9425804752 | ok
8 | 2025-08-18 16:18 | MR2508/0236 |  | 220KV_160 MVA X-MER | 220KV_GORABAZAR | NON-OCCM-MP | OIL LEAKAGE ATTENDING WORK | 19-08-2025 10:00:00 | 19-08-2025 16:00:00 | CHETAN YADAV | 9425805282 | ok
9 | 2025-08-12 17:20 | MR2508/0174 | Daily | 220KV_220KV South Zone (Indore) - Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | . Replacement existing of 24 Fibre OPGW by 48 Fibr | 14-08-2025 07:00:00 | 31-08-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
10 | 2025-08-16 12:50 | MR2508/0200 |  | 220KV_220KV Itarsi PGCIL No.-1 | 220KV_ITARSI | OCCM-WR | CT Replacement work | 19-08-2025 07:00:00 | 19-08-2025 19:00:00 | J.D.Khoria | 9425804975 | ok, through sub ld
11 | 2025-08-18 14:12 | MR2508/0231 |  | 220KV_220kV ITARSI-BARWAHA LINE | 220KV_ITARSI | NON-OCCM-MP | FLASHOVER DISC REPLACEMENT WORK | 19-08-2025 10:00:00 | 19-08-2025 17:00:00 | R.N. Parte | 9425804701 | ok, through sub ld
12 | 2025-08-18 12:13 | MR2508/0220 |  | 220KV_220 kV Jabalpur- Birsinghpur ckt-I | 220KV_JABALPUR | NON-OCCM-MP | Disc F/o change at loc. C53 Top Ph | 19-08-2025 10:00:00 | 19-08-2025 18:00:00 | Jitendra Tiwari | 9425805298 | ok
13 | 2025-08-18 14:00 | MR2508/0227 |  | 132KV_132 KV KATNI PANAGAR LINE | 132KV_KATNI | NON-OCCM-MP | For modification shifting & maintenance work . | 19-08-2025 12:00:00 | 19-08-2025 18:00:00 | pankaj yadav | 9406713326 | ok
14 | 2025-06-30 15:24 | MR2506/0624 | Continuous | 400KV_400KV KATNI - DAMOH LINE | 400KV_KATNI4 | OCCM-MP | TOWER STRENGTHENING WORK | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | PANKAJ YADAV | 9406713326 | Deffered
15 | 2025-06-30 16:09 | MR2506/0633 | Continuous | 220KV_220KV KATNI - DAMOH LINE | 400KV_KATNI4 | NON-OCCM-MP | TOWER STRENTHENING WORK | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | PANKAJ YADAV | 9406713326 | Deffered
16 | 2025-08-18 14:06 | MR2508/0230 |  | 132KV_132 kv katni sleemnabad line ckt 2 | 132KV_KYMORE | NON-OCCM-MP | For modification shifting & maintenance work . | 19-08-2025 08:00:00 | 19-08-2025 12:00:00 | pankaj yadav | 9406713326 | ok
17 | 2025-08-12 17:23 | MR2508/0175 | Daily | 220KV_220KV Mangliya -Jaitpura Line. | 220KV_MANGLIA2 | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 14-08-2025 07:00:00 | 31-08-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
18 | 2025-08-18 11:54 | MR2508/0219 |  | 132KV_132 KV Half Main BUS | 220KV_NAGDA | NON-OCCM-MP | 132 KV Main Bus Iso Replacement work of 132 KV MHD | 19-08-2025 10:00:00 | 19-08-2025 14:00:00 | Vikram Dehariya | 7000276050 | load to be managed by sub ld Indore
19 | 2025-07-22 16:42 | MR2507/0344 | Daily | 132KV_132 kV Nepa - Pipalpani MPPTCL Line | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work Installation of OPGW | 01-08-2025 07:00:00 | 25-08-2025 19:00:00 | C.H.Namdev | 9425802377 | sub ld
20 | 2025-07-22 16:47 | MR2507/0345 | Daily | 132KV_132 kV Nepa - Dharni (MSPTCL) Line | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work For Installatin of OPGW | 01-08-2025 07:00:00 | 25-08-2025 19:00:00 | C.H.Namdev | 9425802377 | ok, line to be in service
21 | 2025-08-14 17:15 | MR2508/0186 |  | 400KV_400KV Pithampur-PGCIL ckt-I | 400KV_PITHAMPUR4 | NON-OCCM-MP | Tan-Delta Testing & Bay Maintenance work | 19-08-2025 11:00:00 | 19-08-2025 18:00:00 | Rajudas Bairagi | 9425801532 | Deffered, not in WRPC approval list
22 | 2025-08-18 14:57 | MR2508/0235 |  | 220KV_220KV Ratlam - Badnawar Ckt-II | 220KV_RATLAM | NON-OCCM-MP | for line maintenance work | 19-08-2025 10:00:00 | 19-08-2025 18:00:00 | Kumar Vishal | 9425805018 | ok, through sub ld
23 | 2025-08-18 12:19 | MR2508/0222 |  | 220KV_220KV DAMOH-SAGAR 1st Ckt. LINE (PGCIL) | 400KV_SAGAR | OCCM-MP | Line maintenance work | 19-08-2025 09:00:00 | 19-08-2025 18:00:00 | J.P. Asati | 9424445533 | ok
24 | 2025-08-18 14:03 | MR2508/0228 |  | 132KV_132kV Seoni Lakhnadon SC | 220KV_SEONI | NON-OCCM-MP | Replacement of broken disc insulator | 19-08-2025 10:00:00 | 19-08-2025 17:00:00 | S.K. Nadekar | 9425806848 | ok
25 | 2025-08-18 14:06 | MR2508/0229 |  | 220KV_220 KV SUN SHINE 2nd ckt. | 220KV_SHIVPURI | NON-OCCM-MP | Request for Shutdown Approval of 220kV CKT-2 of SE | 19-08-2025 16:00:00 | 19-08-2025 23:00:00 | Rohit yadav | 9425804921 | ABT consent required
26 | 2025-08-17 16:26 | MR2508/0215 | Continuous | 400KV_315 MVA, 400KV/220KV, Interconnecting Transformer- 2 | 400KV_SINGHAJI TPS | NON-OCCM-MP | Overhauling work | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | Yogesh Chouhan | 7999328631 | Continuous
27 | 2025-08-18 14:36 | MR2508/0232 |  | 132KV_132/33 KV 50 MVA BHEL X-mer | 220KV_SIRMOUR | NON-OCCM-MP | For B phase LV side pad clamp hot point attending | 19-08-2025 11:00:00 | 19-08-2025 16:00:00 | Mr. Indrajeet Singh | 9424734033 | ok
28 | 2025-08-18 14:36 |  |  | 220KV-DAMOH-SAGAR-1 |  | OCCM-WR | FOR LINE MAINTENANCE WORK | 19-Aug-2025 | 09:00 | 19-Aug-2025 | 18:00 | ok
29 | 2025-08-18 14:36 |  |  | 220KV-INDORE-UJJAIN-1 |  | OCCM-WR | FOR BAY MAINTENANCE & TESTING WORK AT 400KV S/S UJJAIN | 19-Aug-2025 | 09:00 | 19-Aug-2025 | 18:00 | real time
30 | 2025-08-18 14:36 |  |  | 220KV-KHANDWA-CHHEGAON-1 |  | OCCM-WR | FOR LINE MAINTENANCE WORK | 19-Aug-2025 | 08:00 | 19-Aug-2025 | 18:00 | real time
31 | 2025-08-18 14:36 |  |  | 220KV-BHANPURA-RANPUR-1 |  | OCCM-WR | FOR LINE MAINTENANCE WORK | 19-Aug-2025 | 08:00 | 19-Aug-2025 | 18:00 | real time
32 | 2025-08-18 14:36 |  |  | 220KV-ITARSI-MP-ITARSI-1 |  | OCCM-WR | for Replacement of CT work | 19-Aug-2025 | 07:00 | 19-Aug-2025 | 16:59 | ok, through sub ld
33 | 2025-08-18 14:36 |  |  | 220KV-ANNUPUR-KOTMIKALA-1 |  | OCCM-WR | for resagging work between loc 418-432 | 19-Aug-2025 | 08:00 | 19-Aug-2025 | 17:59 | ok
34 | 2025-08-18 14:36 |  |  | SATPURA - 400KV - BUS 1 |  | OCCM-WR | For replacemnet of Bus-1 PG isolator under ADD CAP at MPGENCO (Simultaneous outage of 400KV-SATPURA-KORADI-1 is required) | 18-Aug-2025 | 09:00 | 20-Aug-2025 | 20:00 | Continous
35 | 2025-08-18 14:36 |  |  | 400KV-KORADI-SATPURA-1 |  | OCCM-WR | For replacemnet of Bus-1 PG isolator under ADD CAP at MPGENCO (Simultaneous outage of 400kV Bus-1 is required at Sarni S/S of MPGENCO). Dia to be kept open at both ends. | 18-Aug-2025 | 09:00 | 20-Aug-2025 | 20:00 | Continous
S/I, SLDC MPPTCL JABALPUR