## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-07-09
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-06-30 16:24 | MR2506/0639 | Daily | 220KV_220 KV MUGALIYACHAP ASHTA | 400KV_ASHTA4 | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
2 | 2025-07-08 12:46 | MR2507/0106 |  | 220KV_220/132 160 mva xmer make CGL -1 | 220KV_BADNAGAR | OCCM-MP | For differential relay testing work | 09-07-2025 10:24:00 | 09-07-2025 13:00:00 | Poshkar kushwaha | 9425813990 | ok, through sub ld
3 | 2025-06-30 16:26 | MR2506/0640 | Daily | 220KV_220 KV BAIRAGARH-ASHTA | 220KV_BAIRAGARH | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
4 | 2025-06-30 16:13 | MR2506/0635 | Daily | 220KV_220 BHOPAL-BAIRAGARH CKT-3 | 220KV_BAIRAGARH | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
5 | 2025-07-08 11:38 | MR2507/0104 |  | 132KV_132KV Main Bus | 220KV_BARWAHA | NON-OCCM-MP | S/D for New 200MVA X-MER Stringing Work | 09-07-2025 07:00:00 | 09-07-2025 14:00:00 | Er. Imran Beg | 9425805200 | ok, through sub ld
6 | 2025-07-02 18:54 | MR2507/0044 | Daily | 132KV_132kV Rewa - Bansagar Lilo Beohari -Lilo Jhinna | 132KV_BEOHARI | NON-OCCM-MP | OPGW Hot Line | 03-07-2025 07:00:00 | 30-07-2025 19:00:00 | G.L Sahu | 9425805102 | ok, line to be in service
7 | 2025-06-26 14:17 | MR2506/0554 | Daily | 220KV_220 KV Bina-Guna Ckt & 220 KV Bina-Ashoknagar Ckt | 400KV_BINA4 | NON-OCCM-MP | Hot line PTW for OPGW resagging work BY M/s ZTT | 26-06-2025 07:00:00 | 10-07-2025 19:00:00 | Sanjay singh thakur | 9425806936 | ok, line to be in service
8 | 2025-06-23 17:09 | MR2506/0482 | Daily | 220KV_220 KV South Zone - Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | Existing 24 Fibre OPGW Wire by 48 Fibre OPGW work | 24-06-2025 07:00:00 | 15-07-2025 19:00:00 | A.R. KANEL | 9425805217 | ok, line to be in service
9 | 2025-06-23 17:04 | MR2506/0481 | Daily | 220KV_220KV Indore (400KV) - Mangliya line | 400KV_INDORE4 | NON-OCCM-MP | Existing 24 Fibre OPGW Wire by 48 Fibre OPGW work | 24-06-2025 07:00:00 | 15-07-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
10 | 2025-07-08 12:59 | MR2507/0108 |  | 132KV_132 KV KATNI PANAGAR LINE | 132KV_KATNI | NON-OCCM-MP | for line maintenance work. | 09-07-2025 10:00:00 | 09-07-2025 18:00:00 | PANKAJ YADAV | 9406713326 | ok
11 | 2024-11-20 16:45 | MR2411/0434 | Continuous | 400KV_400 KV KATNI-DAMOH LINE | 400KV_KATNI4 | NON-OCCM-WR | TOWER STRENGTHENING WORK | 07-07-2025 09:00:00 | 12-07-2025 18:00:00 | MANOJ KUMAR TIWARI | 9425804993 | Continuous
12 | 2024-11-20 16:47 | MR2411/0435 | Continuous | 220KV_220 KV KATNI-DAMOH LINE | 400KV_KATNI4 | NON-OCCM-MP | TOWER STRENGTHENING WORK | 07-07-2025 09:00:00 | 12-07-2025 18:00:00 | MANOJ KUMAR TIWARI | 9425804993 | Continuous
13 | 2025-07-01 15:42 | MR2507/0010 | Continuous | 132KV_132 KV Khurai-Sagar | 132KV_KHURAI | NON-OCCM-MP | Modification/Shifting of 132 KV Khurai-Sagar | 02-07-2025 07:00:00 | 12-07-2025 18:00:00 | Sanjay Singh Thakur | 9425806936 | Continuous
14 | 2025-07-08 11:17 | MR2507/0102 |  | 220KV_MAHALGAON-DATIA_Ckt_1 | 220KV_MAHALGAON | NON-OCCM-MP | To check B ph.wave tarp jumper | 09-07-2025 10:00:00 | 09-07-2025 14:00:00 | P.Datey | 942585110 | ok, through sub ld
15 | 2025-07-08 15:37 | MR2507/0113 |  | 220KV_220KV Malanpur Auraiya line | 220KV_MALANPUR | OCCM-MP | Line maintenanace work | 09-07-2025 09:00:00 | 09-07-2025 17:00:00 | Baidyanath Kumar | 6265588473 | ok, through sub ld
16 | 2025-07-08 16:48 | MR2507/0116 |  | 220KV_220KV Neemuch Mandsaur Circuit Ist | 400KV_MANDSOUR4 | NON-OCCM-MP | for maintenance work | 09-07-2025 10:00:00 | 09-07-2025 17:00:00 | Gaurav Goyal | 9425805120 | ok, through sub ld
17 | 2025-07-08 15:13 | MR2507/0112 |  | 220KV_220KV Mandsour-Neemuch-I | 400KV_MANDSOUR4 | OCCM-MP | 220KV Mandsour-Neemuch-I additional DPR -2 connect | 09-07-2025 10:00:00 | 09-07-2025 17:00:00 | Rajesh Bhuria | 9425806920 | as opportunity s/d
18 | 2025-06-30 16:20 | MR2506/0638 | Daily | 220KV_220 KV BHOPAL-MUGALIYACHAP | 220KV_MUGALIYACHAAP | NON-OCCM-MP | HOT LINE PERMIT | 01-07-2025 09:00:00 | 20-07-2025 19:00:00 | NITIN RESHWAL | 9425804890 | ok, line to be in service
19 | 2025-07-08 14:44 | MR2507/0111 |  | 220KV_100 MVA TRANSFORMER | 220KV_NAGDA | NON-OCCM-MP | TAN DELTA MEASUREMENT OF BUSHINGS | 09-07-2025 10:00:00 | 09-07-2025 15:00:00 | VIKRAM DEHARIYA | 7000276050 | ok, o&m shall be informed
20 | 2025-06-26 14:57 | MR2506/0557 | Daily | 132KV_132 kV Nepa - Dharni (MSPTCL) Line | 220KV_NEPANAGAR | OCCM-WR | Hotline work For Installation OPGW by replace E/W | 26-06-2025 08:00:00 | 10-07-2025 18:00:00 | C.H.Namdev | 9425802377 | Deffered by WRLDC
21 | 2025-06-26 15:04 | MR2506/0558 | Daily | 132KV_132 kV Nepa - Pipalpani | 220KV_NEPANAGAR | NON-OCCM-MP | Hotline work Installation OPGW Replaced by E/W | 26-06-2025 08:00:00 | 10-07-2025 18:00:00 | C.H.Namdev | 9425802377 | sub ld
22 | 2025-07-08 13:17 | MR2507/0109 |  | 132KV_Shutdown (H/T) of 132 kv Rewa Interconnector Ckt-I & II line | 220KV_REWA | NON-OCCM-WR | replacement of damage conductor | 09-07-2025 09:00:00 | 09-07-2025 18:00:00 | Mr. Ajay Kumar Chaurasia | 9425805081 | ok, 132kv Rewa-Rampur baghelan to be in service
23 | 2025-07-08 16:34 | MR2507/0115 |  | 132KV_132KV Sagar-Rehli line | 400KV_SAGAR | NON-OCCM-MP | Line maintenance work | 09-07-2025 10:00:00 | 09-07-2025 16:00:00 | J.P. Asati | 9424445533 | discom consent provided is not clear
24 | 2025-07-01 16:10 | MR2507/0014 | Continuous | 400KV_400 KV MAIN BUS 1 | 400KV_SAGAR | OCCM-MP | FOR EXTENSION OF 400 KV MAIN BUS1 | 08-07-2025 09:00:00 | 09-07-2025 17:00:00 | ANIL MAHOR | 9425805149 | Deffered, not in WR list
25 | 2025-05-03 11:32 | MR2505/0054 | Continuous | 220KV_100 MVA X-mer Make CGL | 220KV_SARNI | NON-OCCM-MP | X-mer Augmentation work by 160 MVA X-mer AREVA | 05-05-2025 10:00:00 | 10-07-2025 17:00:00 | Er K.K. Choure | 9425801357 | Continuous
26 | 2025-07-08 11:12 | MR2507/0101 |  | 132KV_132 kv Tikamgarh-Prithvipur Line | 220KV_TIKAMGARH | NON-OCCM-MP | main bus -2 isolator jumpering work | 09-07-2025 10:00:00 | 09-07-2025 13:00:00 | G.P.Rai | 9425805181 | ok
27 | 2025-07-07 12:55 | MR2507/0087 |  | 400KV_400kv Ujjain-Nagda ckt.Ist | 400KV_UJJAIN4 | NON-OCCM-MP | pre monsoon bay maint.work | 09-07-2025 10:00:00 | 09-07-2025 17:00:00 | Mr.Santosh chavrasia | 9425804677 | ok, through sub ld
28 | 2025-07-08 16:15 | MR2507/0114 |  | 132KV_132 KV JBP NO 02 | 132KV_VFJ | NON-OCCM-MP | RELAY TESTING WORK AND OTHER MAINTANANCE WORK | 09-07-2025 10:00:00 | 09-07-2025 17:00:00 | AMIT KUMAR DAHIYA | 9425806926 | o&m consent required
29 |  |  |  | 63 mva xmer & 40 mva xmer - II | 220 Kv Ashok nagar |  | main bus extend and 33 kv new by ( jal nigam ) | 2025-07-09 10:00 | 2025-07-09 15:00 |  |  | ok
30 |  | 257849 |  | 220KV-SEONI-PG-CHINDWARA-1 | 220 | POWERGRID_WR1 | For AMP Works@Seoni SS// Rescheduled due to heavy Rain | 09-Jul-2025 | 09:00 | 09-Jul-2025 | 18:00 | real time
31 |  | 253289 |  | 400KV-SAGAR-SATNA-1 | 400 | MP_SLDC | FOR LINE MAINTENANCE WORK | 09-Jul-2025 | 09:00 | 09-Jul-2025 | 18:00 | real time
32 |  | 253316 |  | 220KV-KHANDWA-CHHANERA-2 | 220 | MP_SLDC | FOR LINE MAINTENANCE WORK | 09-Jul-2025 | 08:00 | 09-Jul-2025 | 18:00 | real time
33 |  | 253317 |  | 220KV-MALANPUR-AURIYA-1 | 220 | MP_SLDC | FOR LINE MAINTENANCE WORK | 09-Jul-2025 | 09:00 | 09-Jul-2025 | 17:00 | ok, through sub ld
34 |  | 253318 |  | 220KV-SATNA-MP-SATNA-2 | 220 | MP_SLDC | FOR LINE MAINTENANCE WORK | 09-Jul-2025 | 10:00 | 09-Jul-2025 | 17:00 | real time
35 |  | 253319 |  | 220KV-INDORE-INDORE NORTH ZONE-1 | 220 | MP_SLDC | LINE MAINTENANCE WORK | 09-Jul-2025 | 08:00 | 09-Jul-2025 | 18:00 | real time