## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-10-28 |  | APPROVED OUTAGE LIST FOR DATED 28.10.2025
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-10-27 14:24 | MR2510/0619 |  | 400KV_315mva ict-2 x-mer make-t&r | 400KV_BADNAWAR | NON-OCCM-MP | POST MANS | 28-10-2025 08:00:00 | 28-10-2025 17:00:00 | ER.ABHISHEK VERMA | 9340855901 | ok, through sub ld
2 | 2025-10-22 11:40 | MR2510/0513 | Continuous | 400KV_315 MVA X-MER NO.4 | 400KV_BHOPAL4 | NON-OCCM-MP | POST MONSOON MAINT. & TESTING WORK | 27-10-2025 09:00:00 | 28-10-2025 18:00:00 | SHRI AKRAM KHAN A | 9425804695 | Continuous
3 | 2025-10-27 13:55 | MR2510/0617 |  | 132KV_132 kV Hatta â¿¿ Bijawar Line | 132KV_BIJAWAR | NON-OCCM-MP | AH/VD tightening and other line maintenance work | 28-10-2025 11:00:00 | 28-10-2025 18:00:00 | Manoj Kumar Tiwari | 9425804993 | ok
4 | 2025-10-27 13:56 | MR2510/0618 |  | 220KV_160 MVA X-MER-II MAKE - BBL | 220KV_CHANERA | NON-OCCM-MP | POST MONSOON MAINTENANCE WORK | 28-10-2025 10:00:00 | 28-10-2025 17:00:00 | SUKHRAM BADKHANE | 8462074203 | ok, through sub ld
5 | 2025-10-27 12:41 | MR2510/0613 |  | 132KV_50 MVA BHEL Xmer | 220KV_CHICHLI | NON-OCCM-MP | Post monsoon shutdown | 28-10-2025 10:00:00 | 28-10-2025 17:00:00 | Rajesh chaturvedi | 9425805203 | ok
6 | 2025-10-16 17:16 | MR2510/0478 | Continuous | 220KV_220KV DAMOH - KATNI LINE | 220KV_DAMOH | NON-OCCM-MP | TOWER STRENGTHENING WORK | 27-10-2025 09:00:00 | 01-11-2025 18:00:00 | M.M. BAIG | 9425805067 | Deffered
7 | 2025-10-27 11:36 | MR2510/0605 |  | 220KV_160 MVA X-MER -l BHEL | 220KV_DATIA | NON-OCCM-MP | Post mansoon maintenance | 28-10-2025 10:00:00 | 28-10-2025 17:00:00 | Raksha Chaparia | 6265080313 | ok, through sub ld
8 | 2025-10-02 11:21 | MR2510/0022 | Daily | 132KV_132kV Deolond - Beohari Ckt | 132KV_DEVLOND | NON-OCCM-MP | OPGW Work | 03-10-2025 07:00:00 | 30-10-2025 19:00:00 | G.L Sahu | 9425805102 | data confirmation required from communication
9 | 2025-10-02 11:19 | MR2510/0021 | Daily | 132KV_132kV Deolond - Jhinna ckt | 132KV_DEVLOND | NON-OCCM-MP | OPGW Work | 03-10-2025 07:00:00 | 30-10-2025 19:00:00 | G.L Sahu | 9425805102 | data confirmation required from communication
10 | 2025-10-27 14:35 | MR2510/0620 |  | 132KV_50 MVA X-MER BBL | 132KV_ESAGARH | NON-OCCM-MP | POST MANSOON MAINT. | 28-10-2025 11:00:00 | 28-10-2025 18:00:00 | RAKESH SUMAN | 7587951093 | sub ld
11 | 2025-10-27 16:04 | MR2510/0624 |  | 220KV_100MVA XMER -3 IMP MAKE | 220KV_GUJARKHEDI | NON-OCCM-MP | POST MANSOON MAINTANANCE &TESTING WORK | 28-10-2025 14:00:00 | 28-10-2025 20:00:00 | SUNIL PAWAR | 9425804939 | generator consent required
12 | 2025-10-27 11:50 | MR2510/0608 | Daily | 220KV_220 KV Itarsi-Handia Ckt-II | 220KV_ITARSI | NON-OCCM-MP | Replacement of Single to Double disc insut.string | 28-10-2025 09:00:00 | 30-10-2025 18:00:00 | Ashutosh Rai | 9425806902 | ok, through sub ld
13 | 2025-10-27 13:11 | MR2510/0614 |  | 132KV_132KV 40MVA Transformer | 220KV_ITARSI | NON-OCCM-MP | Oil sampling & fixing of band pipe on PVR work. | 28-10-2025 09:00:00 | 28-10-2025 12:00:00 | J.D.Khoria | 9425804975 | sub ld
14 | 2025-10-27 13:15 | MR2510/0615 |  | 132KV_132KV 50MVA Transformer | 220KV_ITARSI | NON-OCCM-MP | Oil sampling & fixing of bend pipe on PRV work. | 28-10-2025 13:00:00 | 28-10-2025 17:00:00 | J.D.Khoria | 9425804975 | sub ld
15 | 2025-09-18 13:12 | MR2509/0414 | Continuous | 400KV_400KV KATNI - DAMOH LINE | 400KV_KATNI4 | OCCM-MP | TOWER STRENGTHENING WORK | 27-10-2025 09:00:00 | 01-11-2025 18:00:00 | SHRI M.M. BAIG | 9425805067 | Deffered
16 | 2025-10-27 11:26 | MR2510/0604 |  | 40MVA_132/33KV_TELK_X'mer_1 | 132KV_KHAPASWAMI | NON-OCCM-MP | POST MONSOON MAINTENANCE WORK. | 28-10-2025 11:00:00 | 28-10-2025 17:00:00 | S.K.OKTE | 7587951132 | o&m consent required
17 | 2025-10-27 12:15 | MR2510/0611 |  | 132KV_132KV Bargi and 132KV Bus Coupler | 132KV_LAKHNADONE | NON-OCCM-MP | Tan Delta Measurement of 06No. CTs | 28-10-2025 11:00:00 | 28-10-2025 14:00:00 | Seema Dongre | 8717944384 | ok
18 | 2025-10-27 11:37 | MR2510/0606 |  | 132KV_132/33 KV 63 MVA BBL X-MER | 132KV_MADHOTAL | NON-OCCM-MP | 132/33 KV 63 MVA BBL X-MER for Post monsoon maint | 28-10-2025 10:00:00 | 28-10-2025 17:00:00 | A.K. Pandey | 9424645081 | ok
19 | 2025-10-27 12:16 | MR2510/0612 |  | 220KV_200 MVA X-MER | 220KV_MALANPUR | NON-OCCM-MP | POST MONSOON MAINTENANCE WORK | 28-10-2025 10:00:00 | 28-10-2025 17:00:00 | VIKRAM AHIRWAR | 9425805415 | ok, through sub ld
20 | 2025-10-27 12:05 | MR2510/0609 |  | 132KV_132kV Mandla-Bichhiya CKT- II Line | 132KV_MANDLA | NON-OCCM-MP | Jumper Cone Tightening & Other Maint. Work | 28-10-2025 10:00:00 | 28-10-2025 18:00:00 | S.K. BHALADHARE | 9425807264 | ok, o&m to be informed
21 | 2025-10-27 16:12 | MR2510/0625 |  | 132KV_40 MVA BBL X-MER | 132KV_MANDLA | NON-OCCM-MP | POST MANSOON MAINTENANCE | 28-10-2025 09:00:00 | 28-10-2025 17:00:00 | R S BAIS | 9425163265 | o&m consent required
22 | 2025-10-27 15:34 | MR2510/0622 |  | 220KV_160 MVA X-mer-I Make-EMCO | 220KV_RAJGARH DHAR | NON-OCCM-MP | For post monsoon maintenance work. | 28-10-2025 10:00:00 | 28-10-2025 17:00:00 | Er. Manoj Randha | 9425820034 | ok, through sub ld
23 | 2025-10-02 11:16 | MR2510/0020 | Daily | 132KV_132kV Rampur Naikin - Beohari Ckt | 132KV_RAMPUR NAIKEN | NON-OCCM-MP | OPGW Work. | 03-10-2025 07:00:00 | 30-10-2025 19:00:00 | G.L Sahu | 9425805102 | data confirmation required from communication
24 | 2025-10-02 11:14 | MR2510/0019 | Daily | 132KV_132kV Rewa - jhinna | 220KV_REWA | NON-OCCM-MP | OPGW Work. | 03-10-2025 07:00:00 | 30-10-2025 19:00:00 | G.L Sahu | 9425805102 | data confirmation required from communication
25 | 2025-10-27 12:08 | MR2510/0610 |  | 132KV_132/33 KV 40 mva x-mer EMCO | 220KV_REWA | NON-OCCM-MP | Post monsoon maint.& Testing work | 28-10-2025 10:00:00 | 28-10-2025 17:00:00 | KANISHKA SINGH | 9425804656 | o&m consent required
26 | 2025-09-05 17:34 | MR2509/0126 | Continuous | 400KV_SARNI-ASHTA LINE -I | 400KV_SATPURA TPS | NON-OCCM-MP | Work of complete overhauling & testing of 400KV br | 27-10-2025 09:00:00 | 29-10-2025 18:00:00 | YASHWANT WARATHE | 9425611046 | Deffered
27 | 2025-09-02 14:10 | MR2509/0043 | Continuous | 220KV_160 MVA NGEF | 220KV_UJJAIN | NON-OCCM-MP | X-MER REPLACEMENT WORK BY NEW 160 MAV XMER | 03-09-2025 09:00:00 | 03-11-2025 18:00:00 | B.C JOSHI | 7587951137 | Continuous
28 | 2025-10-27 15:02 | MR2510/0621 | Continuous | 132KV_40 MVA XMER | 132KV_UMARIYA | NON-OCCM-MP | OLTC OIL LEAKAGE ATTENDING & 33KV RYB CT REPLACEME | 28-10-2025 09:00:00 | 29-10-2025 18:00:00 | TOSHAN SINGH | 9425809482 | ok
29 | 2025-10-27 16:17 | MR2510/0626 |  | 132KV_132 kV Umreth Parasiya RTS | 132KV_UMRETH | NON-OCCM-MP | Flash over disc replace and J/c,A/h,V/d tightening | 28-10-2025 10:00:00 | 28-10-2025 16:00:00 | A.M.Shende | 7587951136 | ok
30 | 2025-10-27 13:27 | MR2510/0616 |  | 220KV_160MVA X-MER-II BHEL | 220KV_VIDISHA | OCCM-MP | For suspected dc leakage of NIFPS & testing work | 28-10-2025 10:00:00 | 28-10-2025 17:00:00 | K.C GOSWAMI | 9425804976 | ok, through sub ld
31 |  |  |  | 132KV-VSTPS-WAIDHAN-2 | MADHYA PRADESH,NTPC |  | Annual Bay Maitenanace/ replacement of CRP | 28-Oct-2025 | 08:00 | 06-Nov-2025 | 18:00 | other ckt to be in service
S/I SLDC JABALPUR