## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-08-22 |  |  | APPROVED OUTAGE LIST FOR DATED 22.08.2025
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-08-21 15:38 | MR2508/0277 | Daily | 220KV_220 kV Anuppur-Kotmikala Circuit II | 220KV_ANUPPUR | NON-OCCM-MP | For resagging work of low ground Clearance mainten | 22-08-2025 08:00:00 | 25-08-2025 18:00:00 | Jitendra Tiwari | 9425805298 | ok
2 | 2025-08-21 15:54 | MR2508/0280 |  | 220KV_160MVA No-2 BBL | 400KV_ASHTA4 | OCCM-WR | Post monsoon maintenance and measurements of tan d | 22-08-2025 09:00:00 | 22-08-2025 18:00:00 | Jitendra Lohana | 9425804978 | ok, through sub ld
3 | 2025-08-21 15:16 | MR2508/0273 |  | 220KV_220kv main bus -1 | 220KV_BADNAGAR | OCCM-MP | For attending transfer Bay Main bus isolater allie | 22-08-2025 10:00:00 | 22-08-2025 17:00:00 | Poshkar kushwaha | 9425813990 | ok, through sub ld
4 | 2025-08-21 15:54 | MR2508/0279 |  | 220KV_220kV Chhatarpur-Ajaygarh (TBCB) Ckt. IInd Line | 220KV_CHATARPUR | NON-OCCM-MP | Slip VD Removal, AH tightening Work | 22-08-2025 10:00:00 | 22-08-2025 18:00:00 | Manoj Kumar Tiwari | 9425804993 | Deffered due to s/d on 220kv damoh tikamgarh MPPTCL Ckt
5 | 2025-08-12 17:20 | MR2508/0174 | Daily | 220KV_220KV South Zone (Indore) â¿¿ Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | . Replacement existing of 24 Fibre OPGW by 48 Fibr | 14-08-2025 07:00:00 | 31-08-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
6 | 2025-08-21 11:59 | MR2508/0264 |  | 132KV_132 kV Main Bus, 132 kV auxiliary bus, 500 MVA Transformer | 400KV_JULWANIYA4 | NON-OCCM-MP | Overhead stringing of Earth Wire | 22-08-2025 12:00:00 | 22-08-2025 16:00:00 | M.K.More | 8817566466 | sub ld
7 | 2025-08-21 15:37 | MR2508/0276 |  | 400KV_500 MVA X-mer-III (T&R) | 400KV_JULWANIYA4 | NON-OCCM-MP | Overhead eart wire stringing by (EHTC) Barwaha | 22-08-2025 11:00:00 | 22-08-2025 16:00:00 | M.K.More | 8817566466 | ok, through sub ld
8 | 2025-08-21 14:27 | MR2508/0269 |  | 160MVA_220/132KV_BHEL_X'mer_2 | 400KV_JULWANIYA4 | NON-OCCM-MP | Overhead stringing of Earth Wire | 22-08-2025 12:00:00 | 22-08-2025 16:00:00 | M.K. More | 8817566466 | ok, through sub ld
9 | 2025-06-30 15:24 | MR2506/0624 | Continuous | 400KV_400KV KATNI - DAMOH LINE | 400KV_KATNI4 | OCCM-MP | TOWER STRENGTHENING WORK | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | PANKAJ YADAV | 9406713326 | Deffered
10 | 2025-06-30 16:09 | MR2506/0633 | Continuous | 220KV_220KV KATNI - DAMOH LINE | 400KV_KATNI4 | NON-OCCM-MP | TOWER STRENTHENING WORK | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | PANKAJ YADAV | 9406713326 | Deffered
11 | 2025-08-20 11:52 | MR2508/0254 |  | 400KV_400kV Kirnapur - Seoni Line | 400KV_KIRNAPUR | OCCM-MP | Tightening Work of Suspension Clamp and other work | 22-08-2025 09:00:00 | 22-08-2025 18:00:00 | S.K. BHALADHARE | 9425807264 | ok
12 | 2025-08-21 14:31 | MR2508/0270 |  | 132KV_132 kv Jabalpur no -2 | 132KV_MADHOTAL | NON-OCCM-MP | Load shifting 132 JBP no. 2 to 132 kv Bus coupler | 22-08-2025 11:00:00 | 22-08-2025 14:00:00 | A.K. Pandey | 9424645081 | ok, line to be in service through TBC
13 | 2025-08-19 15:45 | MR2508/0252 |  | 400KV_400 KV Main Bus-1st at 400 KV Mandsaur | 400KV_MANDSOUR4 | NON-OCCM-MP | jampar work | 22-08-2025 10:00:00 | 22-08-2025 18:00:00 | J.P. Parmar | 9425806919 | Deffered not in WRPC list
14 | 2025-08-12 17:23 | MR2508/0175 | Daily | 220KV_220KV Mangliya -Jaitpura Line. | 220KV_MANGLIA2 | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 14-08-2025 07:00:00 | 31-08-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
15 | 2025-07-22 16:42 | MR2507/0344 | Daily | 132KV_132 kV Nepa - Pipalpani MPPTCL Line | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work Installation of OPGW | 01-08-2025 07:00:00 | 25-08-2025 19:00:00 | C.H.Namdev | 9425802377 | sub ld
16 | 2025-07-22 16:47 | MR2507/0345 | Daily | 132KV_132 kV Nepa - Dharni (MSPTCL) Line | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work For Installatin of OPGW | 01-08-2025 07:00:00 | 25-08-2025 19:00:00 | C.H.Namdev | 9425802377 | ok, line to be in service
17 | 2025-08-21 15:31 | MR2508/0274 |  | 220KV_220KV Pithampur-Pithampur Sector-1 line | 400KV_PITHAMPUR4 | NON-OCCM-MP | For CT Tan delta testing & Bay Maintenance work | 22-08-2025 10:00:00 | 22-08-2025 13:00:00 | Rajudas Bairagi | 9425801532 | ok, through sub ld
18 | 2025-08-21 15:35 | MR2508/0275 |  | 220KV_220KV Pithampur-Badnagar line | 400KV_PITHAMPUR4 | NON-OCCM-MP | For CT Tan delta testing & Bay Maintenance work | 22-08-2025 14:00:00 | 22-08-2025 18:00:00 | Rajudas Bairagi | 9425801532 | Deffered, due to s/d on 220kv Badnagar-Indore ckt
19 | 2025-08-21 12:33 | MR2508/0266 |  | 132KV_132KV SAGAR-GOURJHAMAR 2nd Ckt. LINE | 400KV_SAGAR | NON-OCCM-MP | Line maintenance work | 22-08-2025 10:00:00 | 22-08-2025 18:00:00 | J.P. Asati | 9424445533 | ok
20 | 2025-08-21 15:52 | MR2508/0278 |  | 132KV_132 KV Shahpura-Shrinagar DP Line | 132KV_SHAHPURA | NON-OCCM-MP | Flashover Disc replacement work at loc.No.15(Lilo) | 22-08-2025 10:00:00 | 22-08-2025 18:00:00 | Ashish Kumar | 9425805935 | ok
21 | 2025-08-21 15:04 | MR2508/0272 |  | 132KV_132kv Shivpuri Karahal line | 220KV_SHIVPURI | NON-OCCM-MP | Line Maintenance work | 22-08-2025 11:00:00 | 22-08-2025 15:00:00 | Suraj Pawar | 9425814079 | sub ld
22 | 2025-08-21 16:55 | MR2508/0282 |  | 132KV_132 KV Main bus, 132 KV Shivpuri-I feeder & 50 MVA X-mer at 132 KV S/s Karahal | 220KV_SHIVPURI | NON-OCCM-MP | Jumper work between main bus & isolator | 22-08-2025 11:00:00 | 22-08-2025 15:00:00 | Er. Ranjeet Kumar | 9425805309 | sub ld
23 | 2025-08-17 16:26 | MR2508/0215 | Continuous | 400KV_315 MVA, 400KV/220KV, Interconnecting Transformer- 2 | 400KV_SINGHAJI TPS | NON-OCCM-MP | Overhauling work | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | Yogesh Chouhan | 7999328631 | Continuous
24 | 2025-08-21 15:57 | MR2508/0281 |  | 132KV_132kv Tikamgarh-jatara line | 220KV_TIKAMGARH | NON-OCCM-MP | Shifting of 132kv LA | 22-08-2025 10:00:00 | 22-08-2025 17:00:00 | Pushpendra Kumar soni | 9425806398 | ok
25 | 2025-08-21 12:27 | MR2508/0265 |  | 220KV_220kv damoh tikamgarh MPPTCL Ckt | 220KV_TIKAMGARH | NON-OCCM-MP | f/o disc insulator replacement & line maintenance | 22-08-2025 10:00:00 | 22-08-2025 17:00:00 | pankaj yadav | 9406713326 | ok
26 | 2025-08-21 12:52 | MR2508/0267 |  | 132KV_132 kV Umreth-Sarni | 132KV_UMRETH | NON-OCCM-MP | F/o disc replace & Bird guard provide at various | 22-08-2025 09:00:00 | 22-08-2025 15:00:00 | A.M.Shende | 7587951136 | ok
27 | 2025-08-21 14:46 | MR2508/0271 |  | 220KV_220KV VIDISHA-BINA GCB | 220KV_VIDISHA | OCCM-MP | L/T ON 220KV B/C GCB | 22-08-2025 11:00:00 | 22-08-2025 17:00:00 | KC GOSWAMI | 9425804976 | ok, line to be in service through TBC, through sub ld
28 |  |  |  | 400KV-SEONI-KIRNAPUR-1 | MADHYA PRADESH,POWERGRID-WR1 (PGCIL) |  | FOR LINE MAINTENANCE WORK | 22-Aug-2025 | 09:00 | 22-Aug-2025 | 18:00 | ok
29 |  |  |  | 220KV-GWALIOR-MALANPUR-2 | MADHYA PRADESH |  | FOR LINE MAINTENANCE WORK | 22-Aug-2025 | 09:00 | 22-Aug-2025 | 17:00 | real time
30 |  |  |  | 220KV-ANNUPUR-KOTMIKALA-2 | MADHYA PRADESH,CHATTISGARH |  | for resagging work between loc 418-432 | 22-Aug-2025 | 08:00 | 22-Aug-2025 | 17:59 | ok
31 |  |  |  | 220KV-ITARSI-MP-ITARSI-2 | MADHYA PRADESH |  | for CT replacement work | 22-Aug-2025 | 07:00 | 22-Aug-2025 | 16:59 | ok, through sub ld
32
33 |  |  |  | 220KV-BETUL-PANDURNA-1 | MADHYA PRADESH |  | AMP works of line terminal equipments. And measurement of SF6 due point of CB to complete Corporate SIR Clause B Point 1.Dia to be kept open at both ends. | 22-Aug-2025 | 09:00 | 22-Aug-2025 | 18:00 | ok, through sub ld
34 |  |  |  | 400KV-INDORE-MP-ASOJ-1 | POWERGRID-WR2 (PGCIL) |  | Attending S/D nature defect in line. Dia to be kept open at both ends. | 22-Aug-2025 | 09:00 | 22-Aug-2025 | 18:00 | ok, through sub ld
35
36 |  |  |  | 132KV-DHARNI-NEPANAGAR-1 | MAHARASHTRA |  | A/R off required for OPGW installation work of 24/48 core OPGW by replacing E/W for implementation of OPGW based reliable communication scheme | 22-Aug-2025 | 07:00 | 22-Aug-2025 | 18:59 | ok
S/I SLDC JABALPUR