## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2026-10-30 |  |  | APPROVED OUTAGE LIST FOR DTD.30.10.2026
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2026-10-29 16:03 | MR2610/0764 |  | 132KV_63 MVA X-mer No-III (BBL) | 132KV_BALAGHAT | NON-OCCM-MP | For Post-monsoon maint. Work | 30-10-2026 09:00:00 | 30-10-2026 17:00:00 | Sandeep Damahe | 9425805009 | ok
2 | 2026-10-28 12:03 | MR2610/0725 | Daily | 132KV_132 kV Bargi- Lakhnadaun | 132KV_BARGI | NON-OCCM-MP | More than 35 year string replaced through contract | 29-10-2026 08:00:00 | 07-11-2026 18:00:00 | Jitendra Tiwari | 9425805298 | ok
3 | 2026-10-29 14:50 | MR2610/0757 |  | 132KV_132kV Bairagarh Bhopal Tap LalGhati line isolator | 220KV_BHOPAL | NON-OCCM-MP | hot point attend work | 30-10-2026 09:00:00 | 30-10-2026 11:00:00 | A K JAIN | 9425806899 | sub ld
4 | 2026-10-29 14:17 | MR2610/0751 |  | 132KV_20 MVA NGEF TRANSFORMER II | 132KV_CHANDERI | NON-OCCM-MP | POST MONSOON MAINTENANCE WORK | 30-10-2026 09:30:00 | 30-10-2026 18:00:00 | ER LALIT SINGH | 9425806845 | sub ld
5 | 2026-10-29 11:42 | MR2610/0732 |  | 132KV_160 MVA Transformer AREVA | 220KV_CHATARPUR | NON-OCCM-MP | For Post Monsoon Maintenance | 30-10-2026 09:30:00 | 30-10-2026 17:30:00 | Brajendra Soni | 9131327770 | ok
6 | 2026-10-29 13:55 | MR2610/0748 |  | 400KV_125Mvar Bus reactor - II ( T & R ) | 400KV_CHHEGAON4 | NON-OCCM-WR | Post Mansoon Maintanance | 30-10-2026 10:00:00 | 30-10-2026 18:00:00 | Ganesh Manshare | 942582441 | ok through sub ld
7 | 2026-10-24 15:07 | MR2610/0619 | Daily | 132KV_132kV Dindori Gorakhpur Line Ckt-I & II Line | 132KV_DINDORI | NON-OCCM-MP | Hot Line OPGW Work & Other Line Maintenance Work | 25-10-2026 07:00:00 | 05-11-2026 19:00:00 | S.K. BHALADHARE | 9425807264 | ok line to be in service.
8 | 2026-10-29 15:56 | MR2610/0763 |  | 220KV_160 MVA TRANSFORMER 2 MAKE BBL | 220KV_INDORE-NZ | NON-OCCM-MP | Post Maintenance and testing work | 30-10-2026 09:30:00 | 30-10-2026 17:00:00 | Chandrakant Kaushal | 9425801530 | real time as per loading condition
9 | 2026-10-26 11:27 | MR2610/0643 | Continuous | 400KV_315 MVA 400/220 KV ICT- IV (Make- EMCO) | 400KV_INDORE4 | NON-OCCM-MP | for Post monsoon maintenance. | 29-10-2026 10:00:00 | 30-10-2026 18:00:00 | Er.Atul Paradkar | 9425804929
10 | 2026-09-29 21:21 | MR2609/0609 | Continuous | 400KV_400KV_400KV BUS-2 (BUS-B) | 400KV_JP BINA | NON-OCCM-WR | PM of BUS-2 (BUS-B, BAY-1 & BAY-5) | 20-10-2026 09:00:00 | 31-10-2026 18:00:00 | KRISHNA SINGH THAKUR | 7987976012 | deferred
11 | 2026-10-29 14:33 | MR2610/0753 |  | 400KV_315 MVA X Mer-II (EMCO) | 400KV_JULWANIYA4 | NON-OCCM-WR | Shutdown required on 315MVA X-merâ¿¿II (EMCO) for B | 30-10-2026 10:00:00 | 30-10-2026 16:00:00 | AE M.L. Badole | 9131865464 | ok through sub ld
12 | 2026-10-29 14:35 | MR2610/0754 |  | 132KV_132/33 KV 40 MVA BBL X-MER | 132KV_KATANGI_JBP | NON-OCCM-MP | Post-monsoon maintenance & testing work | 30-10-2026 10:00:00 | 30-10-2026 17:00:00 | Shri A. K. Pandey | 9424645081 | ok, o&m consent required
13 | 2026-10-29 15:32 | MR2610/0759 |  | 132KV_Shutdown on 132KV KATNI I/C NO. 1 Feeder, at 132 kv s/s Katni. | 132KV_KATNI | NON-OCCM-MP | for line isolator aliment and earth switch aliment | 30-10-2026 10:00:00 | 30-10-2026 18:00:00 | R P RAWAT | 9907030507 | ok ,salimnabad ckt to be open if required.
14 | 2026-10-29 12:12 | MR2610/0737 |  | 132KV_132KV Khapaswami-Sarni Feeder. | 132KV_KHAPASWAMI | NON-OCCM-MP | Post monsoon maintenance work. | 30-10-2026 10:00:00 | 30-10-2026 15:00:00 | S.K.Okte | 7587951132 | ok through sub ld
15 | 2026-10-29 12:42 | MR2610/0740 |  | 132KV_132kV Mahalgaon - RTS ckt-1 | 220KV_MAHALGAON | NON-OCCM-MP | Line Maintenance work | 30-10-2026 10:00:00 | 30-10-2026 17:00:00 | Pankaj Kumar | 9425805317 | sub ld
16 | 2026-10-29 13:03 | MR2610/0743 |  | 220KV_160 MVA XMER-2 IMP MAKE | 220KV_MANDIDEEP | NON-OCCM-MP | Post Mansoon Maintenance Work | 30-10-2026 10:00:00 | 30-10-2026 17:00:00 | A.K. VERMA | 9425801324 | real time after load management
17 | 2026-10-29 12:25 | MR2610/0738 |  | 132KV_63 MVA BBL X-mer No -1 | 132KV_MANSAKRA | NON-OCCM-MP | POST MONSOON MAINTENANCE | 30-10-2026 10:00:00 | 30-10-2026 18:00:00 | R.P.RAWAT | 9907030507 | ok
18 | 2026-10-29 13:15 | MR2610/0744 |  | 132KV_40 MVA X-mer-I make EMCO | 132KV_MEGHNAGAR | NON-OCCM-MP | Post monsoon maintenance & Testing work. | 30-10-2026 18:00:00 | 30-10-2026 22:00:00 | Er. Varsingh Mohniya | 7987080020 | sub ld
19 | 2026-10-16 17:17 | MR2610/0466 | Continuous | 132KV_132 kV Moondi - Kalisindh PH-1 & PH-2 (NVDA) Line | 132KV_MOONDI | NON-OCCM-WR | For Tower Final Checking & Stringing 2 ckt entire | 17-10-2026 08:00:00 | 31-10-2026 18:00:00 | Nitin Girdonia | 9425804899 | sub ld
20 | 2026-10-25 16:43 | MR2610/0641 | Daily | 132KV_132kV Nainpur Ghansour Line | 132KV_NAINPUR | NON-OCCM-MP | OPGW replacement work | 26-10-2026 07:00:00 | 05-11-2026 19:00:00 | Amol Shende | 7587951136 | ok ,line to be in service.
21 | 2026-10-29 11:37 | MR2610/0730 |  | 220KV_220KV Main bus-IInd | 220KV_NALKHEDA | NON-OCCM-WR | 220KV Bus tie R-ph Mainbus Isolator clamp Hotpoint | 30-10-2026 12:00:00 | 30-10-2026 16:00:00 | VKGupta | 9425801214 | ok through sub ld,try to shift parallelly
22 | 2026-10-29 15:25 | MR2610/0758 | Continuous | 132KV_132KV Narsinghpur-Interconnector no -2 | 132KV_NARSINGHPUR1 | NON-OCCM-MP | Fly over jumper Replacement work by Apar industrie | 30-10-2026 08:00:00 | 31-10-2026 18:00:00 | DINESH KUSHWAHA | 9425182413 | ok ,o&m to be informed for load management.
23 | 2026-10-29 15:52 | MR2610/0761 |  | 132KV_40MVA BHEL XMER | 220KV_PANAGAR | NON-OCCM-MP | Shutdown for post monsoon maintenance | 30-10-2026 10:00:00 | 30-10-2026 17:00:00 | imran khan Mansoori | 9993661506 | ok
24 | 2026-10-27 14:45 | MR2610/0702 | Daily | 220KV_220 KV Panagar- Amarkantak line | 220KV_PANAGAR | NON-OCCM-MP | Jumper tightening by Contract basis | 28-10-2026 08:00:00 | 03-11-2026 18:00:00 | Jitendra Tiwari | 9425805298 | real time
25 | 2026-10-29 13:39 | MR2610/0747 |  | 132KV_132/33kv 63MVA Transformer-2 | 220KV_PANDHURNA | OCCM-MP | Post Monsoon Mantenance work. | 30-10-2026 10:00:00 | 30-10-2026 17:00:00 | Sanjay Shende | 9425811447 | ok
26 | 2026-10-29 13:18 | MR2610/0745 |  | 220KV_220 KV Pichhore Datia line | 220KV_PICHHORE | NON-OCCM-MP | Flash over disc replacement work and other line ma | 30-10-2026 09:00:00 | 30-10-2026 17:00:00 | Satish Kumar Bhagat | 9425806916 | ok through sub ld
27 | 2026-10-29 16:43 | MR2610/0765 |  | 400KV_315 MVA ICT-II Make-CGL | 400KV_PITHAMPUR4 | NON-OCCM-MP | Post monsoon maintenance and testing work | 30-10-2026 09:00:00 | 30-10-2026 17:00:00 | Rajudas Bairagi | 9425801532 | Real time after 10:00 hrs.
28 | 2026-10-29 11:43 | MR2610/0733 |  | 132KV_132/33 KV 50 MVA ATLANTA XMER-2 | 132KV_PONDER | NON-OCCM-MP | POST MANSOON MAINTENANCE | 30-10-2026 10:00:00 | 30-10-2026 17:00:00 | MUKESH AGRAWAL | 9425805687 | ok
29 | 2026-10-29 14:41 | MR2610/0756 |  | 132KV_132 kv Rewa Interconnector Ckt-I line | 220KV_REWA | NON-OCCM-MP | Jumper cone tightening work | 30-10-2026 11:00:00 | 30-10-2026 16:00:00 | Mr. Ajay Kumar Chaurasia | 9425805081 | deferred due to satna 132 kv bus s/d
30 | 2026-10-29 12:01 | MR2610/0734 |  | 220KV_160 mva - II | 220KV_SAILANA2 | NON-OCCM-MP | oil topping | 30-10-2026 09:00:00 | 30-10-2026 17:00:00 | Rakesh kumar badgotya | 8305447051 | ok through sub ld
31 | 2026-10-29 14:26 | MR2610/0752 |  | 132KV_40 MVA X-MER BHEL | 220KV_SARNI | NON-OCCM-MP | POST MONSOON MAINT. WORK | 30-10-2026 10:00:00 | 30-10-2026 17:00:00 | ANUP KUMAR DANGE | 9425814073 | sub ld
32 | 2026-10-29 12:54 | MR2610/0741 |  | 132KV_132 KV Main bus no 1 | 220KV_SATNA | NON-OCCM-MP | attend 132 Majhgawan dropper jumper and maint.work | 30-10-2026 09:30:00 | 30-10-2026 17:00:00 | Poskar kushwaha | 9425813990 | ok ,o&m to be informed for load management.
33 | 2026-10-29 14:38 | MR2610/0755 |  | 132KV_13240mva xmer make ABB | 220KV_SATNA | OCCM-MP | For postmansoon maintenance and testing work | 30-10-2026 10:00:00 | 30-10-2026 17:00:00 | Poshkar kushwaha | 9425813990 | ok
34 | 2026-10-29 12:55 | MR2610/0742 |  | 132KV_132 KV Main bus no 1 | 220KV_SATNA | NON-OCCM-MP | attend 132 Majhgawan dropper jumper and maint.work | 30-10-2026 09:30:00 | 30-10-2026 17:00:00 | Poskar kushwaha | 9425813990 | ok
35 | 2026-10-29 11:41 | MR2610/0731 |  | 132KV_50 MVA TAL Transformer | 220KV_SHAHDOL | NON-OCCM-MP | Post-monsoon maintenance and testing work | 30-10-2026 10:00:00 | 30-10-2026 18:00:00 | VIJAY KUMAR SAHU | 9425814035 | ok
36 | 2026-10-29 12:10 | MR2610/0735 |  | 220KV_160 MVA transformer no 2nd BBL | 220KV_SHEOPUR KALAN2 | NON-OCCM-MP | Shutdown Proposed on 160 MVA transformer no 2nd B | 30-10-2026 09:00:00 | 30-10-2026 17:00:00 | Dharmandra Uikey | 8236941498 | Real time
37 | 2026-10-29 12:37 | MR2610/0739 |  | 40MVA_132/33KV_IMP_X'mer | 220KV_SIRMOUR | NON-OCCM-MP | Post Monsoon Maintinance | 30-10-2026 10:00:00 | 30-10-2026 16:00:00 | Man Singh | 7987903945 | ok get the O&M consent.
38 | 2026-10-19 13:55 | MR2610/0482 | Continuous | 220KV_160 mva 2nd bbl-make Transformer | 220KV_TIKAMGARH | NON-OCCM-MP | Oil leakage attend from bell-tank | 22-10-2026 10:00:00 | 31-10-2026 17:00:00 | Pushpendra Kumar soni | 9425806398 | continuous
39 | 2026-10-29 14:11 | MR2610/0749 |  | 220KV_160 MVA BBL X-MER | 220KV_UJJAIN | NON-OCCM-MP | Post Monsoon Maintanance work | 30-10-2026 09:00:00 | 30-10-2026 17:00:00 | B.C JOSHI | 7587951137 | real time, through sub ld
40 | 2026-10-29 14:11 |  |  | 160 mva x-mer areva | 220 kv Barnagar | non | pmm | 30.10.26 12:00 | 30-10-2026 17:00:00 |  |  | deferred due to ujjain 160 mva x-mer s/d
S/I ,SLDC MPPTCL JBP