## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-10-15 |  |  |  |  | 2025-10-15
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-10-14 15:23 | MR2510/0435 |  | 220KV_220kV Barwahaâ Nimrani Tap Omkareshwar feeder | 220KV_BARWAHA | NON-OCCM-MP | Main-2 DPR Relay Testing and Commissioning work | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | Er.Imran Beg | 9425805200 | ok, through sub ld
2 | 2025-10-14 13:33 | MR2510/0422 |  | 132KV_Betul-Bisnoor Ckt. II | 220KV_BETUL | NON-OCCM-MP | Bird Guard Installation work | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | SHIV KUMAR | 9425806917 | sub ld
3 | 2025-10-14 15:57 | MR2510/0442 |  | 160MVA_220/132KV_BHEL_Xmer_3 | 220KV_BHOPAL | NON-OCCM-MP | Post monsoon Maintenance | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | A K Jain | 9425806899 | Deffered due to s/d on 220 KV Itarsi(PGCIL)-Hoshangabad- I
4 | 2025-10-13 10:21 | MR2510/0350 | Continuous | 400KV_315 MVA X-MER NO.-4 | 400KV_BHOPAL4 | NON-OCCM-MP | FOR POST-MONSOON MAINT. & TESTING WORK | 15-10-2025 09:00:00 | 16-10-2025 18:00:00 | AKRAM KHAN | 9425804695 | Deffered due to s/d on 220 KV Itarsi(PGCIL)-Hoshangabad- I
5 | 2025-10-14 14:38 | MR2510/0428 |  | 220KV_220 KV Bina-Guna Ckt | 400KV_BINA4 | NON-OCCM-MP | For line maintenance work. | 15-10-2025 10:00:00 | 15-10-2025 18:00:00 | Sanjay Singh Thakur | 9425806936 | ok, through sub ld
6 | 2025-10-14 13:03 | MR2510/0415 |  | 400KV_50MVAr Bus Reactor(BHEL) | 400KV_BINA4 | NON-OCCM-MP | Post Mansoon Maintenace Work. | 15-10-2025 09:00:00 | 15-10-2025 14:00:00 | Mr.P.N.Namdeo | 7587951092 | ok, through sub ld
7 | 2025-10-14 14:52 | MR2510/0430 |  | 220KV_220 KV Bina Pichhore line | 400KV_BINA4 | NON-OCCM-MP | Jumper cone tightning and disc replacement work | 15-10-2025 09:00:00 | 15-10-2025 18:00:00 | Satish Kumar Bhagat | 9425806916 | ok, through sub ld
8 | 2025-10-14 12:34 | MR2510/0412 |  | 220KV_220 KV MAIN BUS-1 | 220KV_BIRSINGHPUR | NON-OCCM-MP | 220KV JABAPLPUR-1 MAIN BUS ISO B-PH HOT POINT ATTE | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | TOSHAN SINGH | 9425809482 | ok, after load management
9 | 2025-10-14 13:12 | MR2510/0416 |  | 220KV_220 KV SGTPS CKT-1 | 220KV_BIRSINGHPUR | NON-OCCM-MP | 220 KV MAIN BUS-1 SD | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | TOSHAN SINGH | 9425809482 | ok, after load management
10 | 2025-10-14 13:14 | MR2510/0417 |  | 220KV_220 KV SGTPS CKT-2 | 220KV_BIRSINGHPUR | NON-OCCM-MP | 220KV MAIN BUS-1 SD | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | TOSHAN SINGH | 9425809482 | ok, after load management
11 | 2025-10-14 13:16 | MR2510/0418 |  | 220KV_220KV HYDEL FEEDER | 220KV_BIRSINGHPUR | NON-OCCM-MP | 220KV MAIN BUS-1 SD | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | TOSHAN SINGH | 9425809482 | ok, after load management
12 | 2025-10-14 13:20 | MR2510/0420 |  | 220KV_220KV 160 MVA XMER | 220KV_BIRSINGHPUR | NON-OCCM-MP | 220KV MAIN BUS-1 SD | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | TOSHAN SINGH | 9425809482 | ok, after load management
13 | 2025-10-14 13:18 | MR2510/0419 |  | 220KV_220 KV JABALPUR CKT-1 | 220KV_BIRSINGHPUR | NON-OCCM-MP | 220 KV MAIN BUS-1 SD | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | TOSHAN SINGH | 9425809482 | ok, after load management
14 | 2025-10-14 15:27 | MR2510/0436 |  | 220KV_160 MVA X-MER -I MAKE BBL | 220KV_CHANERA | NON-OCCM-MP | POST MONSOON MAINTENANCE WORK | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | SUKHRAM BADKHANE | 8462074203 | ok, through sub ld
15 | 2025-10-14 11:23 | MR2510/0404 |  | 220KV_220kV Chhatarpur-Ajaygarh (TBCB) Ckt. Ist Line | 220KV_CHATARPUR | NON-OCCM-MP | AH/VD Provided & other Line maintenance work | 15-10-2025 10:00:00 | 15-10-2025 18:00:00 | Manoj Kumar Tiwari | 9425804993 | ok
16 | 2025-10-14 15:12 | MR2510/0434 |  | 220KV_220 kv SSTPh Chhegaon ckt -1 | 400KV_CHHEGAON4 | NON-OCCM-MP | Line maintenace work | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | Naresh Pandre | 9425806905 | ok, through sub ld
17 | 2025-10-14 14:38 | MR2510/0427 |  | 160MVA_220/132KV_AREVA _X'mer_1 | 220KV_CHHINDWARA | NON-OCCM-MP | POST MANSOON MAINTENANCE WORK | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | A.A.QURESHI | 9425804318 | ok
18 | 2025-09-18 17:20 | MR2509/0454 | Continuous | 220KV_220KV DAMOH - KATNI LINE | 220KV_DAMOH | NON-OCCM-MP | TOWER STRENGTHENING WORK | 13-10-2025 09:00:00 | 18-10-2025 18:00:00 | SHRI M.M. BAIG | 9425805067 | Deffered
19 | 2025-10-02 11:21 | MR2510/0022 | Daily | 132KV_132kV Deolond - Beohari Ckt | 132KV_DEVLOND | NON-OCCM-MP | OPGW Work | 03-10-2025 07:00:00 | 30-10-2025 19:00:00 | G.L Sahu | 9425805102 | Data communication confirmation required
20 | 2025-10-02 11:19 | MR2510/0021 | Daily | 132KV_132kV Deolond - Jhinna ckt | 132KV_DEVLOND | NON-OCCM-MP | OPGW Work | 03-10-2025 07:00:00 | 30-10-2025 19:00:00 | G.L Sahu | 9425805102 | Data communication confirmation required
21 | 2025-10-14 14:41 | MR2510/0429 |  | 132KV_132kV Anuppur - Dongrital Ckt | 132KV_DONGRITAL | NON-OCCM-MP | Disc Replacement Work. | 15-10-2025 08:00:00 | 15-10-2025 17:00:00 | G.L Sahu | 9425805102 | ok
22 | 2025-10-14 15:38 | MR2510/0439 |  | 132KV_50MVA 132/33KV BBL Make X-mer | 132KV_GADARWARA | NON-OCCM-MP | Post monsoon bay & Maintenance work | 15-10-2025 10:00:00 | 15-10-2025 18:00:00 | Rajesh Kumar Chaturvedi | 9425805203 | o&m consent required
23 | 2025-10-13 16:44 | MR2510/0400 |  | 220KV_220 KV Itarsi(PGCIL)-Hoshangabad- I | 220KV_HOSHANGABAD | OCCM-MP | DISC WASHING & ETC WORK(OCCM APPROVED) | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | Ashutosh Rai | 9425806902 | ok, through sub ld, outage shall be completed by 15 hrs positively in view of the increasing load
24 | 2025-10-13 16:16 | MR2510/0394 |  | 220KV_220 KV HOSHANGABAD -PGCIL NO. 1 FEEDER | 220KV_HOSHANGABAD | NON-OCCM-MP | POST MANSOON MAINTENANCE & TESTING WORK | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | V.P.DWIVEDI | 9425804799 | as opportunity s/d
25 | 2025-10-14 11:43 | MR2510/0406 | Continuous | 132KV_NORTHZONE-CHAMBLE CKT-1 LINE | 220KV_INDORE-NZ | NON-OCCM-MP | DAMAGE CONDUCTOR REPLACEMENT WORK | 14-10-2025 22:00:00 | 15-10-2025 08:00:00 | A.R. KANEL | 9425805217 | sub ld
26 | 2025-10-13 09:26 | MR2510/0349 |  | 220KV_220KV Indore-South zone-3 | 400KV_INDORE4 | NON-OCCM-MP | For post monsoon maintenance work. | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | Er.ATUL PARADKAR | 9425804929 | ok, through sub ld
27 | 2025-10-13 11:03 | MR2510/0351 | Daily | 220KV_220 KV Itarsi-Handia Ckt-II | 220KV_ITARSI | NON-OCCM-MP | Replacement of Single to Double Insulator work | 14-10-2025 09:00:00 | 15-10-2025 18:00:00 | Ashutosh Rai | 9425806902 | ok, through sub ld
28 | 2025-10-13 16:19 | MR2510/0396 |  | 132KV_63 MVA VIJAI TRANSFORMER | 220KV_JABALPUR | NON-OCCM-MP | 33 CT REPLACMENT & POST MANSOON MANTENENC | 15-10-2025 08:00:00 | 15-10-2025 18:00:00 | D.N PODDAR | 9425805034 | ok, o&m shall be informed
29 | 2025-09-04 18:07 | MR2509/0113 |  | 400KV_400K JP BINA -MP BINA LINE | 400KV_JP BINA | NON-OCCM-WR | low line to line clearance | 15-10-2025 07:00:00 | 15-10-2025 19:00:00 | Krishna Singh Thakur | 7987976012 | Deffered by site
30 | 2025-09-04 18:15 | MR2509/0115 |  | 400KV_400 KV JP PG - BINA PG LINE | 400KV_JP BINA | NON-OCCM-WR | Low line to line clearance | 15-10-2025 07:00:00 | 15-10-2025 19:00:00 | Krishna Singh Thakur | 7987976012 | Deffered by site
31 | 2025-10-14 15:47 | MR2510/0441 |  | 400KV_400KV JP BINA-MP BINA LINE | 400KV_JP BINA | NON-OCCM-WR | for tree trimming | 15-10-2025 10:00:00 | 15-10-2025 14:00:00 | Krishna Singh Thakur | 7987976012 | ok
32 | 2025-10-14 15:01 | MR2510/0432 |  | 220KV_220KV 160MVA X MER -I ( AREVA) | 220KV_JULWANIYA | NON-OCCM-MP | Post monsoon maintenance work | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | Sh. G. P. Mishra Sir | 9425806931 | ok, through sub ld
33 | 2025-10-14 15:05 | MR2510/0433 |  | 220KV_220/132KV 160MVA X-mer BBL | 220KV_KANWAN2 | NON-OCCM-MP | For postmansoon maitenance and testing work | 15-10-2025 09:00:00 | 15-10-2025 18:00:00 | Er. Abhishek Verma | 9340855901 | ok, through sub ld
34 | 2025-10-14 11:54 | MR2510/0407 |  | 132KV_40MVA XMER 01 | 132KV_KARERA | NON-OCCM-MP | Post monsoon maintenance and testing work | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | Virendra K Ahirwar | 9425801438 | sub ld
35 | 2025-09-18 13:00 | MR2509/0411 | Continuous | 400KV_400KV DAMOH - KATNI LINE | 400KV_KATNI4 | OCCM-MP | TOWER STRENGTHENING WORK | 13-10-2025 09:00:00 | 18-10-2025 18:00:00 | SHRI M.M. BAIG | 9425805067 | Deffered
36 | 2025-10-14 12:36 | MR2510/0413 |  | 132KV_40 MVA X-mer (IMP) | 132KV_LALBARRA | NON-OCCM-MP | post monsoon maint. work. | 15-10-2025 09:00:00 | 15-10-2025 17:00:00 | Swati Bisen | 9425801737 | ok
37 | 2025-10-14 15:29 | MR2510/0437 |  | 220KV_160 MVA X-Mer EMCO | 220KV_MAIHAR | NON-OCCM-MP | Replacement of 220KV RYB CT Due to High Tan Delta. | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | Arun Kumar Kol | 9425802368 | ok
38 | 2025-10-14 09:59 | MR2510/0403 |  | 220KV_160MVA X-MER-II CGL | 220KV_MALANPUR | NON-OCCM-MP | Post Monsoon Maintenance | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | Vikram Ahirwar | 9425805415 | ok, through sub ld
39 | 2025-10-14 14:31 | MR2510/0426 |  | 132KV_132kV Mandla-Maneri Line | 132KV_MANDLA | NON-OCCM-MP | Jumper Cone Tightening & Other Maint. Work | 15-10-2025 10:00:00 | 15-10-2025 18:00:00 | S.K. BHALADHARE | 9425807264 | Deffered due to s/d on Birsinghpur bus
40 | 2025-10-14 16:36 | MR2510/0443 |  | 132KV_20 mva x-mer gec | 132KV_MANERI | NON-OCCM-MP | Post mansoon maintenance work | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | S K Jain | 9425385281 | ok
41 | 2025-10-14 09:38 | MR2510/0402 |  | 220KV_100 MVA AREVA TRANSFORMER | 220KV_NAGDA | NON-OCCM-MP | REPLACEMENT OF 33KV R&Y PH BUSHING OF IC-2 | 15-10-2025 09:00:00 | 15-10-2025 18:00:00 | VIKRAM DEHARIYA | 7000276050 | ok, through sub ld
42 | 2025-10-14 12:53 | MR2510/0414 |  | 400KV_400KV Nagda-ISP Line | 400KV_NAGDA4 | OCCM-MP | Line Maintenance work. | 15-10-2025 10:00:00 | 15-10-2025 18:00:00 | Kamal Solanki | 9425805262 | ok, through sub ld
43 | 2025-10-14 15:31 | MR2510/0438 |  | 132KV_Unit No.2 | 132KV_PENCH | NON-OCCM-MP | Repair if Thyristor Bridge | 15-10-2025 10:00:00 | 15-10-2025 15:00:00 | Arun Mungole | 8329756200 | as per the system requirement
44 | 2025-10-09 11:27 | MR2510/0244 | Daily | 125MVAR_LINE_Reactor__Of_1886 | 400KV_PITHAMPUR4 | NON-OCCM-MP | Radiator oil leakage attend work | 15-10-2025 10:00:00 | 16-10-2025 17:00:00 | Rajudas bairagi | 9425801532 | ok, through sub ld
45 | 2025-10-14 14:04 | MR2510/0424 |  | 220KV_220KV 160MVA X-mer 1-st AREVA. | 220KV_RAJGARH (BIAORA) | NON-OCCM-MP | post mansoon maintenance work | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | Neelesh Bastri | 9425804342 | ok, through sub ld
46 | 2025-10-02 11:16 | MR2510/0020 | Daily | 132KV_132kV Rampur Naikin - Beohari Ckt | 132KV_RAMPUR NAIKEN | NON-OCCM-MP | OPGW Work. | 03-10-2025 07:00:00 | 30-10-2025 19:00:00 | G.L Sahu | 9425805102 | Data communication confirmation required
47 | 2025-10-02 11:14 | MR2510/0019 | Daily | 132KV_132kV Rewa - jhinna | 220KV_REWA | NON-OCCM-MP | OPGW Work. | 03-10-2025 07:00:00 | 30-10-2025 19:00:00 | G.L Sahu | 9425805102 | Data communication confirmation required
48 | 2025-10-14 12:02 | MR2510/0408 |  | 132KV_132kv Sagar-Gourjhamar 1st Ckt. Line | 400KV_SAGAR | NON-OCCM-MP | Line maintenance work | 15-10-2025 10:00:00 | 15-10-2025 18:00:00 | J.P. Asati | 9424445533 | ok
49 | 2025-10-14 13:29 | MR2510/0421 |  | 400KV_400/220KV 315MVA CGL TRANSFORMER-1 | 400KV_SAGAR | NON-OCCM-MP | POSTMANSOON MAINTENANCE AND TESTING | 15-10-2025 09:00:00 | 15-10-2025 18:00:00 | SRAJAN SISODIYA | 7879960164 | ok
50 | 2025-10-14 14:53 | MR2510/0431 |  | 132KV_Shutdown (H/T) of 132 kv Sirmaur-Dabhaura RTS (Radial) Feeder | 220KV_SIRMOUR | NON-OCCM-MP | Flash over disc replacement work | 15-10-2025 11:00:00 | 15-10-2025 15:00:00 | Mr. Ajay Kumar Chaurasia | 9425805081 | ok
51 | 2025-10-14 13:36 | MR2510/0423 |  | 50MVA_132/33KV_BHEL_Xmer_2 | 220KV_SIRMOUR | NON-OCCM-MP | Post monsoon maintenance & Testing Work | 15-10-2025 10:00:00 | 15-10-2025 17:00:00 | Mr. Indrajeet Singh | 9424734033 | ok
52 | 2025-09-02 14:10 | MR2509/0043 | Continuous | 220KV_160 MVA NGEF | 220KV_UJJAIN | NON-OCCM-MP | X-MER REPLACEMENT WORK BY NEW 160 MAV XMER | 03-09-2025 09:00:00 | 03-11-2025 18:00:00 | B.C JOSHI | 7587951137 | Continuous
53 | 2025-10-14 14:06 | MR2510/0425 |  | 220KV_220kv Interconnector ckt.IV | 400KV_UJJAIN4 | NON-OCCM-MP | SF6 GAS REFILLING WORK | 15-10-2025 11:00:00 | 15-10-2025 12:00:00 | MR.SANTOSH CHAVRASIA | 9425804677 | ok, through sub ld, line to be in service through TBC
54 |  | 265189 |  | SHUJALPUR - 400KV - BUS 2 | POWERGRID_WR2 | WR | AMP WORK OF 400KV - BUS -2 | 08:00 | 17:30 |  |  | ok
55 |  | 264602 |  | SATNA - 220KV - BUS 1 | POWERGRID_WR2 | WR | For integration of relays of upcoming 220kV bays in existing system | 09:00 | 18:00 |  |  | ok
56 |  | 265933 |  | 400KV-BADNAWAR-RAJGARH-1 | MP_SLDC | WR | FOR LINE MAINTENANCE WORK i.e. CLEANING OF DISC INSULATORS DURING LINE PATROLLING , REPLACEMENT OF FLASHOVERED DISC INSULATORS, TREE BRANCH CUTTING ETC AT VARIOUS TOWER LOCATIONS | 08:00 | 18:00 |  |  | real time
57 |  | 265962 |  | 220KV-GWALIOR-MAHALGAON-2 | MP_SLDC | WR | FOR BAY MAINTENANCE & TESTING WORK AT SUBSTASTION, REPLACEMENT OF DAMAGED CLAMPS/JUMPERS ETC. | 09:00 | 17:00 |  |  | real time
58 |  | 265963 |  | 220KV-KHANDWA-NEPANAGAR-1 | MP_SLDC | WR | FOR LINE MAINTENANCE WORK i.e. CLEANING OF DISC INSULATORS DURING LINE PATROLLING , REPLACEMENT OF FLASHOVERED DISC INSULATORS, TREE BRANCH CUTTING ETC AT VARIOUS TOWER LOCATIONS | 08:00 | 18:00 |  |  | real time
59 |  | 265964 |  | 220KV-SHUJALPUR-SHUJALPUR-MP-2 | MP_SLDC | WR | FOR BAY MAINTENANCE & TESTING WORK AT SUBSTASTION, REPLACEMENT OF DAMAGED CLAMPS/JUMPERS ETC. | 08:00 | 18:00 |  |  | real time
60 |  | 265965 |  | 220KV-HOSHANGABAD-ITARSI-1 | MP_SLDC | WR | FOR LINE MAINTENANCE WORK i.e. CLEANING OF DISC INSULATORS DURING LINE PATROLLING , REPLACEMENT OF FLASHOVERED DISC INSULATORS, TREE BRANCH CUTTING ETC AT VARIOUS TOWER LOCATIONS | 09:00 | 17:00 |  |  | ok, through sub ld, outage shall be completed by 15 hrs positively in view of the increasing load
61 |  | 265966 |  | 220KV-SEONI-MP-SEONI-PG-2 | MP_SLDC | WR | FOR LINE MAINTENANCE WORK i.e. CLEANING OF DISC INSULATORS DURING LINE PATROLLING , REPLACEMENT OF FLASHOVERED DISC INSULATORS, TREE BRANCH CUTTING ETC AT VARIOUS TOWER LOCATIONS | 09:00 | 18:00 |  |  | real time
62 |  | 265967 |  | 220KV-BHANPURA-MODAK-1 | MP_SLDC | WR | FOR LINE MAINTENANCE WORK i.e. CLEANING OF DISC INSULATORS DURING LINE PATROLLING , REPLACEMENT OF FLASHOVERED DISC INSULATORS, TREE BRANCH CUTTING ETC AT VARIOUS TOWER LOCATIONS | 08:00 | 18:00 |  |  | real time