## Sheet0
STATE LOAD DESPATCH CENTRE Madhya Pradesh Power Transmission Company Limited, Jabalpur
From Date: | 2025-08-23 |  |  | APPROVED OUTAGE LIST FOR DATED 23.08.2025
Control Area : | ALL | Circle : | ALL
S.NO. | APPLICATION DATE | REQ_ID | REQ TYPE | ELEMENT | SUBSTATION | CATEGORY TYPE | REASON FOR SHUT DOWN | PROPOSED START DATE & TIME | PROPOSED STOP DATE & TIME | Availing Officer Name & Mob. No. |  | REMARK
1 | 2025-08-21 15:38 | MR2508/0277 | Daily | 220KV_220 kV Anuppur-Kotmikala Circuit II | 220KV_ANUPPUR | NON-OCCM-MP | For resagging work of low ground Clearance mainten | 22-08-2025 08:00:00 | 25-08-2025 18:00:00 | Jitendra Tiwari | 9425805298 | ok
2 | 2025-08-22 13:45 | MR2508/0291 |  | 220KV_220kV Chhatarpur-Ajaygarh (TBCB) Ckt. IInd Line | 220KV_CHATARPUR | NON-OCCM-MP | Slip VD Removal, AH tightening | 23-08-2025 10:00:00 | 23-08-2025 18:00:00 | Manoj Kumar Tiwari | 9425804993 | ok
3 | 2025-08-12 17:39 | MR2508/0176 | Daily | 220KV_220KV South Zone (Indore) â¿¿ Jaitpura Line | 220KV_INDORE-II (JETPURA) | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 14-08-2025 07:00:00 | 31-08-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
4 | 2025-08-22 17:05 | MR2508/0300 |  | 400KV_400 kv main bus-II & Bus tie | 400KV_JULWANIYA4 | NON-OCCM-MP | pento isolator alignment work | 23-08-2025 13:00:00 | 23-08-2025 17:00:00 | Manoj More | 8817566466 | ok, through sub ld
5 | 2025-08-22 16:46 | MR2508/0297 |  | 400KV_400 KV Main bus I & bus tie | 400KV_JULWANIYA4 | NON-OCCM-MP | pento isolator alignment work | 23-08-2025 09:00:00 | 23-08-2025 13:00:00 | Manoj More | 8817566466 | ok, through sub ld
6 | 2025-06-30 15:24 | MR2506/0624 | Continuous | 400KV_400KV KATNI - DAMOH LINE | 400KV_KATNI4 | OCCM-MP | TOWER STRENGTHENING WORK | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | PANKAJ YADAV | 9406713326 | Deffered
7 | 2025-06-30 16:09 | MR2506/0633 | Continuous | 220KV_220KV KATNI - DAMOH LINE | 400KV_KATNI4 | NON-OCCM-MP | TOWER STRENTHENING WORK | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | PANKAJ YADAV | 9406713326 | Deffered
8 | 2025-08-22 15:33 | MR2508/0294 |  | 220KV_160MVA X-mer IMP | 220KV_KOTAR | OCCM-MP | For Oil topping in Conservator Tank | 23-08-2025 12:30:00 | 23-08-2025 14:00:00 | Arun Kumar kol | 8319677721 | ok
9 | 2025-08-12 17:23 | MR2508/0175 | Daily | 220KV_220KV Mangliya -Jaitpura Line. | 220KV_MANGLIA2 | NON-OCCM-MP | Replacement existing of 24 Fibre OPGW by 48 Fibre | 14-08-2025 07:00:00 | 31-08-2025 19:00:00 | A.R.KANEL | 9425805217 | ok, line to be in service
10 | 2025-07-22 16:42 | MR2507/0344 | Daily | 132KV_132 kV Nepa - Pipalpani MPPTCL Line | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work Installation of OPGW | 01-08-2025 07:00:00 | 25-08-2025 19:00:00 | C.H.Namdev | 9425802377 | sub ld
11 | 2025-07-22 16:47 | MR2507/0345 | Daily | 132KV_132 kV Nepa - Dharni (MSPTCL) Line | 220KV_NEPANAGAR | NON-OCCM-WR | Hotline Work For Installatin of OPGW | 01-08-2025 07:00:00 | 25-08-2025 19:00:00 | C.H.Namdev | 9425802377 | ok
12 | 2025-08-21 18:08 | MR2508/0284 |  | 132KV_50MVA BHEL Xmer no 01 | 220KV_PICHHORE | NON-OCCM-MP | incoming side isolator replacement. | 23-08-2025 09:00:00 | 23-08-2025 15:00:00 | Virendra K Ahirwar | 9425801438 | sub ld
13 | 2025-08-22 11:33 | MR2508/0289 |  | 220KV_220 kV Pithampur-Depalpur ckt | 400KV_PITHAMPUR4 | NON-OCCM-MP | Tan delta testing & Bay maintenance work | 23-08-2025 14:00:00 | 23-08-2025 18:00:00 | Sh Rajudash bairagi | 9425801532 | ok, through sub ld
14 | 2025-08-22 11:29 | MR2508/0288 |  | 220KV_220kV Pithampur-Badnagar ckt | 400KV_PITHAMPUR4 | NON-OCCM-MP | Tan delta testing & bay maintenance work | 23-08-2025 10:00:00 | 23-08-2025 13:00:00 | Sh. Rajudash bairagi | 9425801532 | ok, through sub ld
15 | 2025-08-22 15:12 | MR2508/0292 |  | 220KV_220 KV Ratlam - Daloda line | 220KV_RATLAM | NON-OCCM-MP | for line maintenance work | 23-08-2025 10:00:00 | 23-08-2025 18:00:00 | Kumar Vishal | 9425805018 | ok, through sub ld
16 | 2025-08-22 11:19 | MR2508/0287 |  | 220KV_220 kV Satna (PGCIL)- Ajaygarh line | 220KV_SATNA | NON-OCCM-MP | Line maintenance work | 23-08-2025 09:30:00 | 23-08-2025 18:30:00 | Mr. R.K. Prajapati | 9407070182 | deffered not in wr list
17 | 2025-08-17 16:26 | MR2508/0215 | Continuous | 400KV_315 MVA, 400KV/220KV, Interconnecting Transformer- 2 | 400KV_SINGHAJI TPS | NON-OCCM-MP | Overhauling work | 18-08-2025 09:00:00 | 23-08-2025 18:00:00 | Yogesh Chouhan | 7999328631 | Continuous
18 | 2025-08-22 15:29 | MR2508/0293 |  | 132KV_132kv Tikamgarh -badamalhera line | 220KV_TIKAMGARH | NON-OCCM-MP | Shifting of 132kv la | 23-08-2025 10:00:00 | 23-08-2025 17:00:00 | Pushpendra Kumar soni | 9425806398 | ok
19 |  |  |  | 400KV-BADNAWAR-RAJGARH-1 | POWERGRID-WR2 (PGCIL),MADHYA PRADESH |  | FOR LINE MAINTENANCE WORK | 23-Aug-2025 | 08:00 | 23-Aug-2025 | 18:00 | real time
20 |  |  |  | 220KV-MORENA-MALANPUR-1 | MADHYA PRADESH |  | FOR LINE MAINTENANCE WORK | 23-Aug-2025 | 09:00 | 23-Aug-2025 | 17:00 | real time
21 |  |  |  | 220KV-ANNUPUR-KOTMIKALA-2 | MADHYA PRADESH,CHATTISGARH |  | for resagging work between loc 418-432 | 23-Aug-2025 | 08:00 | 23-Aug-2025 | 17:59 | ok
22 |  |  |  | 400KV-BHOPAL-MP-DAMOH-2 | POWERGRID-WR2 (PGCIL) |  | AMP work of 400KV Damoh Bhopal#2 Line terminal equipments. Dia to be kept open at both ends. | 23-Aug-2025 | 09:00 | 23-Aug-2025 | 18:00 | ok
23 |  |  |  | 132KV-DHARNI-NEPANAGAR-1 | MAHARASHTRA |  | A/R off required for OPGW installation work of 24/48 core OPGW by replacing E/W for implementation of OPGW based reliable communication scheme | 23-Aug-2025 | 07:00 | 23-Aug-2025 | 18:59 | ok
S/I SLDC JABALPUR